## Slide 1: Overhead Detail Inspection (ODI) Training
New Electrical System Inspectors (ESI)
Module 8: Notifications
Notes: The instructor notes for this course are divided into four sections, as is applicable:
References: Provides resource information about the source of the course content
Purpose: To explain the approach and intention of each slide
Delivery: To provide information and content to discuss with the group
  (Note: Some slides will not have specific delivery information. In this case, just present the contents of the slide.)
Checks: This section references the slide and uses as a type of asterisk. Its purpose is to remind the instructor to make the practical application of the course content to another program (e.g., Safety, Error Prevention, Rules That Will Keep You Alive, SCE Values & Goals, etc.)
------------------------------------------------
For this slide:
Purpose: Notifications
Delivery:
Module 8 duration: 30 minutes
Instructor-led training
Slide Usage Information
Slide time:
Purpose:

## Slide 2: Welcome & Introductions
Notes: Purpose: Introductions
Delivery:
Introduce yourself and ask the students to introduce themselves and their work location
NOTE: Slides 2-4 appear in all of the modules of this course in the event that multiple instructors teach and/or over multiple days. Feel free to skip these slides as necessary.

## Slide 3: Safety First!
First Aid kit
Volunteers
Earthquake procedures
In case of fire
Emergency exits
Where to gather outside
Notes: Purpose: Safety first
Delivery:
Review safety procedures
Understand what to do in an emergency

## Slide 4: Logistics & Guidelines
Cell phones/pagers off or silent
Restroom locations
Scheduled breaks and meals
Length of training
Class rules and guidelines
Notes: Purpose: Review class rules
Delivery: Review the classroom rules with students

## Slide 5: Notifications

## Slide 6: Learning Objectives
At the end of this module, students will be able to:
  Categorize the different types of Priority conditions
  Explain how and when to document notifications
  Discuss how to report notifications to different parties
  Describe how to make changes to the field tool
Notes: Purpose: Understand the requirements of the module
Delivery: Review slide with students
Slide Usage Information
Slide time:
Purpose:

## Slide 7: Module Overview
Priority 1, 2, and 3 Conditions
Third-Party Notifications
Communication Provider Notifications
Field Tool Entries
FIM Map Changes
Notes: Purpose: Prepare students for module
Delivery: Review a high-level overview of the module with students
Slide Usage Information
Slide time:
Purpose:

## Slide 8: Third-Party Notification
There are 2 conditions:
  Identify CIP
  Identify Customer
Notes: Purpose: Discuss third-party notification
Delivery:
Use the instructions on the following slides to perform a third-party notification if needed
Third-party notification overview:
  Identify CIP
  Identify customer
Slide Usage Information
Slide time:
Purpose:

## Slide 9: Third-Party Notification (cont.)
Identify Communication Infrastructure Provider (CIP)
Identify external communication provider
Identify customer
Correct “action required”
10-day notification requirement
Notes: Purpose: Discuss third-party notification
Delivery:
Ask: What is a third-party condition?
  A condition caused by a nonutility (customer) or utility (CIP) that poses a safety and/or reliability hazard to SCE’s electrical system
Ask: How to identify a third party:
  Identify Communication Infrastructure Provider (CIP)
  Identify external communication provider
  Identify customer
Ask: Why is it important to select the correct “action required?”
  By selecting the correct “action required” the notification process is set in the right path
  10-day notification requirement mandated by the California Public Utility Commission (CPUC) is met
Slide Usage Information
Slide time:
Purpose:

## Slide 10: Notify Customer
Notes: Purpose: Review screen shots from CMS
Delivery: Review elements of slide
Slide Usage Information
Slide time:
Purpose:

## Slide 11: Notify Communication Provider (CIP)
Notes: Purpose: Review screen shots from CMS
Delivery: Review elements of slide
Slide Usage Information
Slide time:
Purpose:

## Slide 12: Third-Party Notification (cont.)
Inspector’s responsibilities:
  Third-party conditions
  Communication Infrastructure Provider (CIP)
Notes: Purpose: Discuss third-party notification
Delivery: Inspector’s responsibilities:
Write third-party conditions as a Priority 2 with a due date of 2 years, except in High Fire Hazard Areas
  Take good pictures (3 minimum or 4 maximum)
  Select correct problem statement
  Select correct action required
Notify Communication Infrastructure Provider (CIP)
Notify customer
Write specific comments in the long text field box
If you can identify if it is a cable or phone line, write in cable or phone line
If it is a customer condition, provide physical address if available
Slide Usage Information
Slide time:
Purpose:

## Slide 13: Third-Party Notification (cont.)
Multiple Service Infractions
  SCE
  Customer
  Communication Infrastructure Provider (CIP)
Notes: Purpose: Discuss third-party notification
Delivery: Multiple Service Infractions:
SCE – If multiple infractions are found in multiple services connected to one structure (pole), a notification for each service is required
Customer – If multiple infractions are found in multiple services connected to one structure (pole), one notification for each service is required
Communication Infrastructure Provider (CIP) – If a CIP is causing multiple infractions at a communication level, one notification is sufficient
Slide Usage Information
Slide time:
Purpose:

## Slide 14: Notify Communication Provider (CIP)
Recommended Problem Statement | 
Equipment | Pole
Component | Cable/Conductor
Elevation | Communication
Condition | Clearance Impaired
Action Required | Notify Communication Provider (CIP)
Problem Statement | CIP CLEARNC COMM CBL/CND POLE
Comments: Communication cable touching SCE service line. | 
Notes: Purpose: Review notification for notify communication provider
Delivery: Review the notification example
Slide Usage Information
Slide time:
Purpose:

## Slide 15: Notify Communication Provider (CIP) (cont.)
Recommended Problem Statement | 
Equipment | Pole
Component | Cable/Conductor
Elevation | Communication
Condition | Loose
Action Required | Notify Communication Provider (CIP)
Problem Statement | CIP LOOSE COMM CBL/CND POLE
Comments: Communication cable lashing. | 
Notes: Purpose: Review notification for notify communication provider
Delivery: Review the notification example
Slide Usage Information
Slide time:
Purpose:

## Slide 16: Notify Communication Provider (CIP) (cont.)
Recommended Problem Statement | 
Equipment | Pole
Component | Ground
Elevation | Communication
Condition | Unauthorized Attachment
Action Required | Notify Communication Provider (CIP)
Problem Statement | CIP UNATH ATT COMM GROUNDPOLE
Comments: Communication tied into SCE’s ground wire. | 
Notes: Purpose: Review notification for notify communication provider
Delivery: Review the notification example
Slide Usage Information
Slide time:
Purpose:

## Slide 17: Notify Customer
Recommended Problem Statement | 
Equipment | Pole
Component | Structure/Equipment
Elevation | Public
Condition | Clearance Impaired
Action Required | Notify Customer
Problem Statement | CUSTOMER CLEARNC PUBLIC POLE
Comments: Customer at 123 Main St. built enclosing SCE’s structure. | 
Notes: Purpose: Review notification for notify customer
Delivery: Review the notification example
Slide Usage Information
Slide time:
Purpose:

## Slide 18: Notify Customer (cont.)
Recommended Problem Statement | 
Equipment | Pole
Component | Cable/Conductor
Elevation | Service
Condition | Clearance Impaired
Action Required | Notify Customer
Problem Statement | CUST CLEARNC SERV CBL/CND POLE
Comments: Insufficient clearance caused by satellite dish. | 
Notes: Purpose: Review notification for notify customer
Delivery: Review the notification example
Slide Usage Information
Slide time:
Purpose:

## Slide 19: Notify Customer (cont.)
Recommended Problem Statement | 
Equipment | Pole
Component | Structure Equipment/Itself
Elevation | Secondary
Condition | Unauthorized Attachment
Action Required | Notify Customer
Problem Statement | CIP UNATH ATT SEC POLE
Comments: Light attached to pole, address 195 Stratford, Pixley. Or use meter #322010-XXXXX. | 
Notes: Purpose: Review notification for notify customer
Delivery: Review the notification example
Slide Usage Information
Slide time:
Purpose:

## Slide 20: Notify Customer (cont.)
Recommended Problem Statement | 
Equipment | Pole
Component | Termination
Elevation | Service
Condition | Damage/Broken
Action Required | Notify Customer
Problem Statement | CIP UNATH ATT POLE
Comments: Customer weather head damaged | 
Notes: Purpose: Review notification for notify customer
Delivery: Review the notification example
Slide Usage Information
Slide time:
Purpose:

## Slide 21: Field Tool Entries
Priority 1
Priority 2
Priority 3
Notes: Purpose: Review the field tool entries for the priorities
Delivery: Field Tool Entries:
Priority 1 – Remain at location and call supervisor immediately, do not enter in field tool
Priority 2 – Must have a minimum of three pictures
  At least one picture to show the structure environment and one for finding details
  Enter understandable, complete comments so reviewers can easily understand the necessary repairs to correct the condition
Priority 3 – Pictures and comments are not required
Slide Usage Information
Slide time:
Purpose:

## Slide 22: FIM Changes
Indicate errors in FIM map
Notes: Purpose: Discuss the map/app changes
Delivery: To indicate errors in a FIM map:
Open the FIM map to make changes
Select the redlining tool in FIM to display the toolbar
Select the redlining tool
Make notations in the map
Select the save button from the toolbar
Enter a name for the map
Save the map
Slide Usage Information
Slide time:
Purpose:

## Slide 23: Module Wrap Up
Categorize the different types of Priority conditions
Explain how and when to document notifications
Discuss how to report notifications to different parties
Describe how to make changes to the field tool
Notes: Purpose: Module wrap up
Delivery:
Discuss what was covered during the module
Emphasize critical points and mistakes/issues commonly made in the field
Ask for follow up questions

## Slide 24: Check Your Knowledge
What are the types of notifications an ESI makes?
The ESI makes changes to what 2 things during and after the inspection?
For a P1 condition, regarding safety, what questions does the ESI ask? What is the first thing he does?
What is a third-party condition?
Notes: Purpose: Knowledge check
Delivery: Facilitate a discussion regarding what the answers to these questions are and why
Answers:
Priority 1, 2, and 3 conditions
Communication Infrastructure Provider Notifications (CIP)
Notify Customer Notifications
Field tool
cGIS Map
Is the surrounding area safe to be in?
Is the P1 condition causing an immediate danger to the public or to system reliability?
Is it safe to call the immediate supervisor and describes the conditions?
A condition caused by a non-utility (customer) or utility (CIP) that poses a safety and/or reliability hazard to SCE’s electrical system
Instructor Notes
Slide Usage Information
Slide time:
Purpose:

## Slide 25: End of Notifications Module
25