## Slide 1: Overhead Detail Inspection (ODI) Training
New Electrical System Inspectors (ESI)
Module 3: Tools
Notes: The instructor notes for this course are divided into four sections, as is applicable:
References: Provides resource information about the source of the course content
Purpose: To explain the approach and intention of each slide
Delivery: To provide information and content to discuss with the group
  (Note: Some slides will not have specific delivery information. In this case, just present the contents of the slide.)
Checks: This section references the slide and uses as a type of asterisk. Its purpose is to remind the instructor to make the practical application of the course content to another program (e.g., Safety, Error Prevention, Rules That Will Keep You Alive, SCE Values & Goals, etc.)
------------------------------------------------
For this slide:
Purpose: Discuss tools ESIs use when conducting ODIs
Delivery:
Module 3 duration: 60 minutes
Instructor-led training
Slide Usage Information
Slide time:
Purpose:

## Slide 2: Welcome & Introductions
Notes: Purpose: Introductions
Delivery:
Introduce yourself and ask the students to introduce themselves and their work location
NOTE: Slides 2-4 appear in all of the modules of this course in the event that multiple instructors teach and/or over multiple days. Feel free to skip these slides as necessary.

## Slide 3: Safety First!
First Aid kit
Volunteers
Earthquake procedures
In case of fire
Emergency exits
Where to gather outside
Notes: Purpose: Safety first
Delivery:
Review safety procedures
Understand what to do in an emergency

## Slide 4: Logistics & Guidelines
Cell phones/pagers off or silent
Restroom locations
Scheduled breaks and meals
Length of training
Class rules and guidelines
Notes: Purpose: Review class rules
Delivery: Review the classroom rules with students

## Slide 5: ODI Safety

## Slide 6: Learning Objectives
At the end of this module, students will be able to:
  Identify the tools that ESIs use
  Describe the proper maintenance of the tools that ESIs use
  Discuss how to use the tools safely
Notes: Purpose: Understand the requirements of the module
Delivery: Review slide with students

## Slide 7: Module Overview
Tool care and maintenance
Safety
Tools
ODI power tool kit
Power inverter
Notes: Purpose: Prepare students for module
Delivery: Review a high-level overview of the module with students
Slide Usage Information
Slide time:
Purpose:

## Slide 8: Tool Care & Maintenance
Store tools correctly and do not leave out in the weather
Wipe down dirty tools when done
Report lost or damaged tools so they can be replaced
Notes: Purpose: Explain how to properly maintain tools
Delivery: Same as slide
Slide Usage Information
Slide time:
Purpose:

## Slide 9: Tool Safety
Always inspect tools before using
Do not use tools that are broken or damaged
Use the right tool for the job in the right way
  Do not hold object incase of slipping
  Never use pliers or wrenches to gain leverage
Be Alert
Notes: Purpose: Explain some basic general tool safety
Delivery: Same as slide
Slide Usage Information
Slide time:
Purpose:

## Slide 10: Hammers
Mini Sledge
Titanium Straight Claw
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery:
Used for driving and pulling
Do not:
  Use against large nails
  Strike a claw hammer against an object
  Use a damaged hammer

## Slide 11: Slotted (Flat Head) Screwdriver
Use screwdrivers for installing or removing screws
Types are common, cross-tip and offset
Match the proper size tip to the size of the slot on screw
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 12: Crescent Wrench
Never hold what you are working on in your hand because if the tool slips, it can cause serious injury
Unless so designed, never use pliers or wrenches to increase leverage
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 13: Ratcheting Box Wrench
Note the SAP links to a 6 pt wrench while the image reflects a 12 pt
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 14: ½” Ratchet
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 15: Drive Breaker Bar – ½” Drive
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 16: Nut Setter – ¼” Drive
7/16”
  2/4/6” length
9/16” – (Guy Guard)
  2”
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 17: Pole Step Remover
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 18: Channel Locks
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 19: Tools (cont.)
Cutting Pliers
Straight Snips
ACSR Ratcheting Wire Cutter
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 20: Tools (cont.)
Bolt Cutters:
  Small – 18”
  Large – 36”
Pruners
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 21: 35’ Measuring Stick
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 22: Tools (cont.)
Gooseneck Wrecking
Staple Puller
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 23: Tools (cont.)
Shovel
Broom & Dust Pan
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 24: Pole Tag Holder
(100) Each character
(50) 8” holders
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 25: ODI Power Tool Kit
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery:
Improper use of power tools can cause serious injury or death
Before energizing any electrical tool, make thorough inspection for damaged case and any moving or cutting parts

## Slide 26: Power Inverter DC to AC
Notes: Purpose: Explain how the ESI will be using the given tool and proper safety
Delivery: Same as slide

## Slide 27: Module Wrap Up
Identify the tools that ESIs use
Describe the proper maintenance of the tools that ESIs use
Discuss how to use the tools safely
Notes: Purpose: Module wrap up
Delivery:
Discuss what was covered during the module
Emphasize critical points and mistakes/issues commonly made in the field
Ask for follow up questions

## Slide 28: Check Your Understanding
Can a screwdriver be used to pry with?
Which tool would you use to back off a stuck nut?
What action should you take before using a tool?
What should you do if a tool goes missing or becomes damaged?
Notes: Purpose: Knowledge check
Delivery: Facilitate a discussion regarding what the answers to these questions are and why
Answers:
No
Breaker Bar
Inspection
Report

## Slide 29: End of Tools Module