## Slide 1: Overhead Detail Inspection (ODI) Training
New Electric System Inspectors (ESI)
Module 11: Quality Assurance
Notes: The instructor notes for this course are divided into four sections, as is applicable:
References: Provides resource information about the source of the course content
Purpose: To explain the approach and intention of each slide
Delivery: To provide information and content to discuss with the group
  (Note: Some slides will not have specific delivery information. In this case, just present the contents of the slide.)
Checks: This section references the slide and uses as a type of asterisk. Its purpose is to remind the instructor to make the practical application of the course content to another program (e.g., Safety, Error Prevention, Rules That Will Keep You Alive, SCE Values & Goals, etc.)
------------------------------------------------
For this slide:
Purpose: Quality assurance
Delivery:
Module 11 duration: 30 minutes
Instructor-led training
Slide Usage Information
Slide time:
Purpose:

## Slide 2: Welcome & Introductions
Notes: Purpose: Introductions
Delivery:
Introduce yourself and ask the students to introduce themselves and their work location
NOTE: Slides 2-4 appear in all of the modules of this course in the event that multiple instructors teach and/or over multiple days. Feel free to skip these slides as necessary.

## Slide 3: Safety First!
First Aid kit
Volunteers
Earthquake procedures
In case of fire
Emergency exits
Where to gather outside
Notes: Purpose: Safety first
Delivery:
Review safety procedures
Understand what to do in an emergency

## Slide 4: Logistics & Guidelines
Cell phones/pagers off or silent
Restroom locations
Scheduled breaks and meals
Length of training
Class rules and guidelines
Notes: Purpose: Review class rules
Delivery: Review the classroom rules with students

## Slide 5: Quality Assurance

## Slide 6: Learning Objectives
At the end of this module, students will be able to:
  Explain the elements and purpose of the Quality Assurance Program and how it applies to ESIs
  Describe the steps and functions of Supervisor Quality Control (QC) Assessments
  Explain the objective of the Technical Review Board and the functions it serves
Notes: Purpose: Understand the requirements of the module
Delivery: Review slide with students
Slide Usage Information
Slide time:
Purpose:

## Slide 7: Module Overview
Quality Assurance Program
Supervisor Quality Control (QC) Assessments
Technical Review Board
Notes: Instructor Notes
Same as slide
Student Notes
Slide Usage Information
Slide time:
Purpose:
Purpose: Prepare students for module
Delivery: Review a high-level overview of the module with students
Quality Assurance – process oriented and focuses on defect prevention (i.e., program)
Quality Control – product oriented and focuses on defect identification (i.e., job duties)

## Slide 8: Quality Assurance Program
Develops quality performance
Achieves a high level of accuracy
Incorporating into daily inspection routines
Notes: Purpose: Describe QA Program
Delivery:
Discuss the points below with students
As stated in the objectives, the purpose of the Quality Assurance Program (for inspectors) is to ensure the use of uniform judgment skills to achieve and maintain inspection results with a high degree of repeatability and accuracy
  The ODI Quality Assurance Program applies to all inspections performed by ESIs
  It develops quality performance to achieve a high level of accuracy for Priority 1 and Priority 2 findings
  ESIs are responsible to participate in inspection exercises and use what they learned by incorporating their findings into their daily inspection routines
Slide Usage Information
Slide time:
Purpose:

## Slide 9: Quality Assurance Program (cont.)
Identifies the pole
Checks the field tool
Inspects the pole
Identifies any non-conforming conditions
Inputs findings
Confirms or corrects
Makes repairs
Notes: Purpose: Describe QA Program
Delivery: ESIs inspect poles using the following steps:
Identifies the pole using Facilities Inventory Mapping (FIM) in the field tool
Checks the field tool for existing conditions
Inspects the pole visually
Identifies any non-conforming conditions as defined in the ODI Manual
Inputs findings in the field tool
Confirms or corrects existing conditions
Makes repairs at the public level
Slide Usage Information
Slide time:
Purpose:

## Slide 10: Quality Assurance Program (cont.)
Performs a quarterly review
ESIs goals
Works with the ESI
Provides training
Schedules another assessment
Notes: Purpose: Describe QA Program
Delivery:
The ODI supervisor performs a quarterly review of each ESI. The ESIs goal is to get a score of at least 95% for their priority 1 and priority 2 findings and 92% for priority 3 findings.
If the score is below these scores, the supervisor works with the ESI and provides training to raise the score and schedules another inspection assessment
Slide Usage Information
Slide time:
Purpose:

## Slide 11: Quality Control (QC) Assessments
Minimum of 20 poles
Inspect the poles
Discuss any differences
Training is documented
Calibration Training
Notes: Purpose: Describe QC Assessments
Delivery:
Purpose: QC Assessments are performed with the ESI and the supervisor to review the ESI’s performance and remediate it if necessary
Quality Control (QC) Assessments:
  Performed with the ESI and the supervisor
  The supervisor selects a minimum of 20 poles that have been recently inspected by the ESI
    ESI and the supervisor inspect the poles together
    Supervisor discusses any differences in the inspection
  Necessary training is documented in the QC Report
  Calibration Training activities are also performed
Slide Usage Information
Slide time:
Purpose:

## Slide 12: Technical Review Board
Meets monthly
ODI Manager
Quality Control Inspectors
SCE Standards
Find issues
Ensure safety
Ensure reliability
Value
Notes: Purpose: Explain the Technical Review Board
Delivery:
The Technical Review Board meets monthly with the ODI Manager, ODI Supervisors, and the Quality Control Inspectors to set, interpret, and clarify SCE Standards
Purpose: The objective is to find the issues that ODI needs to repair to ensure safety, reliability, and value to Edison and its customers
Slide Usage Information
Slide time:
Purpose:

## Slide 13: Technical Review Board Example
Issue | Ruling
Inspection Repair Height | Continue to reach as high as you can to make repairs on poles. The QC group grades repairs to a height of 6’5”, but your supervisor grades you on your reach ability.
Liquid Fuses | If the liquid level in a liquid fuse is more than 1.25” below the bottom of the fuse cap then the fuse may not function. Report dry fuse when the liquid level is more than 1” below the bottom of the fuse cap.
Ground Molding | Only call out ground molding at upper levels if the ground wire is clearly visible.
Notes: Purpose: Explain the Technical Review Board
Delivery: Review with students
Slide Usage Information
Slide time:
Purpose:

## Slide 14: Module Wrap Up
Explain the elements and purpose of the Quality Assurance Program and how it applies to ESIs
Describe the steps and functions of Supervisor Quality Control (QC) Assessments
Explain the objective of the Technical Review Board and the functions it serves
Notes: Purpose: Module wrap up
Delivery:
Discuss what was covered during the module
Emphasize critical points and mistakes/issues commonly made in the field
Ask for follow up questions

## Slide 15: Check Your Knowledge
What are the different inspection types that ODI uses to ensure Quality Control with ESIs?
What is the purpose of the Quality Assurance Program for the ESI?
Which priority number findings are the most important?
Notes: Purpose: Knowledge check
Delivery: Facilitate a discussion regarding what the answers to these questions are and why
Answers:
Oversight and QA
Peer Inspection
Calibration Inspection
Technical Review Board
To achieve and maintain inspection results with a high degree of repeatability and accuracy
Priority 1
Priority 2
Instructor Notes
Slide Usage Information
Slide time:
Purpose:

## Slide 16: Quality Assurance