## Row 20
Subcategories | Count | Percentage
Conductor failure | 539 | 31.87%
Fuse failure | 10 | 0.5914%
Guy | 12 | 0.7096%
Pole | 275 | 16.26%
Pothead | 31 | 1.833%
Arc | 13 | 0.7688%
Circuit Lockout | 24 | 1.419%
Corrosion/Deterioration | 46 | 2.72%
Damaged Equipment | 191 | 11.3%
Equipment Failure | 298 | 17.62%
Non-compliance | 5 | 0.2957%
Other Equipment | 19 | 1.124%
Other Equipment Failure | 169 | 9.994%
Structure/Equipment/ Hardware/Apparatus Failure | 59 | 3.489%

## Row 25
Subcategories | Count | Percentage
Animal | 36 | 0.6301%
Car Hit Pole | 265 | 4.639%
Connector Failure | 69 | 1.208%
Crossarm Failure | 10 | 0.175%
Customer Outage-Unknown? | 33 | 0.5776%
Environment | 69 | 1.208%
Gunshot | 25 | 0.4376%
Lightning | 56 | 0.9802%
Mylar Balloons | 28 | 0.4901%
Non-compliance | 7 | 0.1225%
other | 324 | 5.671%
Other Equipment | 99 | 1.733%
Other Public Action | 597 | 10.45%
Pole Failure | 42 | 0.7352%
SCE Work/ Operation | 18 | 0.3151%
SCE Work/Operation | 22 | 0.3851%
Structure Fire | 55 | 0.9627%
Unknown | 1677 | 29.35%
Vegetation | 881 | 15.42%
Weather | 1388 | 24.3%
Weather and Vegetation | 12 | 0.21%

## Row 39
Subcategories | Count | Percentage
Strucutre Failure (Pole/Tower) | 3 | 12.5%
Various Other Equipment Failures | 5 | 20.83%
Conductor failure damage or failure | 16 | 66.67%

## Row 44
Subcategories | Count | Percentage
BLANK | 9 | 64.29%
Car Hit Pole | 1 | 7.143%
Cond. Clash | 1 | 7.143%
Other Public Action | 2 | 14.29%
Weather | 1 | 7.143%

## Row 65
Subcategories | Count | Percentage
Pole Top Sub damage or failure | 121 | 9.293%
Pothead damage or failure | 744 | 57.14%
Tower damage or failure | 2 | 0.1536%
Other | 435 | 33.41%

## Row 70
Subcategories | Count | Percentage
De-Energize | 1 | 0.005751%
Dig In | 385 | 2.214%
Source Lost | 254 | 1.461%
Substation | 400 | 2.3%
Underground Equipment | 16348 | 94.02%

## Row 91
Subcategories | Count | Percentage
Pothead damage or failure | 30 | 17.24%
Tower damage or failure | 12 | 6.897%
Other | 132 | 75.86%

## Row 96
Subcategories | Count | Percentage
Dig In | 4 | 0.2738%
Source Lost | 138 | 9.446%
Substation | 1277 | 87.41%
Underground Equipment | 42 | 2.875%

## Rows 198-207
Subcategories | Count | Percentage
POTHEAD | 3 | 11.11%
Pole | 1 | 3.704%
OH Primary Conductor | 2 | 7.407%
connector | 1 | 3.704%
pothead | 3 | 11.11%
Primary conductor | 1 | 3.704%
Fuse | 1 | 3.704%
Junction Bar | 1 | 3.704%
primary side One bolt connector | 1 | 3.704%
METER | 2 | 7.407%
Hotline Connector | 1 | 3.704%
service wire | 1 | 3.704%
Secondary Conductor | 1 | 3.704%
connector at pothead tap | 1 | 3.704%
Transformer | 1 | 3.704%
Aerial Cable | 1 | 3.704%
Primary Connector | 1 | 3.704%
Lightning Arrestor | 1 | 3.704%
336 kcmil ACSR Primary conducto | 1 | 3.704%
1/0 ACSR Primary conductor | 1 | 3.704%
Potheads | 1 | 3.704%

## Rows 248-257
Subcategories | Count | Percentage
Construction | 1 | 4.762%
3rd Party | 4 | 19.05%
Other | 5 | 23.81%
Equipment/Material Failure | 2 | 9.524%
Construction Issues | 9 | 42.86%