## WP Schedule 16 ISO Non-Inc
|  |  |  | High/ Low |  | Project Total (ISO & non-ISO) |  |  |  | ISO Portion
PIN | Project Title | C-WBS | Order # | Voltage | OD | Prior | 2025 | 2026 | Total | Prior | 2025 | 2026 | Total
Non-Incentive Transmission Projects include Direct Installation and Removal Expenditures, but exclude any C-WBS or Order # with 0% ISO.
Other Transmission
08389 | Hinson Sub (RNU) Install one (1) 220 kV line position | CET-ET-CR-WC-838906 | 903714980 | High | 2025-10-06 | 1952.4271 | 654 | 0 | 2606.4271 | 1952.4271 | 654 | 0 | 2606.4271
08393 | Walnut Substation Interconnection (RNU): 1. Generation Tie-Line to Existing Pos. 2. Utilize the following: a) Two (2) 220 kV circuit breakers b) One (1) 220 kV group operated disconnect switch with grounding attachment c) Three (3) 220 kV group operated s | CET-ET-CR-WC-839301 | 903549492 | High | 2025-12-30 | 1512.3176 | 535 | 940.607 | 2987.9246 | 1512.3176 | 535 | 940.607 | 2987.9246
08393 | Transmission: Interconnection (RNU) Relocate existing 220 kV Mesa-Walnut Line to new Position 4. | CET-ET-CR-WC-839306 | 903555087 | High | 2026-12-29 | 334.1137 | 293.702 | 1165 | 1792.8157 | 334.1137 | 293.702 | 1165 | 1792.8157
08393 | Total Kestrel Storage Project |  |  |  |  | 1846.4313 | 828.702 | 2105.607 | 4780.7403 | 1846.4313 | 828.702 | 2105.607 | 4780.7403
| Total Other Transmission |  |  |  |  | 3798.8584 | 1482.702 | 2105.607 | 7387.1674 | 3798.8584 | 1482.702 | 2105.607 | 7387.1674
TSP Projects
08534 | Neenach Substation: Install a 14.4 MVAR capacitor bank | CET-ET-LG-TS-853400 | 904042381 | Low | 2025-11-18 | 208.4633 | 1159.301 | 0 | 1367.7643 | 208.4633 | 1159.301 | 0 | 1367.7643
| Total TSP Projects |  |  |  |  | 208.4633 | 1159.301 | 0 | 1367.7643 | 208.4633 | 1159.301 | 0 | 1367.7643
Transmission Project Reliability
07727 | Inyokern Substation: Expand existing MEER at Inyokern Substation. | CET-ET-TP-RL-772700 | 901394462 | Low | 2024-03-29 | 0 | 3.463 | 0 | 3.463 | 0 | 1.2813 | 0 | 1.2813
7727 | Total Digital 395 Project: North-of-Kramer Area Telecom Network and RAS Upgrades |  |  |  |  | 0 | 3.463 | 0 | 3.463 | 0 | 1.2813 | 0 | 1.2813
07763 | Eldorado-Lugo 500 kV line: CA side - Install 85 miles of new OPGW between CA/NV border and Pisgah Substation. | CET-ET-TP-RN-776304 | 901665563 | High | 2025-08-19 | 14336.611 | 16099 | 1750 | 32185.611 | 14336.611 | 16099 | 1750 | 32185.611
07763 | Eldorado-Lugo 500 kV line: NV Side -Install 2 miles of new OPGW between CA/NV border and MI52-T2. | CET-ET-TP-RN-776305 | 901665564 | High | 2025-07-17 | 973.4044 | 634 | 0 | 1607.4044 | 973.4044 | 634 | 0 | 1607.4044
07763 | Mohave 500 kV: Install two (2) N60 relays Install one (1) ethernet switch Install one (1) satellite switch 1PSC- RTU Point additions at Mohave substation. | CET-ET-TP-RN-776302 | 901484315 | High | 2025-05-30 | 321.2812 | 28 | 0 | 349.2812 | 321.2812 | 28 | 0 | 349.2812
07763 | Lugo Sub: Install new control cables, update station drawings, and modify settings on existing N60 relays to accommodate monitoring of Lugo-Mohave 500kV line. | CET-ET-TP-RN-776307 | 902249120 | High | 2025-07-24 | 107.525 | 12 | 0 | 119.525 | 107.525 | 12 | 0 | 119.525
07763 | Eldorado: Install equipment to support N-2 monitoring of Eldorado-Lugo 500kV and Lugo-Mohave 500kV lines. | CET-ET-TP-RN-776308 | 902249121 | High | 2025-04-24 | 83.1796 | 62 | 0 | 145.1796 | 83.1796 | 62 | 0 | 145.1796
07763 | Real Properties - Land Acquisition | CET-RP-TP-RL-776308 | 47022 | High | 2025-08-19 | 0 | 1750 | 0 | 1750 | 0 | 1540 | 0 | 1540
07763 | Contingency | CET-ET-TP-RN-776399 | 7763-Cont | High | 2025-08-19 | 0 | 0 | 8669 | 8669 | 0 | 0 | 7628.72 | 7628.72
7763 | Total Lugo-Victorville 500 kV SPS |  |  |  |  | 15822.0012 | 18585 | 10419 | 44826.0012 | 15822.0012 | 18375 | 9378.72 | 43575.7212
06420 | West of Devers 5230kV Rebuild - Contingency | CET-ET-TP-RN-642099 | 18652 | High | 2021-05-14 | 0 | 1000 | 0 | 1000 | 0 | 940 | 0 | 940
07546 | Known Risk | CET-ET-TP-RL-754699 | 569352 | High | 2025-06-30 | 0 | 0 | 854 | 854 | 0 | 0 | 794.22 | 794.22
07546 | Contingency | CET-ET-TP-RL-754699 | 569353 | High | 2025-06-30 | 0 | 0 | 9721 | 9721 | 0 | 0 | 9040.53 | 9040.53
07546 | (Removal/Expense) Lugo Sub: Upgrade Terminal Equipment and Series Capacitors on Eldorado-Lugo 500kV T/L. | CET-ET-TP-RL-754601 | 902287735 | High | 2025-06-30 | 0 | 819 | 0 | 819 | 0 | 819 | 0 | 819
07546 | (Removal/Expense) Eldorado | CET-ET-TP-RL-754600 | 902287734 | High | 2023-06-30 | 0 | 227 | 0 | 227 | 0 | 227 | 0 | 227
07546 | (Removal/Expense) Mohave | CET-ET-TP-RL-754604 | 902287736 | High | 2023-05-10 | 0 | 138 | 0 | 138 | 0 | 138 | 0 | 138
7546 | Total Eldorado-Lugo-Mohave (ELM) Series Cap Upgrades Project |  |  |  |  | 0 | 1184 | 10575 | 11759 | 0 | 1184 | 9834.75 | 11018.75
07558 | Magunden-Springville 230 kV No.1: Remove 14 existing 220kV lattice structures; Install nine new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 130'), and four new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 185') which will support an approximate 2000' span across the lake, within the current ROW. Total project length is approximately 2 miles. | CET-ET-TP-RL-755800 | 901192344 | High | 2022-02-25 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125
07558 | Magunden-Springville 230 kV No.2: Remove 14 existing 220kV lattice structures; Install nine new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 130'), and four new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 185') which will support an approximate 2000' span across the lake, within the current ROW. Total project length is approximately 2 miles. | CET-ET-TP-RL-755801 | 901192345 | High | 2021-12-27 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125
07558 | Lake Success - Contingency | CET-ET-TP-RL-755800 | 7558-Cont | High | 2024-11-01 | 0 | 600 | 0 | 600 | 0 | 600 | 0 | 600
7558 | Magunden-Springville No.1 & No.2 Tower Replacement ("Lake Success Towers in Water") |  |  |  |  | 0 | 850 | 0 | 850 | 0 | 850 | 0 | 850
08077 | Control 115 kV CBs and MEER for ATRA | CET-ET-TP-RL-807706 | 902739832 | Low | 2024-07-31 | 0 | 7.76 | 0 | 7.76 | 0 | 7.76 | 0 | 7.76
08077 | Kramer 115 kV Relay Upgrades for ATRA | CET-ET-TP-RL-807710 | 902739836 | Low | 2025-03-05 | 4652.5328 | 222.316 | 0 | 4874.8488 | 4652.5328 | 222.316 | 0 | 4874.8488
08077 | Tortilla 115 kV CBs nand MEER for ATRA | CET-ET-TP-RL-807713 | 902739979 | Low | 2024-07-29 | 0 | -10.05 | 0 | -10.05 | 0 | -1.5427 | 0 | -1.5427
08077 | Eldorado 220 kV (Option 2): Cima-Pisgah #1 220kV (Pos 9N) and Cima-Pisgah #2 220kV (Pos 10N) A. 220 kV Switchrack -6 BCT Upgrades B. Relays -2 Racks -2 L90 -4 C60 | CET-ET-TP-RL-807703 | 902739829 | High | 2025-12-31 | 220.9474 | 484.871 | 0 | 705.8184 | 220.9474 | 484.871 | 0 | 705.8184
08077 | Pisgah 220 kV (Option 2): A. 220 kV Switchrack -8 BCT Upgrades B. Relays -8 Racks -4 L90 -4 C60 | CET-ET-TP-RL-807711 | 902739837 | High | 2025-12-31 | 1194.0932 | 650 | 0 | 1844.0932 | 1194.0932 | 650 | 0 | 1844.0932
08077 | Coolwater-Ivanpah-Baker-Dunn Siding-Mt Pass (Y21): Only perform coordination studies and adjust settings to existing relays, UC #149. | CET-ET-TP-RL-807707 | 904085831 | Low | 2025-03-13 | 0 | 25 | 26.644 | 51.644 | 0 | 25 | 26.644 | 51.644
8077 | Total Annual Transmission Reliability Assessment 2016 - Protection Upgrades (ATRA) |  |  |  |  | 6067.5735 | 1379.897 | 26.644 | 7474.1145 | 6067.5735 | 1388.4043 | 26.644 | 7482.6219
08104 | New Moorpark-Pardee #4 230 kV line: String roughly 25.5 mile section on vacant side of existing structures with 2B-1590. String roughly 6 miles of 1/2" EHS GW on existing structures. | CET-ET-TP-RL-810402 | 902315828 | High | 2022-01-15 | 0 | 53.988 | 0 | 53.988 | 0 | 53.988 | 0 | 53.988
8104 | Total Moorpark-Pardee 230 kV No. 4 Circuit Project |  |  |  |  | 0 | 53.988 | 0 | 53.988 | 0 | 53.988 | 0 | 53.988
08223 | Whirlwind AA Bank Centralized RAS. i. Whirlwind Substation. Utilize two GE N60 logic processing relays or equivalent successor, identified under Section 2(b)(i)1.b.i of this Appendix A, to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-822300 | 902705074 | High | 2024-05-03 | 0 | 30 | 0 | 30 | 0 | 30 | 0 | 30
08223 | Tehachapi CRAS: i. Whirlwind Substation. Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-822301 | 902705075 | High | 2024-05-03 | 0 | 30 | 0 | 30 | 0 | 30 | 0 | 30
8223 | Willy Interconnection at Whirlwind Substation |  |  |  |  | 0 | 60 | 0 | 60 | 0 | 60 | 0 | 60
08298 | Windhub Substation. i. Install one (1) 220 kV line position which includes the following equipment. 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disconnect switches. 4. Fourteen (14) 220 kV bus support post insulators. ii. Protection Relays: 1. Install two (2) local breaker failure backup relays. | CET-ET-TP-RN-829803 | 903123443 | High | 2025-07-18 | 1743.9544 | 225 | 0 | 1968.9544 | 1743.9544 | 225 | 0 | 1968.9544
08298 | Vincent Substation (RNU).1. Remove and salvage Green panels 3R thru 8R in 220kV Relay room, relocate all necessary various auxiliary equipment from green boards to new steel Relay Racks..2. Install new RTU in place of removed green boards, cutover existin | CET-ET-TP-RN-829800 | 904138914 | High | 2025-07-24 | 737.5548 | 700 | 0 | 1437.5548 | 737.5548 | 700 | 0 | 1437.5548
8298 | Bellefield Solar Farm Reliability Network Upgrades |  |  |  |  | 2481.5092 | 925 | 0 | 3406.5092 | 2481.5092 | 925 | 0 | 3406.5092
08294 | Pardee Substation Upgrade 220kV Position 17 CB's (#4172, 5172, 6172) and Position 19 CB's (#4192, 5192, 6192) and associated equipment. | CET-ET-TP-RL-829400 | 903135849 | High | 2024-05-06 | 0 | 12.896 | 0 | 12.896 | 0 | 12.8934 | 0 | 12.8934
8294 | Pardee-Sylmar No. 1 and No. 2 230kV Line Rating Increase Project |  |  |  |  | 0 | 12.896 | 0 | 12.896 | 0 | 12.8934 | 0 | 12.8934
08355 | Tehachapi CRAS – Monitoring infrastructure Whirlwind Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Whirlwind Substation. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTU at W Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Whirlwind Substations. | CET-ET-TP-RN-835500 | 903429710 | High | 2026-01-02 | 824.6976 | 4 | 0 | 828.6976 | 824.6976 | 4 | 0 | 828.6976
08355 | Tehachapi CRAS – Monitoring infrastructure Vincent Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Vincent Substation. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTUs at Vincent Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Vincent Substations. | CET-ET-TP-RN-835502 | 903429712 | High | 2026-03-31 | 62.0906 | 80 | 0 | 142.0906 | 62.0906 | 80 | 0 | 142.0906
08355 | Tehachapi CRAS – Monitoring infrastructure Midway Substation Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Midway Substation. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. 2. Install lightwave, routers, firewall access switches, data traffic monitoring devices, and data circuits to support centralized RAS network at Windhub and Midway substations. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTUs at Midway Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Midway Substation. | CET-ET-TP-RN-835503 | 903429713 | High | 2026-03-31 | 2.9496 | 85 | 0 | 87.9496 | 2.9496 | 85 | 0 | 87.9496
08355 | Tehachapi CRAS – Monitoring infrastructure Windhub Substation 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Windhub Substation. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. 2. Install lightwave, routers, firewall access switches, data traffic monitoring devices, and data circuits to support centralized RAS network at Windhub and Midway substations. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTU at Windhub Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Antelope, Midway, Whirlwind, Windhub Substations. | CET-ET-TP-RN-835504 | 903429714 | High | 2026-03-31 | 552.2076 | 11.994 | 0 | 564.2016 | 552.2076 | 11.994 | 0 | 564.2016
08355 | Whirlwind Substation Tehachapi CRAS – Tripping infrastructure i. Whirlwind Substation. 1. Install six (6) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Perform centralized RAS programming and testing to the new centralized RAS relay. | CET-ET-TP-RN-835500 | 903548050 | High | 2026-03-31 | 210.6683 | 190 | 336.588 | 737.2563 | 210.6683 | 190 | 336.588 | 737.2563
8355 | TOT909-Q1631 -Glenfeliz Solar Farm |  |  |  |  | 1652.6137 | 370.994 | 336.588 | 2360.1957 | 1652.6137 | 370.994 | 336.588 | 2360.1957
08358 | Eldorado Substation IF (RNU) Participate and modify the planned Lugo-Victorville CRAS a. Install two (2) GE N60 logic processing relays or equivalent successor for AA bank outage detection for participation of the Sloan Canyon RAS programming and testing to the new RAS relays. b. Install one (1) Satellite clock c. Perform programming and testing to the new RAS relays. Eldorado Sub (PSC) RNU a. Add points to the RTUs at Eldorado Substation and the Interconnection Customer’s Generating Facility (Mark for Deletion pending detailed Engineering) | CET-ET-TP-RN-835800 | 903427639 | High | 2025-02-03 | 128.0021 | 20 | 121 | 269.0021 | 128.0021 | 20 | 121 | 269.0021
8358 | TOT796/Q1341, Yellow Pine 2, LLC, Install Reliability Network Upgrades Eldorado 500/220kV (T)7588 |  |  |  |  | 128.0021 | 20 | 121 | 269.0021 | 128.0021 | 20 | 121 | 269.0021
08107 | Kramer Substation (RNU): a. Engineer and construct one 220 kV line position, which includes the following equipment: i. Two 220 kV circuit breakers. ii. Three 220 kV group operated disconnect switches. iii. One (1) 220 kV group operated disconnect switch with grounding attachment. | CET-ET-TP-RN-810701 | 902342409 | High | 2025-11-01 | 3866.7775 | 178.439 | 80 | 4125.2165 | 3866.7775 | 178.439 | 80 | 4125.2165
08100 | Whirlwind Substation (NU): a. Utilize the shared 230 kV position at Whirlwind Substation to terminate the Rattlesnake-Whirlwind 220kV Transmission Line. | CET-ET-TP-RN-810000 | 902326568 | High | 2024-03-22 | 0 | 35 | 0 | 35 | 0 | 35 | 0 | 35
08220 | Red Bluff Sub:Install line/relays/add points. | CET-ET-TP-RN-822004 | 902699211 | High | 2021-12-03 | 0 | 96.725 | 100 | 196.725 | 0 | 88.7589 | 91.7642 | 180.5231
08201 | Whirlwind Substation (RNU): Whirlwind AA-Bank RAS: Utilize two GE N60 logic processing relays or equivalent successor, identified in Section 2(b)(i).1.c.i of this Appendix A, to send tripping signals to the matching N60 relays located at the Large Generating Facility for loss of one Whirlwind 500/200 kV transformer bank to add the Large Generating Facility to the Whirlwind AA-Bank RAS. | CET-ET-TP-RN-820100 | 902668204 | High | 2024-03-22 | 0 | 55 | 0 | 55 | 0 | 55 | 0 | 55
08285 | Whirlwind Substation: a. Install one (1) 230 kV line position which includes the following equipment: i. Two (2) 230 kV circuit breakers and foundations. ii. One (1) 230 kV group operated disconnect switch with grounding attachment. iii. Four (4) sets of 223 kV disconnect switches, steel support structures, and foundations. b. Protection Relays: Two local breaker failure backup relays, General Electric ("GE") C60 or equivalent successor. | CET-ET-TP-RN-828500 | 903099017 | High | 2026-03-31 | 72.641 | 578.689 | 1540 | 2191.33 | 72.641 | 578.689 | 1540 | 2191.33
08448 | Laguna Bell Sub 1.Replace existing 220kV CB 21 with new 220kV CB, 4000A, 63kA, with new foundation 2.Replace existing 220kV CB 22 with new 220kV CB, 4000A, 63kA, with new foundation 3.Replace existing two (2) 230kV group operated DS, horizontal, center | CET-ET-TP-RL-844800 | 903728254 | High | 2025-01-17 | 14572.9673 | 487.657 | 411.525 | 15472.1493 | 14572.9673 | 487.657 | 411.525 | 15472.1493
08448 | Reconductor approximately 5 miles of existing Laguna Bell - Mesa No.1 230 kV Line with ACCC conductor. | CET-ET-TP-RL-844801 | 903728255 | High | 2025-04-03 | 9950.4785 | 1556.01 | 535.102 | 12041.5905 | 9950.4785 | 1556.01 | 535.102 | 12041.5905
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 2 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795047 | High | 2025-06-01 | 10.2109 | -0.001 | 0 | 10.2099 | 10.2109 | -0.001 | 0 | 10.2099
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 3 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795050 | High | 2025-06-01 | 382.2459 | -0.001 | 0 | 382.2449 | 382.2459 | -0.001 | 0 | 382.2449
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 4 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795052 | High | 2025-06-01 | 41.952 | -0.001 | 0 | 41.951 | 41.952 | -0.001 | 0 | 41.951
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 5 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795054 | High | 2025-06-01 | 16.5877 | -0.001 | 0 | 16.5867 | 16.5877 | -0.001 | 0 | 16.5867
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 6 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795055 | High | 2025-06-01 | 8.1748 | -0.001 | 0 | 8.1738 | 8.1748 | -0.001 | 0 | 8.1738
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 8 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795373 | High | 2025-06-01 | 23.0387 | -0.001 | 0 | 23.0377 | 23.0387 | -0.001 | 0 | 23.0377
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 7 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795403 | High | 2025-06-01 | 419.7699 | -0.029 | 0 | 419.7409 | 419.7699 | -0.029 | 0 | 419.7409
08448 | Laguna Bell-Velasco 220kv NEW Getaway TS | CET-ET-TP-RL-844801 | 904312243 | High | 2025-05-15 | 46.44 | 486.778 | 171.55 | 704.768 | 46.44 | 486.778 | 171.55 | 704.768
08448 | La Fresa-Laguna Bell 220kv NEW Getaway T | CET-ET-TP-RL-844801 | 904312244 | High | 2025-02-03 | 89.6267 | 0.097 | 168.342 | 258.0657 | 89.6267 | 0.097 | 168.342 | 258.0657
08448 | Del Amo-Laguna Bell 220kv NEW Getaway TS | CET-ET-TP-RL-844801 | 904312245 | High | 2025-02-03 | 253.3835 | -102.288 | 180.321 | 331.4165 | 253.3835 | -102.288 | 180.321 | 331.4165
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312246 | High | 2024-05-22 | 0 | 0.268 | 0 | 0.268 | 0 | 0.268 | 0 | 0.268
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312248 | High | 2025-06-01 | 16.3956 | 0 | 73.103 | 89.4986 | 16.3956 | 0 | 73.103 | 89.4986
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312249 | High | 2025-02-07 | 4.7838 | 3074.227 | 684.401 | 3763.4118 | 4.7838 | 3074.227 | 684.401 | 3763.4118
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312251 | High | 2025-06-01 | 3.5364 | 0 | 175.73 | 179.2664 | 3.5364 | 0 | 175.73 | 179.2664
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312252 | High | 2025-03-28 | 3.578 | 4513.042 | 819.302 | 5335.922 | 3.578 | 4513.042 | 819.302 | 5335.922
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312253 | High | 2025-06-01 | 4.3668 | 0 | 186.63 | 190.9968 | 4.3668 | 0 | 186.63 | 190.9968
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 9 M0T2 to M0T1 | CET-ET-TP-RL-844801 | 904312254 | High | 2025-06-01 | 3.4936 | 0 | 65.925 | 69.4186 | 3.4936 | 0 | 65.925 | 69.4186
8448 | Laguna Bell-Mesa No. 1 230 kV Line Rating Increase Project |  |  |  |  | 25851.0301 | 10015.756 | 3471.931 | 39338.7171 | 25851.0301 | 10015.756 | 3471.931 | 39338.7171
08269 | Whirlwind Substation: Power System Controls. 1. Add points to the RTUs at Whirlwind Substation. 2. Modify the existing RAS program to support the additional relays. | CET-ET-TP-RL-826900 | 903115822 | High | 2025-04-30 | 0 | 651.98 | 200 | 851.98 | 0 | 651.98 | 200 | 851.98
08270 | Whirlwind Substation: - Perform relay coordination study. - Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility [Tehachapi CRAS] - Install two (2) GE N60 logic processing relays | CET-ET-CR-WC-827000 | 902924856 | High | 2025-03-10 | 13.5298 | 235.146 | 156 | 404.6758 | 13.5298 | 235.146 | 156 | 404.6758
08426 | Eldorado Substation (NU) IRNU 1. Conduct relay coordination study 2. Review As-Built drawings Eldorado Substation-(NU) 1. Install two GE N60 logic processing relays or equivalent 2. Modity the existing program to support new relays Eldorado Substation | CET-ET-CR-WC-842600 | 903606178 | High | 2026-07-09 | 29.0818 | 6 | 40 | 75.0818 | 29.0818 | 6 | 40 | 75.0818
08474 | Antelope Sub: Replace all 41 66 kV Circuit Breakers from 40 kA to 50 kA.Perform Ground Grid Study.Replace 101 66 kV disconnect switches & 45 66 kV PTs.Remove 15 steel lattice structures .Install 15 dead-end structures..Relay that needs to be reset.At Ante | CET-ET-TP-RN-847401 | 903773209 | Low | 2025-04-25 | 10625.0411 | 3705.032 | 1000 | 15330.0731 | 10625.0411 | 3705.032 | 1000 | 15330.0731
08538 | Red Bluff (GRNU):.a.West of Colorado River CRAS and/or West of Colorado River CRAS Inland/Devers Extension – tripping infrastructure. 1.Red Bluff Substation.. i.Install one (1) set (2 total) of GE N60 logic processing relays or equivalent successor | CET-ET-TP-RN-853800 | 904099164 | High | 2025-07-03 | 128.0909 | 244.734 | 246.264 | 619.0889 | 92.1545 | 176.0729 | 177.1737 | 445.4011
08602 | Sylmar Sub: Replace 230kV/220kV Transformer with one rated for 1290 MVA normal and 1610 MVA Emergency (Procurement Only) | CET-ET-LG-SU-860200 | 904209302 | High | 2026-06-01 | 13.2651 | 12.056 | 1668.444 | 1693.7651 | 13.2651 | 12.056 | 1668.444 | 1693.7651
08576 | Antelope - Whirlwind - Raise approximately 9 towers in order to fix ground clearance and increase line rating to 3421/3880 MVA | CET-ET-TP-RN-857600 | 904186957 | High | 2026-01-06 | 93.3619 | 3112.442 | 0 | 3205.8039 | 93.3619 | 3112.442 | 0 | 3205.8039
08336 | Atlas Solar Generating Facility: Power System Controls (RNU) Add points to the RTUs at the Generating Facility. | CET-ET-CR-WC-833600 | 1002367 | High | 2022-10-01 | 0 | 8.489 | 2.956 | 11.445 | 0 | 8.489 | 2.956 | 11.445
08336 | Atlas Solar Project |  |  |  |  | 0 | 8.489 | 2.956 | 11.445 | 0 | 8.489 | 2.956 | 11.445
08411 | 2. Whirlwind AA Bank CRAS a. Whirlwind Substation Utilize two (2) GE N60 logic processing relays or equivalent successor, identified under Section 2.(b)(i)3.a of this Appendix A, to send tripping signals to the Large Generating Facility. b. Telecommunica | CET-ET-TP-RN-841101 | 903567160 | High | 2025-05-14 | 100.9754 | 75 | 0 | 175.9754 | 100.9754 | 75 | 0 | 175.9754
08411 | 3. Tehachapi CRAS a. Whirlwind Substation Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. b. Telecommunication Install channel banks and associated equipment at Whirlwind S | CET-ET-TP-RN-841100 | 903566458 | High | 2025-05-12 | 13.4818 | 75 | 0 | 88.4818 | 13.4818 | 75 | 0 | 88.4818
08411 | Cyclone Solar Project |  |  |  |  | 114.4572 | 150 | 0 | 264.4572 | 114.4572 | 150 | 0 | 264.4572
08418 | Laguna Bell Substation Interconnection Reliability Network Upgrades | CET-ET-TP-RN-841802 | 903627525 | High | 2025-12-23 | 1118.5835 | 676.229 | 305 | 2099.8125 | 1118.5835 | 676.229 | 305 | 2099.8125
08418 | Rio Hondo Substation General Reliability Network Upgrades: Conduct ground grid study | CET-ET-TP-RN-841801 | 903627524 | High | 2025-09-22 | 57.251 | 9.407 | 10 | 76.6579 | 57.251 | 9.407 | 10 | 76.6579
08418 | Lewis Substation General Reliability Network Upgrades: Conduct ground grid study | CET-ET-TP-RN-841800 | 903627521 | High | 2025-03-03 | 0.44564 | 27.857 | 10 | 38.3026 | 0.44564 | 27.857 | 10 | 38.3026
08418 | Commerce Energy Storage Project |  |  |  |  | 1176.2801 | 713.493 | 325 | 2214.7731 | 1176.2801 | 713.493 | 325 | 2214.7731
08342 | Windhub Substation Transmission Substation (IRNU) -Install two (2) 500 kV line position. -Install Four (4) 500 kV circuit breakers. -Install Twenty-four (24) 500 kV disconnect switches. -Install protection relays. | CET-ET-CR-WC-834205 | 903654150 | High | 2025-10-22 | 656.2903 | 5867.751 | 1939.655 | 8463.6963 | 656.2903 | 5867.751 | 1939.655 | 8463.6963
08342 | Windhub Substation Transmission Substation (GRNU) Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages -Install two (2) ethernet switches -Install one (1) satellite clock -Perform cen | CET-ET-CR-WC-834204 | 903654149 | High | 2025-10-22 | 102.8617 | 472.702 | 153.722 | 729.2857 | 76.7862 | 352.872 | 114.7535 | 544.4118
08342 | Whirlwind Sub- Perform centralized RAS programming and testing to the new centralized RAS relays -Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Whirlwind Substation | CET-ET-CR-WC-834203 | 903654148 | High | 2025-09-19 | 13.7063 | 74.69 | 27.067 | 115.4632 | 13.7063 | 74.69 | 27.067 | 115.4632
08342 | Vincent Substation Transmission Substation (GRNU) -Install six (6) GE N60 logic processing relays or equivalent successor to send tripping signals to the Generating Facility. -Perform centralized RAS programming and testing to the new centralized RAS rel | CET-ET-CR-WC-834202 | 903654147 | High | 2026-04-30 | 103.443 | 258.542 | 21.72 | 383.705 | 103.443 | 258.542 | 21.72 | 383.705
08342 | Midway Substation Transmission Substation (GRNU) -Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages -Install two (2) ethernet switches -Install one (1) satellite clock -Perform cen | CET-ET-CR-WC-834201 | 903654146 | High | 2025-09-22 | 2.3449 | 335.661 | 135.606 | 473.6119 | 2.3449 | 335.661 | 135.606 | 473.6119
08342 | Sanborn Hybrid 3 |  |  |  |  | 878.6461 | 7009.346 | 2277.77 | 10165.7621 | 852.5707 | 6889.516 | 2238.8015 | 9980.8882
08490 | Eldorado Sub Ivanpah Area RAS (GRNU) Add project as an eligible participant for tripping i. Eldorado Substation 1. Utilize existing N60 relays. 2. Modify relay settings, update document controls, test relays for new logic for tripping BESS units. ii.P | CET-ET-CR-WC-849002 | 903912132 | High | 2026-12-29 | 54.0464 | 122.5 | 0 | 176.5464 | 54.0464 | 122.5 | 0 | 176.5464
08490 | Eldorado Substation Lugo-Victorville CRAS (GRNU) 1. Utilize planned CRAS relays planned for RAS to CRAS conversion. 2. Modify and perform CRAS programming and testing to the existing CRAS relays to trip entire project as a single tripping block. ii | CET-ET-CR-WC-849000 | 903876312 | High | 2026-12-29 | 54.1122 | 48.5 | 116 | 218.6122 | 54.1122 | 48.5 | 116 | 218.6122
08490 | Silver State South Solar Project |  |  |  |  | 108.1586 | 171 | 116 | 395.1586 | 108.1586 | 171 | 116 | 395.1586
08357 | Pardee Substation Interconnection-(RNU): 1. a. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. b. Perform centralized RAS programming and testing to the new centralized RAS relays | CET-ET-CR-WC-835706 | 903503019 | High | 2025-05-29 | 11.4126 | 1.5 | 0 | 12.9126 | 11.4126 | 1.5 | 0 | 12.9126
08357 | Pardee Substation Interconnection-(RNU): 1. a. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. b. Perform centralized RAS programming and testing to the new centralized RAS relays | CET-ET-CR-WC-835710 | 903503025 | High | 2025-11-18 | 3.0275 | 0.5 | 0 | 3.5275 | 3.0275 | 0.5 | 0 | 3.5275
[6 empty] | 14.44 | 2 | 0 | 16.44 | 14.44 | 2 | 0 | 16.44
08473 | DEVERS 220 KV/115 KV | CET-ET-TP-RL-847301 | 903870439 | High | 2026-01-23 | 433.6411 | 1535.603 | 2795.668 | 4764.9121 | 433.6411 | 1535.603 | 2795.668 | 4764.9121
08473 | Devers 220 kV/115 kV Substation: 1. Moving the Devers-Vista No.2 220 kV T/L from Position 8 South to Position 7 South ― Install one Breaker and two Disconnectors 2. Moving the Devers No.1AA Bank from Position 1X North to Position 1 North ― | CET-ET-TP-RL-847300 | 903870398 | High | 2025-04-08 | 1191.2767 | 610.061 | 0 | 1801.3377 | 1191.2767 | 610.061 | 0 | 1801.3377
[6 empty] | 1624.9178 | 2145.664 | 2795.668 | 6566.2498 | 1624.9178 | 2145.664 | 2795.668 | 6566.2498
08038 | Ellis Ph2 RLA SCE:Re | CET-ET-CR-WS-803800 | 902179842 | High | 2019-01-09 | 0 | 63 | 25 | 88 | 0 | 15.75 | 6.25 | 22
08556 | ELDORADO SUBSTATION | CET-ET-TP-RN-855600 | 904215732 | High | 2026-03-12 | 10.6242 | 54 | 981 | 1045.6242 | 10.6242 | 54 | 981 | 1045.6242
08555 | ELDORADO SUBSTATION | CET-ET-TP-RN-855500 | 904215733 | High | 2025-07-08 | 5.3398 | 39 | 930 | 974.3397 | 5.3398 | 39 | 930 | 974.3397
08487 | MIRAGE SUB: INSTALL | CET-ET-TP-RL-848700 | 903853954 | High | 2024-01-29 | 0 | 6.48 | 0 | 6.48 | 0 | 6.48 | 0 | 6.48
08599 | New Inyo 230 kV Shunt Reactor | CET-ET-TP-RL-859900 | 904188170 | High | 2026-09-25 | 165.6609 | 1146.743 | 20240 | 21552.4039 | 165.6609 | 1146.743 | 20240 | 21552.4039
08612 | Wildlife Substation, General Reliability Network Upgrades (GRNU).Details from Executed Generator Interconnection Agreement 9/6/2023:.(i) Reliability Network Upgrades. The Distribution Provider shall:.1. General Reliability Network Upgrade (GRNU).. a. West | CET-ET-TP-RN-861200 | 904254656 | High | 2025-11-25 | 0 | 144.834 | 44.133 | 188.967 | 0 | 144.834 | 44.133 | 188.967
08519 | Relocate 220 kV lines to split Barre 220 kV switchrack into two bus-sections. | CET-ET-TP-RL-851901 | 1181636 | High | 2026-06-30 | 0 | 3426.474 | 2852.509 | 6278.983 | 0 | 3426.474 | 2852.509 | 6278.983
08519 | Barre 230 kV Switchrack to Breaker-and-a-Half | CET-ET-TP-RL-851900 | 903994221 | High | 2026-06-26 | 2507.7997 | 10036.123 | 11516.546 | 24060.4687 | 2362.5981 | 9455.0315 | 10849.738 | 22667.3676
8277 | Whirlwind Substation – - Perform one (1) local relay coordination study - a. Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. b. Power System Controls. i. Perform centraliz | CET-ET-CR-WC-827700 | 903033063 | High | 2025-02-28 | 116.5092 | 321.655 | 188.817 | 626.9812 | 116.5092 | 321.655 | 188.817 | 626.9812
8319 | WHIRLWIND SUBSTATION | CET-ET-CR-WC-831900 | 903197596 | High | 2025-06-09 | 2466.586 | 280 | 0 | 2746.586 | 2466.586 | 280 | 0 | 2746.586
8320 | VESTAL-INSTALL FACIL | CET-ET-CR-WC-832000 | 903173302 | High | 2024-06-28 | 0 | -551.299 | 25 | -526.299 | 0 | -319.7314 | 14.499 | -305.2324
8320 | PARDEE - PASTORIA - | CET-ET-CR-WC-832005 | 903226976 | High | 2025-12-19 | 3766.9226 | 961.96 | 155 | 4883.8826 | 3766.9226 | 961.96 | 155 | 4883.8826
8528 | Kramer Substation (GRNU): One Time Cost Mojave Desert RAS - Tripping Infrastructure Note: Analytic associated with the Mojave Desert RAS to be incorporated by the initial sync date which is scheduled for March of 2025. The analytic associated with the NO | CET-ET-TP-RN-852800 | 904089124 | High | 2026-05-18 | 16.4936 | 201 | 231.858 | 449.3516 | 16.4936 | 201 | 231.858 | 449.3516
8541 | Colorado River Substation (GRNU).- Conduct a relay coordination study.- Add points to the RTU at Colorado River Substation | CET-ET-TP-RN-854101 | 904146701 | High | 2026-02-09 | 16.1479 | 19.043 | 20.937 | 56.1279 | 16.1479 | 19.043 | 20.937 | 56.1279
8541 | Colorado River Substation (IRNU)."As-Built" drawings Review .Review “As-Built” drawings, information, and documents, as applicable for the Interconnection Customer’s Interconnection Facilities and Generating Facility submitted by the Interconnection Custo | CET-ET-TP-RN-854102 | 904146703 | High | 2026-02-09 | 0 | 1.82 | 4.453 | 6.273 | 0 | 1.82 | 4.453 | 6.273
8546 | Colorado River Substation - (IRNU Dedicated) a. Install one (1) 220 kV line position which includes the following equipment: i. Two (2) 220 kV circuit breakers. ii. One (1) 220 kV group operated disconnect switch with grounding attachment. iii. Three (3) | CET-ET-CR-WC-854604 | 904410099 | High | 2026-07-27 | 7.5542 | 501.023 | 854.424 | 1363.0012 | 7.5542 | 501.023 | 854.424 | 1363.0012
8546 | Colorado River Substation - (IRNU Shared) a. Expand the existing switchrack four (4) positions | CET-ET-TP-RN-854601 | 1210880 | High | 2026-12-22 | 0 | 219.825 | 577.56 | 797.385 | 0 | 219.825 | 577.56 | 797.385
8546 | Environmental Activities, Permits, and Licensing. - (IRNU Dedicated) 1. Perform the required environmental activities and obtain the required licensing and permits for the installation of the Dedicated Interconnection Reliability Network Upgrades. | CET-ET-TP-RN-854601 | 1210881 | High | 2026-07-27 | 0 | 2.963 | 7.788 | 10.751 | 0 | 2.963 | 7.788 | 10.751
8546 | Environmental Activities, Permits, and Licensing - (IRNU Shared) a. Perform the required environmental activities and obtain the required licensing and permits for the installation of the Shared Interconnection Reliability Network Upgrades. | CET-ET-TP-RN-854601 | 1371060 | High | 2026-12-22 | 0 | 2.963 | 7.788 | 10.751 | 0 | 2.963 | 7.788 | 10.751
8546 | Devers 220kV SCD mitigation - (GRNU) i. Devers Substation 1. Replace one (1) existing 220kV circuit breaker and associated equipment with one (1) 63kA circuit breaker. | CET-ET-TP-RN-854601 | 1373768 | High | 2026-12-22 | 0 | 1.157 | 3.036 | 4.193 | 0 | 1.157 | 3.036 | 4.193
8547 | COLORADO RIVER SUBST | CET-ET-CR-WC-854705 | 904409771 | High | 2026-10-13 | 5.4597 | 242.301 | 559.756 | 807.5167 | 5.4597 | 242.301 | 559.756 | 807.5167
8547 | COLORADO RIVER SUBST | CET-ET-CR-WC-854706 | 904409772 | High | 2026-08-19 | 6.2089 | 415.546 | 959.924 | 1381.6789 | 6.2089 | 415.546 | 959.924 | 1381.6789
8547 | Note: Shared cost split between TOT1006 Grace Energy Project (50%) & TOT1013 Cobalt Project(50%). Environmental Activities, Permits, and Licensing - (IRNU Shared) Perform and/or coordinate the required environmental activities and obtain required licensi | CET-ET-TP-RN-854701 | 1373717 | High | 2026-10-20 | 0 | 3.323 | 7.544 | 10.867 | 0 | 3.323 | 7.544 | 10.867
8547 | Environmental Activities, Permits, and Licensing - (IRNU Sole) Perform and/or coordinate the required environmental activities and obtain required licensing and permits for the installation of the Interconnection Reliability Network Upgrades, if applicabl | CET-ET-TP-RN-854702 | 1373712 | High | 2026-10-20 | 0 | 3.323 | 7.544 | 10.867 | 0 | 3.323 | 7.544 | 10.867
8686 | Vincent Substation.Moorpark Centralized RAS - Reliability Network Upgrade Cost.Install 2 new logic processing relays to detect Vincent line outages..Install 2 Ethernet switches..Install 1 satellite clock..Perform centralized RAS programming and testing to | CET-ET-TP-RN-868601 | 904455360 | High | 2026-07-10 | 0 | 138.578 | 30.377 | 168.955 | 0 | 138.578 | 30.377 | 168.955
8686 | Santa Clara Substation.Big Creek-Pastoria CRAS Conversion as part of Short Circuit Duty Mitigation - Reliability Network Upgrade Cost.Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages..I | CET-ET-TP-RN-868604 | 904455363 | High | 2026-07-10 | 0 | 13.325 | 7.175 | 20.5 | 0 | 13.325 | 7.175 | 20.5
| Total Transmission Project Reliability |  |  |  |  | 79852.7255 | 71267.389 | 75736.434 | 226856.5485 | 79645.5121 | 70410.481 | 73143.5503 | 223199.5434
Infrastructure Replacement
03138 | Sylmar Convertor Station: Misc Cap | CET-OT-OT-ME-313800 |  | High | Blanket Specifics | 0 | 6904.0281 | 4036.0902 | 10940.1183 | 0 | 6904.0281 | 4036.0902 | 10940.1183
04651 | Palo Verde Switchrack: Misc Cap | CET-OT-OT-ME-465100 |  | High | Blanket Specifics | 0 | 4681.4931 | 8005.0027 | 12686.4958 | 0 | 4681.4931 | 8005.0027 | 12686.4958
| Total LADWP/Palo Verde - WORK PERFORMED BY OPERATING AGENT |  |  |  |  | 0 | 11585.5213 | 12041.0928 | 23626.6141 | 0 | 11585.5213 | 12041.0928 | 23626.6141
06424 | Advanced Technology Capital IIJA DOE | CET-OT-OT-AT-642423 |  | High | Blanket Specifics | 0 | 8055 | 8775 | 16830 | 0 | 4833 | 5265 | 10098
04211 | Replace Bulk Power Circuit Breakers (220kV and Above) | CET-ET-IR-CB-421100 |  | High | Blanket Specifics | 0 | 525.829 | 94.643 | 620.472 | 0 | 525.829 | 94.643 | 620.472
04756 | Substation Miscellaneous Equipment Additions & Betterment | CET-ET-IR-ME-475600 |  | High | Blanket Specifics | 0 | 8122.0299 | 7411.9323 | 15533.9621 | 0 | 8122.0299 | 7411.9323 | 15533.9621
04837 | Replace SAS Infrastructure (FERC) | CET-ET-IR-RP-483701 |  | High | Blanket Specifics | 0 | 888.2935 | 894.5432 | 1782.8367 | 0 | 888.2935 | 894.5432 | 1782.8367
05089 | Bulk Power 500kV & 220kV Line Relay Replacement | CET-ET-IR-RP-508900 |  | High | Blanket Specifics | 0 | 1916.657 | 2501.418 | 4418.075 | 0 | 1916.657 | 2501.418 | 4418.075
05210 | Substation Transformer Bank Replacement Program (AA-Bank & A-Bank) | CET-ET-IR-TB-521001 |  | High | Blanket Specifics | 0 | 341.411 | 2698.38 | 3039.791 | 0 | 341.411 | 2698.38 | 3039.791
07713 | Substation Switchrack Rebuilds (FERC) | CET-ET-IR-RB-771301 |  | High | Blanket Specifics | 0 | 4607.2132 | 2473.9665 | 7081.1797 | 0 | 4607.2132 | 2473.9665 | 7081.1797
07716 | Substation Batteries & Chargers (FERC) | CET-ET-IR-ME-771601 |  | High | Blanket Specifics | 0 | 2.041 | 0 | 2.041 | 0 | 2.041 | 0 | 2.041
07637 | Substation Facility Capital Maintenance | COS-00-RE-MA-NE7637 |  | High | Blanket Specifics | 0 | 23885.9282 | 15036.9857 | 38922.914 | 0 | 8360.0749 | 5262.945 | 13623.0199
06987 | Substation HVAC Redundancy Program | COS-00-RE-MA-SBHVAC |  | High | Blanket Specifics | 0 | 7180 | 6037.7648 | 13217.7648 | 0 | 2513 | 2113.2177 | 4626.2177
08074 | Corporate Real Estate Infrastructure Upgrades | COS-00-RE-IU-250011 |  | High | Blanket Specifics | 0 | 850 | 5738.2292 | 6588.2292 | 0 | 850 | 5738.2292 | 6588.2292
7924 | Substation Reliability Upgrades - Antelope | COS-00-RE-AD-SR0001 | 802304660 | High | 2025-12-01 | 1188.9901 | 7061.8953 | 0 | 8250.8855 | 1188.2767 | 7057.6582 | 0 | 8245.9349
7956 | Substation Reliability Upgrades - Pardee | COS-00-RE-AD-SR0003 | 802304661 | High | 2025-12-01 | 1196.0474 | 4361.8953 | 0 | 5557.9427 | 1111.0084 | 4051.7646 | 0 | 5162.773
07392 | Seismic Program - Bus Rel (FERC) | COS-00-SP-BR-000000 |  | High | Blanket Specifics | 0 | 800 | 800 | 1600 | 0 | 648.8 | 648.8 | 1297.6
07392 | Seismic Program - Trans Subs (FERC) | COS-00-SP-TD-000000 |  | High | Blanket Specifics | 0 | 7675 | 11050 | 18725 | 0 | 4992.5875 | 7188.025 | 12180.6125
07392 | Seismic Program - Trans Lines | COS-00-SP-TD-000002 |  | High | Blanket Specifics | 0 | 3500 | 3300 | 6800 | 0 | 3470.25 | 3271.95 | 6742.2
07392 | Seismic Assessment and Mitigation Program for Transmission Assets |  |  |  |  | 0 | 11975 | 15150 | 27125 | 0 | 9111.6375 | 11108.775 | 20220.4125
Physical Security Enhancement Programs:
07949 | Protection of Grid Infrastructure Assets (formerly, Physical Security Systems - Electric Facilities) | COS-00-CS-CS-745400 |  | High | Blanket Specifics | 0 | 14265.8673 | 9756.1674 | 24022.0347 | 0 | 8820.5858 | 6032.2383 | 14852.824
07949 | Protection of Grid Infrastructure Assets (formerly, Physical Security Systems - Electric Facilities) | COS-00-CS-CS-745401 |  | High | Blanket Specifics | 0 | 8642.3922 | 16096.5 | 24738.8922 | 0 | 5171.6075 | 9632.1456 | 14803.7531
07820 | Corporate Security - CIP-014 | COS-00-CS-CS-782000 |  | High | Blanket Specifics | 0 | 200 | 0 | 200 | 0 | 137.66 | 0 | 137.66
07573 | Substation Fence/Gate (Cu Theft) (aka, Security Fence and Lights Upgrade) (FERC) | CET-ET-IR-ME-757301 |  | High | Blanket Specifics | 0 | 666.1344 | 56.0746 | 722.209 | 0 | 666.1344 | 56.0746 | 722.209
08042 | 500/230 kV (ES-5070): Physical Security Tier 2 | CET-ET-IR-ME-804201 | 903511341 | High | 2025-08-28 | 1275.5497 | 11463.897 | 1210 | 13949.4468 | 510.2199 | 4585.5588 | 484 | 5579.7787
08042 | 500/230 kV (ES-5031): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903897059 | High | 2026-06-01 | 385.7243 | 3038.691 | 4599.271 | 8023.6863 | 362.5808 | 2856.3695 | 4323.3147 | 7542.2651
08042 | 500/230 kV (ES-8369): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903897060 | High | 2026-09-04 | 33.9343 | 3290.757 | 0 | 3324.6913 | 33.9343 | 3290.757 | 0 | 3324.6913
08042 | 500/230 kV (ES-8367): Physical Security Tier 2 | CET-ET-IR-ME-804200 | 903897669 | High | 2025-08-15 | 121.2546 | 3517.597 | 0 | 3638.8516 | 121.2546 | 3517.597 | 0 | 3638.8516
08042 | 500/230 kV (ES-5023): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903907357 | High | 2025-04-30 | 1192.1656 | 459.138 | 0 | 1651.3036 | 369.5713 | 142.3328 | 0 | 511.9041
08042 | 500/230 kV (ES-8079): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903853720 | High | 2026-06-25 | 23.96 | 308.366 | 6595.341 | 6927.6671 | 9.584 | 123.3464 | 2638.1364 | 2771.0668
08042 | 500/230 kV (ES-5042): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903994629 | High | 2026-05-21 | 108.5726 | 252.311 | 8162.025 | 8522.9086 | 91.201 | 211.9412 | 6856.101 | 7159.2432
08042 | 500/230 kV (ES-5021): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 904406179 | High | 2026-11-12 | 268.037 | 770.516 | 4944.935 | 5983.488 | 66.4732 | 191.088 | 1226.3439 | 1483.905
08042 | 500/230 kV (ES-5064): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 904587232 | High | 2026-12-10 | 9.5673 | 299.166 | 5037.546 | 5346.2793 | 2.631 | 82.2707 | 1385.3252 | 1470.2268
08042 | Physical Security Projects (Tiers 2 & 3) |  |  |  |  | 3418.7654 | 23400.439 | 30549.118 | 57368.3224 | 1567.45 | 15001.2614 | 16913.2212 | 33481.9326
| Total Physical Security Enhancement Programs |  |  |  |  | 3418.7654 | 47174.8329 | 56457.86 | 107051.4582 | 1567.45 | 29797.249 | 32633.6796 | 63998.3787
| Total Infrastructure Replacement |  |  |  |  | 5803.8028 | 138533.5476 | 135311.8155 | 279649.166 | 3866.7351 | 94563.38 | 90237.8223 | 188667.9375
Grid Applications
08345 | Mohave -Install 150 linear -ft of 4' x 4' cable tray -Install one (1) pair of monitoring relays -Install one (1) SEL-2407 Satellite Clock -Install six (6) sets of tripping relays to trip interconnection customers -Install two (2) Ethernet Switch -Remove existing RAS relays & infrastructure | CET-ET-GA-CR-834500 | 903333163 | High | 2026-06-01 | 417.0612 | 200 | 300 | 917.0612 | 417.0612 | 200 | 300 | 917.0612
08345 | Eldorado -Install 150 linear -ft of 4' x 4' cable tray -Install four (4) Ethernet Switches -Install four (4) pairs of monitoring relays -Install fourteen (14) pairs of tripping relays to customers -Install one (1) SEL-2407 Satellite Clock -Remove existing RAS relays & infrastructure | CET-ET-GA-CR-834501 | 903333164 | High | 2026-06-01 | 310.3251 | 250 | 438 | 998.3251 | 310.3251 | 250 | 438 | 998.3251
08345 | Total Lugo-Victorville Centralized RAS |  |  |  |  | 727.3863 | 450 | 738 | 1915.3863 | 727.3863 | 450 | 738 | 1915.3863
06446 | VARIOUS: INSTALL PHASOR MEASUREMENT SYSTEM | CET-ET-GA-EM-644606 |  | High | Blanket Specifics | 0 | 140.099 | -27.8489 | 112.2501 | 0 | 140.099 | -27.8489 | 112.2501
| Total Grid Apps |  |  |  |  | 727.3863 | 590.099 | 710.1511 | 2027.6365 | 727.3863 | 590.099 | 710.1511 | 2027.6365
PWRD Blankets
06957 | WAMPAC program | CET-ET-TP-RL-695799 |  | High | Blanket Specifics | 0 | 2806 | 12557.24 | 15363.24 | 0 | 1487.18 | 6655.3372 | 8142.5172
03363 | Substation Planned Maintenance Replacements | CET-PD-IR-SP-SUBSNW |  | High | Blanket Specifics | 0 | 17072.1793 | 21315.5224 | 38387.7017 | 0 | 7993.861 | 9980.7599 | 17974.6209
03363 | Substation Unplanned Maintenance Replacements | CET-PD-BM-SU-SUBSNW |  | High | Blanket Specifics | 0 | 35544.3639 | 48425.8308 | 83970.1947 | 0 | 7875.2711 | 10729.3114 | 18604.5825
03363 | Substation - Storm | CET-PD-ST-SS-SUBSNW |  | High | Blanket Specifics | 0 | 875.4606 | 1217.5201 | 2092.9807 | 0 | 79.583 | 110.6777 | 190.2607
03363 | Substation Maintenance, Breakdown, & Storm |  |  |  |  | 0 | 53492.0038 | 70958.8733 | 124450.8771 | 0 | 15948.7152 | 20820.749 | 36769.4642
07890 | Pardee-Pastoria 220kV: Re-conductor (San Joaquin & North Coast) | CET-PD-IR-TP-789000 | 904260319 | High | 2025-07-22 | 11054.2816 | 3408.947 | 11926.409 | 26389.6376 | 11054.2816 | 3408.947 | 11926.409 | 26389.6376
07890 | Pardee-Pastoria 220kV: Re-conductor (San Joaquin & North Coast) | CET-PD-IR-TP-789000 | 904260320 | High | 2025-07-22 | 8954.3539 | 17128.882 | 15361.402 | 41444.6379 | 8954.3539 | 17128.882 | 15361.402 | 41444.6379
07890 | Transmission Maintenance Planned - OH Conductors | CET-PD-IR-TP-789000 |  | High | Blanket Specifics | 0 | 2232.8946 | 0 | 2232.8946 | 0 | 2232.8946 | 0 | 2232.8946
07887 | Switch Replacement | CET-PD-IR-TP-788701 |  | High | Blanket Specifics | 0 | 2219.2486 | 2354.3051 | 4573.5537 | 0 | 220.8593 | 234.3001 | 455.1593
03364 | Transmission Breakdown Maintenance Unplanned | CET-PD-BM-TU-TRSJAC |  | High | Blanket Specifics | 0 | 1267.104 | 1554.0572 | 2821.1613 | 0 | 198.5461 | 243.5096 | 442.0556
03364 | Transmission Tower Corrosion Program | CET-PD-IR-TS-TRSJAC |  | High | Blanket Specifics | 0 | 14625.422 | 3551.6292 | 18177.0512 | 0 | 6287.3909 | 1526.8264 | 7814.2173
03364 | Transmission Small Civil | CET-PD-IR-TC-TRSJAC |  | Low | Blanket Specifics | 0 | 17603.1225 | 1783.1168 | 19386.2393 | 0 | 7779.3944 | 788.0175 | 8567.4119
03364 | Transmission Grid-Based Maintenance | CET-PD-IR-TG-TRSJAC |  | High | Blanket Specifics | 0 | 24502.9189 | 12538.0106 | 37040.9295 | 0 | 5584.5186 | 2857.5679 | 8442.0864
| Transmission Maintenance & Breakdown Maintenance |  |  |  |  | 20008.6355 | 82988.5395 | 49068.93 | 152066.105 | 20008.6355 | 42841.4328 | 32938.0324 | 95788.1007
04056 | Steel Stub Pole Remediation (Trans) | CET-PD-OT-SF-TRORAN |  | Low | Blanket Specifics | 0 | 48.1604 | 182.7791 | 230.9395 | 0 | 1.1293 | 4.286 | 5.4153
| Transmission Poles (Pole Loading & Deteriorated Pole Programs) |  |  |  |  | 0 | 48.1604 | 182.7791 | 230.9395 | 0 | 1.1293 | 4.286 | 5.4153
07298 | Transmission Line Rating Remediation (Exempt from Licensing) | CET-PD-OT-PJ-729801 |  | High | Blanket Specifics | 0 | 57549.423 | 65100.376 | 122649.799 | 0 | 57549.423 | 65100.376 | 122649.799
03362 | Critical Infrastructure Spares - FERC Spare Transformer Equipment Program (STEP)/Emergency | CET-PD-CI-CI-CRINSP |  | High | Blanket Specifics | 0 | 1684.0734 | 2357.0929 | 4041.1663 | 0 | 1684.0734 | 2357.0929 | 4041.1663
03367 | Substation - Claim | CET-PD-CL-SC-SUBSNW |  | High | Blanket Specifics | 0 | 409.7644 | 561.7874 | 971.5518 | 0 | 15.4509 | 21.1832 | 36.6341
03367 | Transmission - Claim | CET-PD-CL-TC-TRSJAC |  | High | Blanket Specifics | 0 | 3692.1149 | 4528.2395 | 8220.3544 | 0 | 414.1322 | 507.9175 | 922.0496
03367 | Transmission - Storm | CET-PD-ST-TS-TRSJAC |  | High | Blanket Specifics | 0 | 8355.9172 | 11173.7519 | 19529.6691 | 0 | 4142.4413 | 5539.3813 | 9681.8226
03367 | Transmission Storm & Claims |  |  |  |  | 0 | 12457.7965 | 16263.7787 | 28721.5752 | 0 | 4572.0244 | 6068.4819 | 10640.5063
08224 | Trans Emerg Dry Fuels Remediation FERC | CET-PD-FR-TF-822601 |  | Low | Blanket Specifics | 0 | 31.4089 | 36.8836 | 68.2925 | 0 | 31.4089 | 36.8836 | 68.2925
08224 | EOI Replacements - T (FERC) | CET-PD-WM-TP-822401 |  | Low | Blanket Specifics | 0 | 783.9875 | 918.8889 | 1702.8763 | 0 | 783.9875 | 918.8889 | 1702.8763
08224 | Transmission Splice FERC | CET-PD-WM-TS-822401 |  | Low | Blanket Specifics | 0 | 0 | 7.5673 | 7.5673 | 0 | 0 | 7.5673 | 7.5673
08224 | [5 empty] | 0 | 815.3964 | 963.3398 | 1778.7362 | 0 | 815.3964 | 963.3398 | 1778.7362
| Total PWRD Blankets |  |  |  |  | 20008.6355 | 211841.3932 | 217452.4097 | 449302.4383 | 20008.6355 | 124899.3745 | 134907.6951 | 279815.7051
Total Non-Incentive Transmission Projects | [5 empty] | 110399.8719 | 424874.4318 | 431316.4173 | 966590.721 | 108255.5908 | 293105.3376 | 301104.8258 | 702465.7542
Total Forecast Specific Project Expenditures (Closing by December 2026) | [5 empty] | 110399.8719 | 129721.4507 | 136416.97 | 376538.2926 | 108255.5908 | 120150.9972 | 120188.1895 | 348594.7775
Total Forecast Blanket Expenditures (Closing by December 2026) | [5 empty] | 0 | 295152.9811 | 294899.4473 | 590052.4284 | 0 | 172954.3404 | 180916.6364 | 353870.9767