## 2025 Gross Load Estimate
Southern California Edison Company
Monthly Peaks and Energy @ ISO (MWh)
Month | Peak | Energy
Jan | 11430.2915 | 6862712.8969
Feb | 10884.9117 | 6204700.9724
Mar | 10579.7742 | 6641335.1806
Apr | 11916.0289 | 6546328.9814
May | 12968.8032 | 7156389.6571
Jun | 16212.1787 | 7941011.4307
Jul | 19100.5413 | 9092198.8401
Aug | 19722.416 | 9306521.3903
Sep | 19736.8496 | 8429677.5562
Oct | 16190.5236 | 7314375.8497
Nov | 11830.0813 | 6542246.3391
Dec | 11452.9379 | 6931856.7738
Total | 172025.3379 | 88969355.8681

## 2024 Eastwood True-Up
Southern California Edison Company
2024 Monthly Eastwood Pump Amounts
Month | Energy (MW)
Jan
Feb
Mar
Apr
May
Jun
Jul | 14709
Aug | 28671
Sep | 13057
Oct
Nov | 4175
Dec | 20144
Total: | 80756
2024 True-Up Calculation
2024 Forecast (MWh) | 65258 | Reference: TO2025 Schedule 32, Line 2
True-Up Calculation (MWh) | 15498 | = Total 2024 Actuals less 2024 Forecast
Note that the full return to service for Eastwood was delayed until mid-July 2024,
which is why there was no pump activity in June 2024. The unit was in outage in
October and for part of November 2024. For the months where the pump usage was
higher than forecasted, it was due to a combination of favorable prices and
meeting reliability obligations.

## 2025 Eastwood Forecast
Southern California Edison Company
2025 Monthly Eastwood Pump Forecast Amounts
Month | Energy (MW)
Jan | 9960
Feb | 24231
Mar | 3422
Apr | 23118
May | 17800
Jun | 14012
Jul | 18495
Aug | 18789
Sep | 19040
Oct | 23871
Nov
Dec | 21208
Total: | 193946