## WP3 to Sch 16
[6 empty] | Project Total (ISO & non-ISO) |  |  |  | ISO Portion
PIN | Project Title | C-WBS | Order # | High/Low Voltage | OD | Prior | 2016 | 2017 | Total | Prior | 2016 | 2017 | Total
Non-Incentive Transmission Projects includes Direct Installation and Removal Expenditures
Other Transmission
6694 | Devers: Upgrade the Devers RTU | CET-ET-TP-RN-669400 | 900504611 | High | 2015-06-01 | 9664.8641 | 15 | 0 | 9679.8641 | 9664.8641 | 15 | 0 | 9679.8641
6694 | Vista Sub: Upgrade line protection at the Devers #1 220kV T/L position. | CET-ET-TP-RN-669407 | 900512922 | High | 2015-06-01 | 748.9491 | 1 | 0 | 749.9491 | 748.9491 | 1 | 0 | 749.9491
6694 | El Casco Sub: Install one SEL-2407 satellite synchronized clock and two N60 relays | CET-ET-TP-RN-669402 | 900512925 | High | 2015-06-01 | 387.9484 | 1 | 0 | 388.9484 | 387.9484 | 1 | 0 | 388.9484
6694 | Total CPV Sentinel Project - Sentinel-Devers 220kV |  |  |  |  | 10801.7616 | 17 | 0 | 10818.7616 | 10801.7616 | 17 | 0 | 10818.7616
7556 | Del Sur: Install equipment for network upgrade | CET-ET-TP-RL-755600 | 901130177 | High | 2016-06-01 | 0 | 700 | 0 | 700 | 0 | 700 | 0 | 700
7691 | Antelope (NU): Equip 1 220kV CB position | CET-ET-TP-RN-769100 | 901355205 | High | 2016-10-16 | 65.4649 | 800 | 0 | 865.4649 | 65.4649 | 800 | 0 | 865.4649
7733 | Whirlwind (Plan of Service): Equip one 220 kV position to terminate the Teddy-Whirlwind 220kV T/L | CET-ET-TP-RN-773300 | 901432580 | High | 2016-11-16 | 24.6658 | 1400 | 0 | 1424.6658 | 24.6658 | 1400 | 0 | 1424.6658
| Total Other Transmission |  |  |  |  | 10891.8923 | 2917 | 0 | 13808.8923 | 10891.8923 | 2917 | 0 | 13808.8923
TSP Projects
6107 | Pardee Sub: Install new double breaker 220 kV CB's in position 11 to terminate bank leads | CET-ET-LG-TS-610705 | 900290530 | High | 2015-06-01 | 5046.6564 | 181 | 0 | 5227.6564 | 5046.6564 | 181 | 0 | 5227.6564
6824 | La Fresa Sub (Phase 2 Scope): Install new MEER building and cut over existing protection and upgrade CTs on existing banks. Upgrade SAS from 5.5 to 6X. | CET-ET-LG-TS-682400 | 900522611 | High | 2017-12-01 | 7824.1376 | 555.8355 | 555 | 8934.973 | 7824.1376 | 555.8355 | 555 | 8934.973
6670 | Valley Sub: Construct 10 position CB&1/2 AIS 115 kV switchrack to the north of existing GIS 115 kV swtichrack. Number from east to west as Pos. 5-14 per approved Line and Bus Diagram. Ratings of all equipment should be selected per SCE standards and should not limit the capacity of the AA-bank transformers. Transfer all equipment connections from the existing GIS 115 kV switchrack to the new AIS 115 kV switchrack. Retire and demolish the existing GIS 115 kV GIS equipment and building. Review and install or upgrade relay protection as required. | CET-ET-LG-TS-667000 | 800440341 | High | 2017-02-01 | 663.4339 | 551.7854 | 123.2995 | 1338.5189 | 663.4339 | 551.7854 | 123.2995 | 1338.5189
6263 | Vestal Sub: Equip 220 kV A-Bank Positions (Positions 3 and 4) with circuit breakers | CET-ET-LG-TS-626302 | 900312889 | High | 2016-12-01 | 7222.2246 | 2440.32 | 0 | 9662.5446 | 7222.2246 | 2440.32 | 0 | 9662.5446
7113 | El Nido: Install 230 kV (63 kA) double breakers on No. 1 A bank at position 3 and No. 3A bank at position 6. | CET-ET-LG-TS-711300 | 901241164 | High | 2017-12-01 | 352.4052 | 3500 | 2000 | 5852.4052 | 352.4052 | 3500 | 2000 | 5852.4052
| Total TSP Projects |  |  |  |  | 21108.8577 | 7228.9409 | 2678.2995 | 31016.0981 | 21108.8577 | 7228.9409 | 2678.2995 | 31016.0981
Transmission Project Reliability
07460 | Victor Sub: Equip Position to terminate the new Victor-Aqueduct 115 kV line at Position No.14 south. | CET-ET-TP-RL-746000 | 901110214 | High | 2017-03-01 | 387.8933 | 174.456 | 227.423 | 789.7723 | 387.8933 | 174.456 | 227.423 | 789.7723
07460 | Aqueduct Sub: Equip Position to terminate the new Victor-Aqueduct 115 kV line at Position No.3. | CET-ET-TP-RL-746001 | 901110215 | High | 2017-03-01 | 399.7589 | 174.456 | 227.423 | 801.6379 | 399.7589 | 174.456 | 227.423 | 801.6379
07460 | Total Reconductor Victor Leg of Victor-Aqueduct - Hesperia |  |  |  |  | 787.6522 | 348.912 | 454.846 | 1591.4102 | 787.6522 | 348.912 | 454.846 | 1591.4102
7518 | Springville Sub: Redesign high side feed from bank on bus to double CB at 220kV position 4 equipped with two (2) new 3000A 220kV CB’s and disconnects. Rebuild the low side at 66kV position 20, with two (2) new 3000A 66kV CB’s, disconnects/ Remove and re-install the existing 1A ground bank to the new 1A ground bank. | CET-ET-TP-RL-751800 | 901007168 | High | 2017-12-01 | 1330.6262 | 1380 | 1620 | 4330.6262 | 1330.6262 | 1380 | 1620 | 4330.6262
4956 | Big Creek #3-Springville 220-kV: Construct approx. 23 miles of new double-circuit | CET-ET-TP-RL-495601 | 800062215 | High | 2015-06-01 | 0 | 890 | 2000 | 2890 | 0 | 890 | 2000 | 2890
4956 | Rector: Equip Positions 1 & 2 220kV switchrack to terminate the new Rector-Spr | CET-ET-TP-RL-495603 | 800062646 | High | 2015-06-01 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50
4956 | Vestal: Install necessary protective relays on Rector-Vestal No. 1 and Rector-Ve | CET-ET-TP-RL-495606 | 800194054 | High | 2015-06-01 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10
4956 | SJXVL ---- ACQ / FERC San Joaquin Cross Valley | CET-RP-TP-RL-495600 | 800522916 | High | 2015-12-01 | 0 | 150 | 0 | 150 | 0 | 150 | 0 | 150
4956 | Total San Joaquin Cross Valley Rector Loop (SJXVL) |  |  |  |  | 0 | 1100 | 2000 | 3100 | 0 | 1100 | 2000 | 3100
6154 | N of Magunden : Install a 2nd set of Bushing Current Transformer's on 220kV CB #1 on position 1 | CET-ET-TP-RL-615405 | 800062630 | High | 2016-10-01 | 415.3533 | 650 | 0 | 1065.3533 | 415.3533 | 650 | 0 | 1065.3533
6154 | Vestal - Install a second set of BCT’s on 220kV CB’s #1 and 2 on position 1 | CET-ET-TP-RL-615409 | 800062682 | High | 2015-06-01 | 568.1275 | 50 | 0 | 618.1275 | 568.1275 | 50 | 0 | 618.1275
6154 | Total North of Magunden Redundant Bushing Current Transformer (BCT) Upgrades |  |  |  |  | 983.4809 | 700 | 0 | 1683.4809 | 983.4809 | 700 | 0 | 1683.4809
6415 | Mirage Sub: PHASE 2 - Replace two (2) 2000A 220kV CB's at positions 2S and 3S | CET-ET-TP-RL-641502 | 900512642 | High | 2015-06-01 | 0 | 18.369 | 0 | 18.369 | 0 | 18.369 | 0 | 18.369
6415 | Devers-Mirage #1 230kV T/L: Build 15 mil (Path 42) Double Circuit 220kV T/L | CET-ET-TP-RL-641500 | 900512643 | High | 2015-09-01 | 0 | 155.23 | 0 | 155.23 | 0 | 155.23 | 0 | 155.23
6415 | Devers Sub: PHASE 1 - Install relays, meters and logic controllers as necessary for IID's new SPS | CET-ET-TP-RL-641503 | 900566042 | High | 2015-06-01 | 432.7677 | 13.223 | 0 | 445.9907 | 432.7677 | 13.223 | 0 | 445.9907
6415 | Mirage Sub: PHASE 1 - Install relays, meters and logic controllers as necessary for IID's new SPS | CET-ET-TP-RL-641504 | 900566043 | High | 2015-06-01 | 327.4895 | 11.8 | 0 | 339.2895 | 327.4895 | 11.8 | 0 | 339.2895
6415 | Devers Substation: PHASE 2 - The Mirage No. 1 terminates at position 2N - The following upgrades will be required: Replace six (6) 220kV, 2000A Disconnects with new 4000A rated 6-220kV disconnects. Reconductor to 3000A rated position. Update relays, meters and logic controllers as necessary associated with IID's new proposed SPS. | CET-ET-TP-RL-641501 | 900512641 | High | 2015-06-01 | 0 | 19.378 | 0 | 19.378 | 0 | 19.378 | 0 | 19.378
6415 | PHASE 2 - Coachella Valley-Mirage 220kV: Reconductor SCE-owned portion of the Coachella Valley-Mirage 220kV T/L. | CET-ET-TP-RL-641505 | 900603771 | High | 2015-09-01 | 0 | 2 | 0 | 2 | 0 | 2 | 0 | 2
6415 | Total Path 42 and Devers-Mirage 230kV Upgrades |  |  |  |  | 760.2572 | 220 | 0 | 980.2572 | 760.2572 | 220 | 0 | 980.2572
7241 | Eldorado: Install (2) 500 kV CBs, (3) 500 kV gang operated disconnects and other associated equipment to terminate the 3 AA bank to the number 3 position on the Eldorado 500 kV bus | CET-ET-TP-RL-724100 | 900713966 | High | 2016-06-01 | 10355.14 | 1542 | 0 | 11897.14 | 10355.14 | 1542 | 0 | 11897.14
7248 | Ivanpah Sub: Install a dedicated 220 kV double-breaker line position on a breaker-and-a-half configuration | CET-ET-TP-RN-724802 | 900635394 | High | 2015-11-02 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10
7248 | Eldorado: Install (1) 500 kV Switchyard Operating Bus extension, (8) bus dead-end structures, (48) bus dead-end insulator assemblies. | CET-ET-TP-RN-724800 | 900692364 | High | 2015-11-02 | 0 | 8651 | 0 | 8651 | 0 | 8651 | 0 | 8651
7248 | Eldorado-Lugo: Rotate the A and C phases of the transmission line conductors | CET-ET-TP-RN-724801 | 901192486 | High | 2015-11-02 | 105.1392 | 5 | 0 | 110.1392 | 105.1392 | 5 | 0 | 110.1392
7248 | Ivanpah Sub (NU): Update the GE-N60 RAS relay settings at Ivanpah sub to receive new breaker status points from the customer's N60 relays. Install a total of three (3) new test switches on existing RAS relay racks Z57, Z59 and Z61 (one test switch per rack). Install a total of three (3) new cables from the N60 relay racks to the existing PLC (one cable per N60 rack). Wire a total of six (6) outputs from the N60 RAS relays to inputs on the PLC. Update PLC and HMI to receive new breaker status points and display them on the HMI. Update Elementary, Wiring, Logic and Point List prints at Ivanpah substation to reflect all changes. | CET-ET-TP-RN-724803 | 901134039 | High | 2015-11-02 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10
7248 | Power Systems Control (PSC) (POS NU) Eldorado RTU | CET-ET-TP-RN-724804 | 900651518 | High | 2015-11-02 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10
| Total Eldorado AA Bank |  |  |  |  | 10460.2792 | 10228 | 0 | 20688.2792 | 10460.2792 | 10228 | 0 | 20688.2792
7376 | Eldorado-Install fire mitigation for 4AA | CET-ET-TP-RL-737601 | 901024431 | High | 2016-05-01 | 328.5771 | 1440 | 0 | 1768.5771 | 328.5771 | 1440 | 0 | 1768.5771
7426 | Primm (Plan of Service Network Upgrade (POS NU)): New 220kV substation | CET-ET-TP-RN-742600 | 900635397 | High | 2015-10-19 | 0 | 1000 | 0 | 1000 | 0 | 1000 | 0 | 1000
7426 | Eldorado-Ivanpah #1 (NU): Loop into Primm | CET-ET-TP-RN-742601 | 900753368 | High | 2015-10-19 | 1383.357 | 100 | 0 | 1483.357 | 1383.357 | 100 | 0 | 1483.357
7426 | Total New 220kV Primm Substation - Network Upgrade |  |  |  |  | 1383.357 | 1100 | 0 | 2483.357 | 1383.357 | 1100 | 0 | 2483.357
7645 | Loop Kramer-Lugo 230 kV #1 & #2 lines into Victor substation | CET-ET-TP-RL-764500 | 901254013 | High | 2016-12-01 | 3964.614 | 12010.5191 | 0 | 15975.1331 | 3964.614 | 12010.5191 | 0 | 15975.1331
7645 | Lugo Sub: Perform Protection upgrade | CET-ET-TP-RL-764501 | 901254014 | High | 2017-12-01 | 5.4619 | 0 | 24.998 | 30.4599 | 5.4619 | 0 | 24.998 | 30.4599
7645 | Kramer Sub: Perform Protection upgrade | CET-ET-TP-RL-764502 | 901254015 | High | 2015-06-01 | 78.6782 | 2.16 | 0 | 80.8382 | 78.6782 | 2.16 | 0 | 80.8382
7645 | Kramer-Lugo lines: Loop into Victor Sub | CET-ET-TP-RL-764503 | 901254016 | High | 2017-12-01 | 0.33488 | 2.16 | 0 | 2.4949 | 0.33488 | 2.16 | 0 | 2.4949
7645 | Total Victor Loop-In Project |  |  |  |  | 4049.089 | 12014.8391 | 24.998 | 16088.9261 | 4049.089 | 12014.8391 | 24.998 | 16088.9261
7374 | Serrano Sub - No. 1, No. 2, and No. 3 AA banks: * Install fire walls between each transformer unit. * Modify existing berms to capture oil leaks. | CET-ET-TP-RL-737499 | 900772537 | High | 2016-12-01 | 0 | 2699 | 0 | 2699 | 0 | 2699 | 0 | 2699
7559 | Colorado River Sub (NU): Terminate the Colorado River- Black Creek 220kV T/L at Colorado River Sub: Install the following equipment for a dedicated 220kV double breaker line position on a breaker-and-a-half configuration to terminate the Colorado River-Black Creek 220kV T/L: two (2) 220kV 4000A - 50/63kA CBs, three (3) 220kV 4000A - 80kA horizontal group operated disconnect switches, one (1) 220kV 4000A - 80kA horizontal group operated disconnect switch with ground attachment, fourteen (14) 220kV bus supports with associated steel pedestals, 3B-1590 kcmil ACSR conductors. PSC: Expand the RTU at Colorado River Substation to install additional points required for the Colorado River- Black Creek 220kV Line. | CET-ET-TP-RN-755900 | 901100957 | High | 2015-05-01 | 0 | -2.901 | 0 | -2.901 | 0 | -2.901 | 0 | -2.901
7050 | Colorado River 500/220kV Substation (NU): Terminate the Colorado River- Dracker 220kV T/L at Colorado River Sub position 1 Install the following equipment for a dedicated 220kV double breaker line position on a breaker-and-a-half configuration: two (2) 220kV 4000A - 50/63kA CBs, three (3) 220kV 4000A - 80kA horizontal group operated disconnect switches, one (1) 220kV 4000A - 80kA horizontal group operated disconnect switch with ground attachment, fourteen (14) 220kV bus supports with associated steel pedestals, 3B-1590 kcmil ACSR conductors. PSC: Expand the RTU at Colorado River Substation to install additional points required for the Colorado River- Dracker 220kV Line. | CET-ET-TP-RN-705000 | 900636419 | High | 2015-06-01 | 1203.9766 | 0.342 | 0 | 1204.3186 | 1203.9766 | 0.342 | 0 | 1204.3186
7806 | Kramer Substation: Install two (2) tertiary bank reactors, 45MVAR each (1A and 2A banks) | CET-ET-TP-RL-780600 | 901580758 | High | 2016-06-01 | 314.763 | 3998.7878 | 0 | 4313.5509 | 314.763 | 3998.7878 | 0 | 4313.5509
7806 | Kramer Substation: Install One (1) 220kV, 45MVAR Bus Shunt Reactor at Pos. 1x | CET-ET-TP-RL-780601 | 901580779 | High | 2017-12-01 | 10.817 | 200 | 695 | 905.817 | 10.817 | 200 | 695 | 905.817
7806 | Total Kramer Tertiary Bank Reactors and Shunt Reactor |  |  |  |  | 325.58 | 4198.7878 | 695 | 5219.3679 | 325.58 | 4198.7878 | 695 | 5219.3679
7602 | Windhub Substation (DU): (i) Equip a 66 kV position for the Windhub-Sunspot 66 kV Line, including two (2) circuit breakers, two (2) breaker failure relays, and four (4) sets of disconnect switches. (ii) Install one (1) pair of SPS relays to add the Small Generating Facility to the existing Windhub A-bank SPS. Power System Controls (PSC): Add points to the substation automation system equipment at Windhub Substation to monitor the new Windhub-Sunspot 66 kV Line and associated circuit breakers, and relay protection status alarms. | CET-ET-TP-RN-760200 | 901189682 | High | 2016-09-01 | 545.1003 | 900 | 0 | 1445.1003 | 545.1003 | 900 | 0 | 1445.1003
7758 | REMOVE equipment associated with the Valley Direct Load Trip (VDLT) RAS at Serrano Sub | CET-ET-TP-RL-775800 | 901456682 | High | 2016-12-31 | 0 | 17.03 | 0 | 17.03 | 0 | 17.03 | 0 | 17.03
7758 | REMOVE equipment associated with the VDLT Remedial Action Scheme (RAS) at Valley Sub | CET-ET-TP-RL-775801 | 901456683 | High | 2016-12-31 | 0 | 34 | 0 | 34 | 0 | 34 | 0 | 34
7758 | Total Serrano 500/220 (T) and Valley Bulk 500/115 (T) |  |  |  |  | 0 | 51.03 | 0 | 51.03 | 0 | 51.03 | 0 | 51.03
6468 | Victor Sub: Upgrade protection and install 4 SEL-351 relays | CET-ET-TP-RL-646800 | 800063610 | High | 2016-06-01 | 656.7211 | 250 | 0 | 906.7211 | 656.7211 | 250 | 0 | 906.7211
7112 | Devers: Equip the 230 KV A-Bank positions (3 & 4) with circuit breakers | CET-ET-TP-RL-711200 | 900305114 | High | 2016-12-31 | 934.5361 | 800 | 0 | 1734.5361 | 934.5361 | 800 | 0 | 1734.5361
7116 | Villa Park: Equip the 230 KV A-Bank positions (no. 1 & 2) with circuit breakers | CET-ET-TP-RL-711600 | 900645440 | High | 2015-06-01 | 5478.2826 | 50 | 0 | 5528.2826 | 5478.2826 | 50 | 0 | 5528.2826
7466 | Big Creek 3: Build Mechanical Electrical Equipment Room (MEER) Building | CET-ET-TP-RL-746601 | 901390235 | High | 2015-09-01 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25
| Total Transmission Project Reliability |  |  |  |  | 29227.5155 | 37503.0099 | 4794.8439 | 71525.3693 | 29227.5155 | 37503.0099 | 4794.8439 | 71525.3693
Infrastructure Replacement
4211 | Replace Bulk Power Circuit Breakers | CET-ET-IR-CB-421100 |  | High | Blanket Specifics | 0 | 5278.7205 | 5875.7984 | 11154.5189 | 0 | 5278.7205 | 5875.7984 | 11154.5189
3138 | LADWP DC electrode replacement | CET-OT-OT-ME-313802 |  | High | 2017-11-01 | 4672.1124 | 10500 | 18662.5 | 33834.6124 | 4672.1124 | 10500 | 18662.5 | 33834.6124
03138 | Miscellaneous Equipment | CET-OT-OT-ME-313800 |  | High | Blanket Specifics | 0 | 95.0028 | 0 | 95.0028 | 0 | 95.0028 | 0 | 95.0028
6197 | On-line Dissolved Gas Analysis of Bulk Power Transformer Banks | CET-ET-IR-ME-619700 |  | High | Blanket Specifics | 0 | 2032.8037 | 2077.9754 | 4110.7791 | 0 | 2032.8037 | 2077.9754 | 4110.7791
4343 | Non-Bulk Relay Replacement Program ("SRRP") | CET-ET-IR-RP-434301 |  | Low | Blanket Specifics | 0 | 6001.5744 | 723.0145 | 6724.5889 | 0 | 6001.5744 | 723.0145 | 6724.5889
5089 | Bulk Power 500kV Line Relay Replacement | CET-ET-IR-RP-508900 |  | High | Blanket Specifics | 0 | 2224.2359 | 7501.8504 | 9726.0863 | 0 | 2224.2359 | 7501.8504 | 9726.0863
4756 | Substation Equipment Additions & Betterment | CET-ET-IR-ME-475600 |  | High | Blanket Specifics | 0 | 10743.5188 | 10982.2547 | 21725.7735 | 0 | 10743.5188 | 10982.2547 | 21725.7735
5210 | Substation Transformer Bank Replacement Program (AA-Bank & A-Bank) | CET-ET-IR-TB-521001 |  | High | Blanket Specifics | 0 | 31171.5946 | 15932.1353 | 47103.7299 | 0 | 31171.5946 | 15932.1353 | 47103.7299
07681 | NERC/CIP-14 (Physical Security) | CET-ET-IR-ME-768101 |  | High | 2017-12-01 | 19961.4444 | 10357.8363 | 6633.9453 | 36953.2261 | 19961.4444 | 10357.8363 | 6633.9453 | 36953.2261
07681 | NERC/CIP-14 (Physical Security) | CET-ET-IR-ME-768102 |  | High | Blanket Specifics | 0 | 0 | 743.4474 | 743.4474 | 0 | 0 | 743.4474 | 743.4474
| Total Infrastructure Replacement |  |  |  |  | 24633.5569 | 78405.2871 | 69132.9214 | 172171.7653 | 24633.5569 | 78405.2871 | 69132.9214 | 172171.7653
Grid Applications
06446 | Phasor Measurement System Installations | CET-ET-GA-EM-644600 |  | High | Blanket Specifics | 0 | 834.4903 | 939.191 | 1773.6813 | 0 | 834.4903 | 939.191 | 1773.6813
| Total Grid Apps |  |  |  |  | 0 | 834.4903 | 939.191 | 1773.6813 | 0 | 834.4903 | 939.191 | 1773.6813
PWRD Blankets
03363 | Substation Planned Maintenance Replacements | CET-PD-IR-SP-SUBSNW |  | High | Blanket Specifics | 0 | 2150.2728 | 2198.0548 | 4348.3275 | 0 | 2150.2728 | 2198.0548 | 4348.3275
03363 | Substation Unplanned Maintenance Replacements | CET-PD-BM-SU-SUBSNW |  | High | Blanket Specifics | 0 | 766.5131 | 783.5461 | 1550.0592 | 0 | 766.5131 | 783.5461 | 1550.0592
03363 | Facilities- Operational | CET-PD-OT-FO-FACOPE |  | High | Blanket Specifics | 0 | 8537.3355 | 0 | 8537.3355 | 0 | 8537.3355 | 0 | 8537.3355
03363 | Substation - Storm | CET-PD-ST-SS-SUBSNW |  | High | Blanket Specifics | 0 | 86.2968 | 88.2145 | 174.5113 | 0 | 86.2968 | 88.2145 | 174.5113
03363 | Substation Equipment Additions & Replacements |  |  |  |  | 0 | 11540.4183 | 3069.8154 | 14610.2336 | 0 | 11540.4183 | 3069.8154 | 14610.2336
03364 | Transmission Breakdown Maintenance Planned | CET-PD-IR-TP-TREAST |  | High | Blanket Specifics | 0 | 5549.3504 | 5672.6646 | 11222.015 | 0 | 5549.3504 | 5672.6646 | 11222.015
03364 | Transmission Breakdown Maintenance Unplanned | CET-PD-BM-TU-TREAST |  | High | Blanket Specifics | 0 | 551.0757 | 563.3214 | 1114.3971 | 0 | 551.0757 | 563.3214 | 1114.3971
03364 | Transmission Pole Replacement | CET-PD-IR-TR-TREAST |  | High | Blanket Specifics | 0 | 6790.3168 | 6091.7477 | 12882.0645 | 0 | 6790.3168 | 6091.7477 | 12882.0645
03364 | Pole Remediation Transmission | CET-PD-IR-PT-TREAST |  | High | Blanket Specifics | 0 | 721.9199 | 1506.2718 | 2228.1917 | 0 | 721.9199 | 1506.2718 | 2228.1917
03364 | Transmission Equipment Additions & Replacements |  |  |  |  | 0 | 13612.6629 | 13834.0054 | 27446.6683 | 0 | 13612.6629 | 13834.0054 | 27446.6683
7298 | Transmission Line Rating Remediation | CET-PD-OT-PJ-TRSJAC |  | High | Blanket Specifics | 0 | 64200.7965 | 115845.7225 | 180046.519 | 0 | 64200.7965 | 115845.7225 | 180046.519
3362 | Critical Infrastructure Spare | CET-PD-CI-CI-CRINSP |  | High | Blanket Specifics | 0 | 11779.2732 | 0 | 11779.2732 | 0 | 11779.2732 | 0 | 11779.2732
03367 | Substation Claim | CET-PD-CL-SC-SUBSNW |  | High | Blanket Specifics | 0 | 32.1256 | 32.8395 | 64.965 | 0 | 32.1256 | 32.8395 | 64.965
03367 | Transmission Claim | CET-PD-CL-TC-TREAST |  | High | Blanket Specifics | 0 | 86.3794 | 88.2989 | 174.6783 | 0 | 86.3794 | 88.2989 | 174.6783
03367 | Transmission Storm | CET-PD-ST-TS-TREAST |  | High | Blanket Specifics | 0 | 886.3518 | 906.0477 | 1792.3995 | 0 | 886.3518 | 906.0477 | 1792.3995
03367 | Transmission Storm & Claims |  |  |  |  | 0 | 1004.8568 | 1027.1861 | 2032.0428 | 0 | 1004.8568 | 1027.1861 | 2032.0428
| Total PWRD Blankets |  |  |  |  | 0 | 102138.0076 | 133776.7293 | 235914.737 | 0 | 102138.0076 | 133776.7293 | 235914.737
Total Non-Incentive Transmission Projects | [5 empty] | 85861.8223 | 229026.7358 | 211321.9852 | 526210.5432 | 85861.8223 | 229026.7358 | 211321.9852 | 526210.5432
Total Forecast Expenditures (Closing by December 2017) | [5 empty] | 85861.8223 | 68506.7871 | 32769.5888 | 187138.1982 | 85861.8223 | 68506.7871 | 32769.5888 | 187138.1982
Total Forecast Blanket Expenditures (Closing by December 2017) | [5 empty] | 0 | 160519.9486 | 178552.3964 | 339072.3451 | 0 | 160519.9486 | 178552.3964 | 339072.3451