| Program Implementer Name: | Southern California Edison |
| --- | --- |
| Program Title: | Nonresidential Standard Performance Contract Program - Procurement |
| Program Number: | 1177-04 |
| Month: | October 2004 |

- Program Status

Program Description

The Nonresidential Standard Performance Contract (SPC) program is a pay-for-performance program that offers cash incentives for custom-designed, cost effective long term annual energy saving retrofits of existing business facilities. Designed primarily for large and medium businesses, small and very small businesses can also participate if the energy efficiency measures do not qualify for the Express Efficiency program. Depending on the energy-efficiency measure installed, an itemized or calculated approach is used to estimate the energy savings and incentive. An itemized measure will be based on a pre-determined rate and no kWh savings calculation by the applicant is necessary. For all other measures not included as an itemized measure, the estimated payment will be determined by the quantity of kilowatt-hours (kWh) or therms of gas saved.

The program is offered to customers within Southern California Edison’s (SCE) service territory and is part of both the Commercial and Industrial Hardware Incentive Programs described in SCE’s Long-Term Resource Plan Testimony.

    - Budgets and Expenditures

| Budget and Expenditures | Budget | Oct-04 | % of Bdgt | Cumulative | % of Bdgt | Committed | % of Bdgt | Cumulative & Committed | % of Bdgt | Unspent |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total | $32,248,394 | $456,687 | 1% | $1,675,091 | 5% | $17,448,736 | 54% | $19,123,827 | 59% | $30,573,303 |
| Admin | $511,166 | $30,552 | 6% | $195,731 | 38% |  |  | $195,731 | 38% | $315,435 |
| Marketing | $321,000 | $4,964 | 2% | $66,992 | 21% |  |  | $66,992 | 21% | $254,008 |
| DI | $30,767,833 | $421,171 | 1% | $1,412,369 | 5% | $17,448,736 | 57% | $18,861,105 | 61% | $29,355,465 |
| EM&V | $648,395 |  |  |  |  |  |  |  |  | $648,395 |
| Financing |  |  | NA |  | NA |  | NA |  | NA |  |

Note – negative values, if any, reflect accounting adjustments made to correct errors/oversights made during previous reporting periods.

    - Energy Effects

| Energy Effects | Goals | Oct-04 | % of Goals | Cumulative | % of Goals | Committed | % of Goals | Cumulative & Committed | % of Goals | Goals Minus Cumulative |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Coinc Peak kW | 32,457 | 666 | 2% | 1,417 | 4% | 21,286 | 66% | 22,703 | 70% | 31,040 |
| Annual kWh | 223,586,424 | 4,146,661 | 2% | 9,623,791 | 4% | 143,208,993 | 64% | 152,832,784 | 68% | 213,962,633 |
| Lifecyc kWh | 3,325,171,997 | 55,026,839 | 2% | 138,027,300 | 4% | 2,083,643,616 | 63% | 2,221,670,916 | 67% | 3,187,144,698 |
| Annual Therms |  |  | NA |  | NA |  | NA |  | NA |  |
| Lifecyc Therms |  |  | NA |  | NA |  | NA |  | NA |  |

The difference in cumulative kWh savings is due to the annual adjustment of the SPC early retirement projects. For this feature, the SPC incentive is calculated for multiple years to account for the remaining years of useful life. If an applicant replaces their existing AC unit, chiller or motor before the end of its useful life, the SPC program pays for the savings achieved over those additional years.  In the workbook, since the reported savings are annual numbers, the kWh savings are adjusted to only reflect one year of savings rather than the multiple years which the program pays.  For the purposes of reporting, the workbook attributes an “average” estimated remaining useful life for packaged AC units, chillers and motors. Actual projects may deviate from this “average,” therefore actual remaining useful life results will be reconciled at year end.

    - Performance Goals

This program does not have performance goals.

  - Activities/Accomplishments

    - Administrative -

- During the month of September, 102 new applications were received and sent for review, 51 projects were approved and contracted, and 11 installation reports were approved for payment. Total active applications processed to date with Procurement funds is 436.

- Updates were made to the SCE program website including updated software links, current funding and commitment status, and additional program information.

- Program staff mailed 18 program CDs and informational materials to customers, internal staff, and other interested parties.

- Weekly team meetings were held with internal staff to review current projects, discuss new submittals, and update the application, reporting and payment processes.

- Updates are being made to the SPC Track database to track payment timelines and update the payment log.

- A pilot process has been developed in conjunction with the billing department that gives customers the choice of receiving their incentive in the form of a bill credit, rather than a bank check. The internal system has been developed, and we anticipate three or four customers to choose this payment option next month.

- Weekly conference calls were held with statewide SPC program managers from PG&E and SDG&E to discuss policy guidelines, review program guidelines to ensure statewide consistency, and discuss program updates for 2005.

- Weekly phone conferences and meetings with project reviewers and inspectors were held to discuss the status of submitted applications, resolve specific project issues and review other items as necessary to ensure timely completion of reviews.

- To track statewide incentive payments and commitments, a web-based database has been developed that tracks all statewide SPC projects. The system uses Microsoft Access 2000 and Active Server Page (ASP.NET) software to allow web-based access to current program funding and commitment levels. The system will flag instances of potential utility cap and statewide cap overruns upon data entry of new project applications. The entries are completed weekly and reports are generated weekly.

- A formal request was submitted to the CPUC on October 1, 2004 to allow the eligibility of 4th generation T8 lamps for incentives. These premium lamps are more energy efficient than traditional T8 lamps, but do not meet the current standards for lumen output. The program has several projects pending the approval and acceptance of these lamps.

    - Marketing -

None

    - Direct Implementation -

      - Audits, Site Surveys and Partnerships -

Not Applicable.

      - Direct Installations, Rebates, Equipment Maintenance and Optimization –

| Measure | Units Installed in October |
| --- | --- |
| Com. Chillers | 103,709 kWh |
| Com. Indoor Lighting Sys. Mod. | 82,918 kWh |
| Com. Indoor Lighting Sys. Repl. | 14,562 kWh |
| Com. Lighting Controls | 614,886 kWh |
| Com-Customized Process | 1,100,284 kWh |
| Variable Frequency Drives-HVAC fans | 25 hp |
| Setback Programmable Thermostats | 256 units |
| Cool Roofs | 182,569 sq. ft. |
| Screw-in Compact Fluorescent Lamp 14-26 watts | 1482 units |
| Screw in Compact Fluorescent Lamp 14-26 watts w/reflector | 684 units |
| Screw-in Compact Fluorescent Lamp >27 watts | 344 units |
| Hardwired Fluorescent Fixture 14-26 watts | 2 units |
| LED Exit Signs | 89 units |
| T-8 or T-5 Lamp and Electronic ballast - 2 foot | 5 lamps |
| T-8 or T-5 Lamp and Electronic ballast – 3 foot | 4 lamps |
| T-8 or T-5 Lamp and Electronic ballast - 4 foot | 5530 lamps |
| T-8 or T-5 Lamp and Electronic ballast - 4 foot removed | 2138 lamps |
| T-8 or T-5 Lamp and Electronic ballast – 8 foot removed | 32 lamps |
| Interior pulse start HID fixture 101-175 watts incandescent basecase | 6 fixtures |
| Interior pulse start HID fixture 176-250 watts mercury vapor basecase | 11 fixtures |
| Interior pulse start HID fixture 176-250 watts incandescent basecase | 13 fixtures |
| Exterior pulse start HID fixture 0-100 watts incandescent basecase | 2 fixtures |
| Interior HO T5 4-lamp fixture retrofit | 874 |
| Occupancy Sensor wall mounted | 28 |
| Occupancy Sensor ceiling mounted | 421 units |

      - Calculated and Actual Payment Reconciliation -

Since actual incentives payable to customers are capped at 50% of each measure cost, certain measures only receive partial incentive payments. As a result, the financial incentives to customers in Tab 1A - Expenditures Worksheet may differ from the calculated financial incentives in Tab 2A - Recorded EE Activities Worksheet.

    - EM&V

None

- Program Challenges

None

- Customer Disputes

None

- Compliance Items

None

- Coordination Activities

SPC staff coordinated with Express Efficiency staff to transfer applications between the two programs as needed. Customers often submit applications in SPC when they are eligible for Express Efficiency, and vice versa.  Procedures have been established to make for seamless coordination between the two programs.

- Changes to Subcontractors or Staffing

None

- Additional Items

In October, SCE performed a fundshift from the procurement-funded SPC program into the procurement-funded Express Efficiency Program. The shift totaled $1.4M and was transferred between the program’s incentive budgets.

Since the shifts fall within the flexibility provided in CPUC's guidelines for procurement funded programs, there is no necessary CPUC approval.  The shifts are necessary to meet growing demand for the Express Efficiency program.