## Detail Data
ProgramName | ProjectNum | Clind | ReportType | FirstOfSubmittalStatus | FirstOfStatusDate | ProjectSiteNum | End Use | MeasureName |  | AprvdSavingsKw | AprvdSavingsKwh
2003 Non-Res SPC Program | 61 | C | PIR | Approved | 2003-05-29 | 1 | Lighting | Indoor System Modifcation - Fluorescent | Indoor Lighting Sys. Mod | 81.1 | 715537
2003 Non-Res SPC Program | 78 | C | DPA | Approved | 2003-05-21 | 1 | Lighting | Indoor System Modifcation - Fluorescent | Indoor Lighting Sys. Mod | 80.6 | 401595
2003 Non-Res SPC Program | 115 | I | DPA | Approved | 2003-04-14 | 1 | Lighting | Indoor System Modifcation - Fluorescent | Indoor Lighting Sys. Mod | 76 | 468362
2003 Non-Res SPC Program | 153 | C | DPA | Approved | 2003-05-21 | 1 | Lighting | Indoor System Modifcation - Fluorescent | Indoor Lighting Sys. Mod | 5.1 | 24168
2003 Non-Res SPC Program | 195 | C | DPA | Approved | 2003-06-25 | 1 | Lighting | Indoor System Modifcation - Fluorescent | Indoor Lighting Sys. Mod | 39.3 | 178597
2003 Non-Res SPC Program | 136 | C | DPA | Approved | 2003-04-24 | 1 | Lighting | Indoor System Modifcation - HID | Indoor Lighting Sys. Mod | 52.2 | 340198
2003 Non-Res SPC Program | 101 | C | PIR | Approved | 2003-07-16 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 66.4 | 549833
2003 Non-Res SPC Program | 17 | C | DPA | Approved | 2003-02-27 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 189 | 1339561
2003 Non-Res SPC Program | 23 | C | DPA | Approved | 2003-02-24 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 25.6 | 279718
2003 Non-Res SPC Program | 24 | I | DPA | Approved | 2003-02-24 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 291.2 | 996657
2003 Non-Res SPC Program | 25 | I | DPA | Approved | 2003-02-21 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 103.6 | 822677
2003 Non-Res SPC Program | 26 | C | DPA | Approved | 2003-02-27 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 60 | 446315
2003 Non-Res SPC Program | 27 | I | DPA | Approved | 2003-02-06 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 0 | 69919
2003 Non-Res SPC Program | 28 | C | DPA | Approved | 2003-02-24 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 67.1 | 377534
2003 Non-Res SPC Program | 29 | I | DPA | Approved | 2003-02-05 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 134.1 | 1408116
2003 Non-Res SPC Program | 30 | I | DPA | Approved | 2003-02-21 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 42.3 | 235689
2003 Non-Res SPC Program | 32 | C | DPA | Approved | 2003-02-27 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 22.3 | 121281
2003 Non-Res SPC Program | 33 | I | DPA | Approved | 2003-02-27 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 78.9 | 828392
2003 Non-Res SPC Program | 37 | C | DPA | Under Review | 2003-07-28 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 0 | 2631304
2003 Non-Res SPC Program | 59 | I | DPA | Approved | 2003-02-24 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 13.3 | 93263
2003 Non-Res SPC Program | 71 | C | DPA | Approved | 2003-03-05 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 0 | 424571
2003 Non-Res SPC Program | 71 | C | DPA | Approved | 2003-03-05 | 2 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 235.6 | 1516606
2003 Non-Res SPC Program | 74 | I | DPA | Approved | 2003-03-26 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 33.9 | 249476
2003 Non-Res SPC Program | 94 | C | DPA | Approved | 2003-04-02 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 28.481 | 243388
2003 Non-Res SPC Program | 100 | I | DPA | Approved | 2003-04-04 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 15.78 | 107971
2003 Non-Res SPC Program | 102 | C | DPA | Suspended | 2003-03-28 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 113 | 509579
2003 Non-Res SPC Program | 102 | C | DPA | Suspended | 2003-03-28 | 2 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 270.9 | 850141
2003 Non-Res SPC Program | 109 | I | DPA | Approved | 2003-04-15 | 2 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 59.7 | 264334
2003 Non-Res SPC Program | 111 | C | DPA | Approved | 2003-04-25 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 42.8 | 320980
2003 Non-Res SPC Program | 112 | C | DPA | Approved | 2003-04-14 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 32.4 | 283431
2003 Non-Res SPC Program | 116 | I | DPA | Approved | 2003-05-02 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 4.1 | 21339
2003 Non-Res SPC Program | 145 | C | DPA | Approved | 2003-05-05 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 35.2 | 189864
2003 Non-Res SPC Program | 165 | C | DPA | Approved | 2003-06-11 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 71.67 | 656984
2003 Non-Res SPC Program | 183 | C | DPA | Approved | 2003-06-12 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 180 | 1214243
2003 Non-Res SPC Program | 187 | C | DPA | Approved | 2003-05-29 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 105.1 | 782625
2003 Non-Res SPC Program | 198 | C | DPA | Approved | 2003-06-30 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 38 | 183754
2003 Non-Res SPC Program | 199 | C | DPA | Approved | 2003-06-12 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 31.7 | 324319
2003 Non-Res SPC Program | 200 | C | DPA | Approved | 2003-06-25 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 54.9 | 479773
2003 Non-Res SPC Program | 212 | C | DPA | Approved | 2003-07-18 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 87.8 | 379006
2003 Non-Res SPC Program | 212 | C | DPA | Approved | 2003-07-18 | 2 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 20.5 | 61845
2003 Non-Res SPC Program | 212 | C | DPA | Approved | 2003-07-18 | 3 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 20 | 60605
2003 Non-Res SPC Program | 212 | C | DPA | Approved | 2003-07-18 | 4 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 57.3 | 362293
2003 Non-Res SPC Program | 225 | C | DPA | Approved | 2003-08-01 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 99.1 | 868160
2003 Non-Res SPC Program | 226 | C | DPA | Approved | 2003-07-31 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 6.3 | 73013
2003 Non-Res SPC Program | 227 | C | DPA | Approved | 2003-07-02 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 20.1 | 52172
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 2 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 58.9 | 514113
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 3 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 41.4 | 361749
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 4 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 41.4 | 361749
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 5 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 58.9 | 514113
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 6 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 44.1 | 391661
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 7 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 44.8 | 391661
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 8 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 58.9 | 514113
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 9 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 41.4 | 361749
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 10 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 44.8 | 391661
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 11 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 44.8 | 391661
2003 Non-Res SPC Program | 236 | C | DPA | Under Review | 2003-07-09 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 294 | 926089
2003 Non-Res SPC Program | 240 | C | DPA | Approved | 2003-06-26 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 272.7 | 506455
2003 Non-Res SPC Program | 244 | I | DPA | Approved | 2003-07-02 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 23 | 204353
2003 Non-Res SPC Program | 262 | C | DPA | Approved | 2003-07-29 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 146.4 | 735984
2003 Non-Res SPC Program | 264 | I | DPA | Approved | 2003-07-24 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 77 | 398371
2003 Non-Res SPC Program | 267 | C | DPA | Under Review | 2003-06-25 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 318.6 | 648405
2003 Non-Res SPC Program | 268 | C | DPA | Under Review | 2003-06-24 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 746 | 3176958
2003 Non-Res SPC Program | 269 | C | DPA | Approved | 2003-07-17 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 152 | 1091461
2003 Non-Res SPC Program | 271 | C | DPA | On-Hold | 2003-07-11 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 32 | 119983
2003 Non-Res SPC Program | 288 | I | DPA | On-Hold | 2003-07-15 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 315.9 | 2816997
2003 Non-Res SPC Program | 290 | C | DPA | On-Hold | 2003-07-23 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 0 | 26012
2003 Non-Res SPC Program | 295 | C | DPA | Approved | 2003-07-24 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 58.4 | 262755
2003 Non-Res SPC Program | 295 | C | DPA | Approved | 2003-07-24 | 2 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 58.4 | 262755
2003 Non-Res SPC Program | 295 | C | DPA | Approved | 2003-07-24 | 3 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 58.4 | 262755
2003 Non-Res SPC Program | 304 | C | DPA | On-Hold | 2003-07-16 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 153 | 678063
2003 Non-Res SPC Program | 308 | C | DPA | On-Hold | 2003-07-22 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 95 | 873949
2003 Non-Res SPC Program | 309 | I | DPA | Under Review | 2003-07-11 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 0 | 93295
2003 Non-Res SPC Program | 321 | C | DPA | On-Hold | 2003-07-29 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 16.9 | 43297
2003 Non-Res SPC Program | 322 | C | DPA | Under Review | 2003-07-11 | 1 | Lighting | Indoor System Replacement - Fluorescent | Indoor Lighting Sys. Repl. | 26 | 196447
2003 Non-Res SPC Program | 70 | C | DPA | Approved | 2003-02-24 | 1 | Lighting | Indoor System Replacement - HID | Indoor Lighting Sys. Repl. | 36.8 | 117686
2003 Non-Res SPC Program | 131 | C | DPA | Approved | 2003-04-08 | 1 | Lighting | Indoor System Replacement - HID | Indoor Lighting Sys. Repl. | 76.4 | 571963
2003 Non-Res SPC Program | 151 | C | DPA | Approved | 2003-05-05 | 1 | Lighting | Indoor System Replacement - HID | Indoor Lighting Sys. Repl. | 126 | 1076480
2003 Non-Res SPC Program | 160 | C | DPA | Approved | 2003-05-02 | 1 | Lighting | Indoor System Replacement - HID | Indoor Lighting Sys. Repl. | 11.3 | 74929
2003 Non-Res SPC Program | 161 | C | DPA | Approved | 2003-05-02 | 1 | Lighting | Indoor System Replacement - HID | Indoor Lighting Sys. Repl. | 13.02 | 89369
2003 Non-Res SPC Program | 227 | C | DPA | Approved | 2003-07-02 | 1 | Lighting | Indoor System Replacement - HID | Indoor Lighting Sys. Repl. | 284.7 | 908819
2003 Non-Res SPC Program | 234 | C | DPA | Approved | 2003-06-30 | 1 | Lighting | Indoor System Replacement - HID | Indoor Lighting Sys. Repl. | 44.8 | 391661
2003 Non-Res SPC Program | 35 | C | PIR | Approved | 2003-05-01 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 10.5 | 69817
2003 Non-Res SPC Program | 90 | C | PIR | Approved | 2003-07-10 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 44676
2003 Non-Res SPC Program | 28 | C | DPA | Approved | 2003-02-24 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 57985
2003 Non-Res SPC Program | 30 | I | DPA | Approved | 2003-02-21 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 64700
2003 Non-Res SPC Program | 43 | C | DPA | Approved | 2003-06-11 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 72004
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 13 | 52168
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 2 | Lighting | Lighting Controls- EMS | Lighting Controls | 9.7 | 27062
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 4 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 67783
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 5 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 31842
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 6 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 15874
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 7 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 45871
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 8 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 45311
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 9 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 37527
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 10 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 40789
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 14 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 42443
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 16 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 27550
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 17 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 43479
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 18 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 35766
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 19 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 41409
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 20 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 43216
2003 Non-Res SPC Program | 59 | I | DPA | Approved | 2003-02-24 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 43630
2003 Non-Res SPC Program | 70 | C | DPA | Approved | 2003-02-24 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 29421
2003 Non-Res SPC Program | 72 | C | DPA | Approved | 2003-03-17 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 73.6 | 104201
2003 Non-Res SPC Program | 75 | I | DPA | Approved | 2003-05-15 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 355888
2003 Non-Res SPC Program | 78 | C | DPA | Approved | 2003-05-21 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 31643
2003 Non-Res SPC Program | 93 | C | DPA | Approved | 2003-04-04 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 102 | 875319
2003 Non-Res SPC Program | 94 | C | DPA | Approved | 2003-04-02 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 66070
2003 Non-Res SPC Program | 102 | C | DPA | Suspended | 2003-03-28 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 72999
2003 Non-Res SPC Program | 102 | C | DPA | Suspended | 2003-03-28 | 2 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 467730
2003 Non-Res SPC Program | 116 | I | DPA | Approved | 2003-05-02 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 8297
2003 Non-Res SPC Program | 123 | C | DPA | Approved | 2003-04-08 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 163.8 | 280098
2003 Non-Res SPC Program | 135 | C | DPA | Approved | 2003-04-23 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 39.4 | 255672
2003 Non-Res SPC Program | 137 | C | DPA | Approved | 2003-04-24 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 45.7 | 299186
2003 Non-Res SPC Program | 138 | C | DPA | Approved | 2003-04-24 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 47 | 309592
2003 Non-Res SPC Program | 141 | I | DPA | Approved | 2003-05-06 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 546.5 | 2038116
2003 Non-Res SPC Program | 143 | C | DPA | Approved | 2003-04-23 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 108 | 629073
2003 Non-Res SPC Program | 153 | C | DPA | Approved | 2003-05-21 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 5289
2003 Non-Res SPC Program | 155 | C | DPA | On-Hold | 2003-04-09 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 91329
2003 Non-Res SPC Program | 157 | C | DPA | Approved | 2003-05-22 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 99 | 432101
2003 Non-Res SPC Program | 159 | C | DPA | Under Review | 2003-04-22 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 372280
2003 Non-Res SPC Program | 185 | C | DPA | Approved | 2003-05-29 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 45 | 289995
2003 Non-Res SPC Program | 193 | C | DPA | Approved | 2003-06-11 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 5 | 21485
2003 Non-Res SPC Program | 194 | C | DPA | Approved | 2003-06-11 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 78595
2003 Non-Res SPC Program | 198 | C | DPA | Approved | 2003-06-30 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 64059
2003 Non-Res SPC Program | 200 | C | DPA | Approved | 2003-06-25 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 75191
2003 Non-Res SPC Program | 215 | C | DPA | Approved | 2003-07-02 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 5263
2003 Non-Res SPC Program | 222 | C | DPA | Approved | 2003-06-23 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 67 | 727696
2003 Non-Res SPC Program | 225 | C | DPA | Approved | 2003-08-01 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 144847
2003 Non-Res SPC Program | 226 | C | DPA | Approved | 2003-07-31 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 17781
2003 Non-Res SPC Program | 233 | C | DPA | On-Hold | 2003-07-10 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 23.1 | 172465
2003 Non-Res SPC Program | 243 | I | DPA | Approved | 2003-07-14 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 133.4 | 1257091
2003 Non-Res SPC Program | 244 | I | DPA | Approved | 2003-07-02 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 105980
2003 Non-Res SPC Program | 247 | C | DPA | Approved | 2003-07-09 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 21839
2003 Non-Res SPC Program | 253 | C | DPA | Under Review | 2003-06-17 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 134 | 1171000
2003 Non-Res SPC Program | 281 | C | DPA | Under Review | 2003-07-03 | 2 | Lighting | Lighting Controls- EMS | Lighting Controls | 150.4 | 843313
2003 Non-Res SPC Program | 322 | C | DPA | Under Review | 2003-07-11 | 1 | Lighting | Lighting Controls- EMS | Lighting Controls | 0 | 107182
2003 Non-Res SPC Program | 24 | I | DPA | Approved | 2003-02-24 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 1365663
2003 Non-Res SPC Program | 26 | C | DPA | Approved | 2003-02-27 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 593544
2003 Non-Res SPC Program | 32 | C | DPA | Approved | 2003-02-27 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 132447
2003 Non-Res SPC Program | 59 | I | DPA | Approved | 2003-02-24 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 125475
2003 Non-Res SPC Program | 72 | C | DPA | Approved | 2003-03-17 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 461181
2003 Non-Res SPC Program | 111 | C | DPA | Approved | 2003-04-25 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 60161
2003 Non-Res SPC Program | 112 | C | DPA | Approved | 2003-04-14 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 49210
2003 Non-Res SPC Program | 118 | C | DPA | Approved | 2003-05-30 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 48.5 | 423451
2003 Non-Res SPC Program | 131 | C | DPA | Approved | 2003-04-08 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 264231
2003 Non-Res SPC Program | 151 | C | DPA | Approved | 2003-05-05 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 496269
2003 Non-Res SPC Program | 160 | C | DPA | Approved | 2003-05-02 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 23.7 | 156779
2003 Non-Res SPC Program | 161 | C | DPA | Approved | 2003-05-02 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 22.75 | 156156
2003 Non-Res SPC Program | 165 | C | DPA | Approved | 2003-06-11 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 30.27 | 215890
2003 Non-Res SPC Program | 284 | C | DPA | Approved | 2003-07-22 | 1 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 17962
2003 Non-Res SPC Program | 284 | C | DPA | Approved | 2003-07-22 | 2 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 17962
2003 Non-Res SPC Program | 284 | C | DPA | Approved | 2003-07-22 | 3 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 17962
2003 Non-Res SPC Program | 284 | C | DPA | Approved | 2003-07-22 | 4 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 17962
2003 Non-Res SPC Program | 284 | C | DPA | Approved | 2003-07-22 | 5 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 17962
2003 Non-Res SPC Program | 284 | C | DPA | Approved | 2003-07-22 | 6 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 17962
2003 Non-Res SPC Program | 284 | C | DPA | Approved | 2003-07-22 | 7 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 17962
2003 Non-Res SPC Program | 284 | C | DPA | Approved | 2003-07-22 | 8 | Lighting | Occupancy Sensors | Lighting Controls | 0 | 17962
2003 Non-Res SPC Program | 167 | C | PIR | Approved | 2003-07-28 | 1 | Lighting | Photocell | Lighting Controls | 0 | 11731
2003 Non-Res SPC Program | 221 | C | DPA | Approved | 2003-06-19 | 1 | Lighting | Photocell | Lighting Controls | 0 | 97873
2003 Non-Res SPC Program | 229 | C | DPA | Approved | 2003-06-26 | 1 | Lighting | Timing Device | Lighting Controls | 0 | 25910
2003 Non-Res SPC Program | 153 | C | DPA | Approved | 2003-05-21 | 1 | Lighting | Twist Timer | Lighting Controls | 0 | 3924
2003 Non-Res SPC Program | 73 | C | DPA | Approved | 2003-03-17 | 1 | Lighting | Outdoor System Replacement | Outdoor Lighting Sys. Repl | 18 | 155920
2003 Non-Res SPC Program | 158 | C | PIR | Under Review | 2003-07-24 | 1 | Lighting | Outdoor System Replacement | Outdoor Lighting Sys. Repl | 0 | 135012
2003 Non-Res SPC Program | 167 | C | PIR | Approved | 2003-07-28 | 1 | Lighting | Outdoor System Replacement | Outdoor Lighting Sys. Repl | 10 | 68344
2003 Non-Res SPC Program | 221 | C | DPA | Approved | 2003-06-19 | 1 | Lighting | Outdoor System Replacement | Outdoor Lighting Sys. Repl | 101.8 | 502823
[10 empty] | 9079.671 | 61983387
2003 Non-Res SPC Program | 110 | C | PIR | Under Review | 2003-07-28 | 1 | Space Cooling | <75 Ton Chiller | Chillers | 0 | 122845
2003 Non-Res SPC Program | 133 | I | DPA | Approved | 2003-06-13 | 1 | Space Cooling | <75 Ton Chiller | Chillers | 54 | 112128
2003 Non-Res SPC Program | 140 | C | DPA | Under Review | 2003-08-01 | 1 | Space Cooling | <75 Ton Chiller | Chillers | 19.6 | 35508
2003 Non-Res SPC Program | 191 | C | DPA | Approved | 2003-05-30 | 1 | Space Cooling | <75 Ton Chiller | Chillers | 85.7 | 638122
2003 Non-Res SPC Program | 195 | C | DPA | Approved | 2003-06-25 | 1 | Space Cooling | <75 Ton Chiller | Chillers | 37.2 | 74473
2003 Non-Res SPC Program | 272 | C | DPA | On-Hold | 2003-07-23 | 1 | Space Cooling | <75 Ton Chiller | Chillers | 0 | 3219652
2003 Non-Res SPC Program | 12 | C | DPA | Approved | 2003-03-17 | 1 | Space Cooling | 200-600 Ton Chiller | Chillers | 0 | 118935
2003 Non-Res SPC Program | 53 | C | DPA | Approved | 2003-02-14 | 1 | Space Cooling | 200-600 Ton Chiller | Chillers | 0 | 229762
2003 Non-Res SPC Program | 60 | C | DPA | Suspended | 2003-02-03 | 1 | Space Cooling | 200-600 Ton Chiller | Chillers | 684.8 | 364007
2003 Non-Res SPC Program | 174 | C | DPA | Approved | 2003-05-15 | 1 | Space Cooling | 200-600 Ton Chiller | Chillers | 23 | 50827
2003 Non-Res SPC Program | 252 | I | DPA | Approved | 2003-07-31 | 1 | Space Cooling | 200-600 Ton Chiller | Chillers | 37.4 | 32117
2003 Non-Res SPC Program | 283 | C | DPA | On-Hold | 2003-07-17 | 1 | Space Cooling | 600-2000 Ton Chiller | Chillers | 167 | 926875
2003 Non-Res SPC Program | 11 | C | DPA | Approved | 2003-03-08 | 1 | Space Cooling | 75-200 Ton Chiller | Chillers | 45 | 346750
2003 Non-Res SPC Program | 182 | C | DPA | Approved | 2003-06-04 | 1 | Refrigeration | Adjustable Speed Drives- Refrigeration | Customized- Space Conditioning | 12.2 | 204431
2003 Non-Res SPC Program | 93 | C | DPA | Approved | 2003-04-04 | 1 | Space Cooling | Chiller Water Controls | Customized- Space Conditioning | 0 | 342526
2003 Non-Res SPC Program | 119 | C | DPA | Approved | 2003-05-05 | 1 | Space Cooling | Condensed Coil - Water | Customized- Space Conditioning | 118.4 | 769114
2003 Non-Res SPC Program | 242 | I | DPA | Suspended | 2003-07-21 | 1 | Space Cooling | Cooling Tower (Space Conditioning) | Customized- Space Conditioning | 0 | 314672
2003 Non-Res SPC Program | 102 | C | DPA | Suspended | 2003-03-28 | 1 | Space Cooling | Heat Recovery Equipment (Space Conditioning) | Customized- Space Conditioning | 0 | 3679
2003 Non-Res SPC Program | 40 | C | DPA | Approved | 2003-04-07 | 1 | Space Cooling | Motors Project (HVAC) | Customized- Space Conditioning | 0 | 213750
2003 Non-Res SPC Program | 102 | C | DPA | Suspended | 2003-03-28 | 1 | Space Cooling | Motors Project (HVAC) | Customized- Space Conditioning | 2 | 27767
2003 Non-Res SPC Program | 146 | C | DPA | Approved | 2003-07-02 | 1 | Space Cooling | Motors Project (HVAC) | Customized- Space Conditioning | 30.4 | 103381
2003 Non-Res SPC Program | 179 | C | DPA | Approved | 2003-05-29 | 1 | Space Cooling | Motors Project (HVAC) | Customized- Space Conditioning | 5.7 | 29059
2003 Non-Res SPC Program | 285 | C | DPA | On-Hold | 2003-07-23 | 1 | Space Cooling | Motors Project (HVAC) | Customized- Space Conditioning | 5.4 | 47624
2003 Non-Res SPC Program | 36 | C | DPA | Under Review | 2003-07-25 | 1 | Space Cooling | Motors Project (HVAC) | Customized- Space Conditioning | 400 | 4388703
2003 Non-Res SPC Program | 13 | I | DPA | Approved | 2003-04-01 | 1 | Space Cooling | Precooling Equipment | Customized- Space Conditioning | 0 | 268000
2003 Non-Res SPC Program | 176 | C | DPA | Under Review | 2003-07-30 | 1 | Space Cooling | Precooling Equipment | Customized- Space Conditioning | 77 | 554331
2003 Non-Res SPC Program | 195 | C | DPA | Approved | 2003-06-25 | 1 | Space Cooling | Precooling Equipment | Customized- Space Conditioning | 12.8 | 83771
2003 Non-Res SPC Program | 90 | C | PIR | Approved | 2003-07-10 | 1 | Space Cooling | EMS (Space Conditioning) | EMS (Space Conditioning) | 0 | 632020
2003 Non-Res SPC Program | 40 | C | DPA | Approved | 2003-04-07 | 1 | Space Cooling | EMS (Space Conditioning) | EMS (Space Conditioning) | 0 | 416400
2003 Non-Res SPC Program | 215 | C | DPA | Approved | 2003-07-02 | 1 | Space Cooling | EMS (Space Conditioning) | EMS (Space Conditioning) | 158 | 699930
2003 Non-Res SPC Program | 247 | C | DPA | Approved | 2003-07-09 | 1 | Space Cooling | EMS (Space Conditioning) | EMS (Space Conditioning) | 0 | 55703
2003 Non-Res SPC Program | 147 | C | PIR | Approved | 2003-07-02 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 8.5 | 15781
2003 Non-Res SPC Program | 7 | C | DPA | Approved | 2003-04-30 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 0 | 321745
2003 Non-Res SPC Program | 92 | C | DPA | Approved | 2003-03-28 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 5.2 | 22472
2003 Non-Res SPC Program | 97 | C | DPA | Approved | 2003-05-02 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 116 | 987736
2003 Non-Res SPC Program | 102 | C | DPA | Suspended | 2003-03-28 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 11 | 71331
2003 Non-Res SPC Program | 102 | C | DPA | Suspended | 2003-03-28 | 2 | Space Cooling | Package Units Replacement | Package Units Replacement | 6.3 | 24532
2003 Non-Res SPC Program | 125 | C | DPA | Suspended | 2003-06-23 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 55.3 | 134305
2003 Non-Res SPC Program | 142 | I | DPA | Approved | 2003-05-01 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 19.5 | 32598
2003 Non-Res SPC Program | 144 | C | DPA | Approved | 2003-04-25 | 3 | Space Cooling | Package Units Replacement | Package Units Replacement | 10 | 16923
2003 Non-Res SPC Program | 163 | C | DPA | Approved | 2003-05-05 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 4.5 | 18928
2003 Non-Res SPC Program | 166 | C | DPA | Approved | 2003-05-19 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 6.5 | 10822
2003 Non-Res SPC Program | 186 | C | DPA | Approved | 2003-06-04 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 3.7 | 7914
2003 Non-Res SPC Program | 194 | C | DPA | Approved | 2003-06-11 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 0 | 583991
2003 Non-Res SPC Program | 196 | C | DPA | Approved | 2003-06-30 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 0 | 46244
2003 Non-Res SPC Program | 239 | C | DPA | Suspended | 2003-07-09 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 7 | 7897
2003 Non-Res SPC Program | 249 | C | DPA | On-Hold | 2003-06-20 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 38 | 232000
2003 Non-Res SPC Program | 252 | I | DPA | Approved | 2003-07-31 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 7.3 | 7809
2003 Non-Res SPC Program | 253 | C | DPA | Under Review | 2003-06-17 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 100 | 360000
2003 Non-Res SPC Program | 258 | C | DPA | Suspended | 2003-07-17 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 61 | 355519
2003 Non-Res SPC Program | 270 | I | DPA | Approved | 2003-07-28 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 3.1 | 4505
2003 Non-Res SPC Program | 271 | C | DPA | On-Hold | 2003-07-11 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 30 | 75600
2003 Non-Res SPC Program | 281 | C | DPA | Under Review | 2003-07-03 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 100 | 838854
2003 Non-Res SPC Program | 289 | C | DPA | Approved | 2003-07-31 | 1 | Space Cooling | Package Units Replacement | Package Units Replacement | 20.2 | 176683
2003 Non-Res SPC Program | 289 | C | DPA | Approved | 2003-07-31 | 2 | Space Cooling | Package Units Replacement | Package Units Replacement | 20.2 | 176683
2003 Non-Res SPC Program | 289 | C | DPA | Approved | 2003-07-31 | 3 | Space Cooling | Package Units Replacement | Package Units Replacement | 20.2 | 176683
2003 Non-Res SPC Program | 289 | C | DPA | Approved | 2003-07-31 | 4 | Space Cooling | Package Units Replacement | Package Units Replacement | 20.2 | 176683
2003 Non-Res SPC Program | 289 | C | DPA | Approved | 2003-07-31 | 5 | Space Cooling | Package Units Replacement | Package Units Replacement | 20.2 | 176683
2003 Non-Res SPC Program | 289 | C | DPA | Approved | 2003-07-31 | 6 | Space Cooling | Package Units Replacement | Package Units Replacement | 26.4 | 231167
2003 Non-Res SPC Program | 289 | C | DPA | Approved | 2003-07-31 | 7 | Space Cooling | Package Units Replacement | Package Units Replacement | 26.4 | 231167
2003 Non-Res SPC Program | 289 | C | DPA | Approved | 2003-07-31 | 8 | Space Cooling | Package Units Replacement | Package Units Replacement | 26.4 | 231167
2003 Non-Res SPC Program | 289 | C | DPA | Approved | 2003-07-31 | 9 | Space Cooling | Package Units Replacement | Package Units Replacement | 19 | 54484
2003 Non-Res SPC Program | 289 | C | DPA | Approved | 2003-07-31 | 10 | Space Cooling | Package Units Replacement | Package Units Replacement | 16.2 | 231167
[10 empty] | 2783.9 | 21466935
2003 Non-Res SPC Program | 75 | I | DPA | Approved | 2003-05-15 | 1 | Process | Adjustable Speed Drive | Adj. Speed Drive | 550 | 1362495
2003 Non-Res SPC Program | 85 | I | DPA | Approved | 2003-02-21 | 1 | Process | Variable Speed Drives | Adj. Speed Drive | 0 | 203788
2003 Non-Res SPC Program | 100 | I | DPA | Approved | 2003-04-04 | 1 | Process | Variable Speed Drives | Adj. Speed Drive | 0 | 171315
2003 Non-Res SPC Program | 204 | A | DPA | Approved | 2003-06-04 | 1 | Process | Variable Speed Drives | Adj. Speed Drive | 3.3 | 20786
2003 Non-Res SPC Program | 216 | I | DPA | Approved | 2003-07-02 | 1 | Process | Variable Speed Drives | Adj. Speed Drive | 33 | 720882
2003 Non-Res SPC Program | 232 | A | DPA | Approved | 2003-07-31 | 1 | Process | Variable Speed Drives | Adj. Speed Drive | 23.9 | 191917
2003 Non-Res SPC Program | 250 | A | DPA | Approved | 2003-06-26 | 1 | Process | Adjustable Speed Drive | Adj. Speed Drive | 0 | 79098
2003 Non-Res SPC Program | 264 | I | DPA | Approved | 2003-07-24 | 1 | Process | Variable Speed Drives | Adj. Speed Drive | 0 | 1028609
2003 Non-Res SPC Program | 276 | I | DPA | Under Review | 2003-07-01 | 1 | Process | Adjustable Speed Drive | Adj. Speed Drive | 0 | 395591
2003 Non-Res SPC Program | 274 | A | DPA | Approved | 2003-07-31 | 1 | Process | Cooling Tower | Cooling Tower | 33 | 101518
2003 Non-Res SPC Program | 79 | C | PIR | Approved | 2003-05-07 | 1 | Process | Injection Molding | Customized- Process | 127.9 | 929633
2003 Non-Res SPC Program | 57 | C | PIR | Approved | 2003-04-09 | 1 | Process | Injection Molding | Customized- Process | 76 | 434210
2003 Non-Res SPC Program | 66 | C | PIR | Approved | 2003-05-01 | 1 | Process | Injection Molding | Customized- Process | 12 | 255755
2003 Non-Res SPC Program | 18 | C | PIR | Approved | 2003-05-07 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 222406
2003 Non-Res SPC Program | 62 | C | PIR | Approved | 2003-07-02 | 1 | Process | Injection Molding | Customized- Process | 14.5 | 100572
2003 Non-Res SPC Program | 18 | C | PIR | Approved | 2003-05-07 | 1 | Process | Motors Project (Process) | Customized- Process | 5.7 | 31069
2003 Non-Res SPC Program | 173 | C | PIR | Approved | 2003-07-02 | 1 | Process | Motors Project (Process) | Customized- Process | 1.1 | 7097
2003 Non-Res SPC Program | 75 | I | DPA | Approved | 2003-05-15 | 1 | Other | Controls | Customized- Process | 0 | 1792808
2003 Non-Res SPC Program | 220 | C | DPA | Approved | 2003-06-25 | 1 | Other | Controls | Customized- Process | 0 | 185575
2003 Non-Res SPC Program | 236 | C | DPA | Under Review | 2003-07-09 | 1 | Other | Controls | Customized- Process | 69 | 603564
2003 Non-Res SPC Program | 268 | C | DPA | Under Review | 2003-06-24 | 1 | Other | Controls | Customized- Process | 0 | 314204
2003 Non-Res SPC Program | 278 | C | DPA | Approved | 2003-07-21 | 1 | Other | Controls | Customized- Process | 137.5 | 928069
2003 Non-Res SPC Program | 290 | C | DPA | On-Hold | 2003-07-23 | 1 | Other | Controls | Customized- Process | 0 | 227039
2003 Non-Res SPC Program | 40 | C | DPA | Approved | 2003-04-07 | 1 | Other | Equipment | Customized- Process | 0 | 145200
2003 Non-Res SPC Program | 46 | C | DPA | Approved | 2003-02-06 | 1 | Other | Pumping System Controls | Customized- Process | 27.7 | 242971
2003 Non-Res SPC Program | 76 | C | PIR | Under Review | 2003-07-15 | 1 | Other | Equipment | Customized- Process | 42.4 | 250949
2003 Non-Res SPC Program | 109 | C | DPA | Approved | 2003-04-15 | 1 | Other | Timeclock | Customized- Process | 0 | 72853
2003 Non-Res SPC Program | 148 | C | DPA | Suspended | 2003-05-30 | 1 | Other | Pumping System Controls | Customized- Process | 839 | 6502694
2003 Non-Res SPC Program | 148 | C | DPA | Suspended | 2003-05-30 | 2 | Other | Pumping System Controls | Customized- Process | 851 | 4334187
2003 Non-Res SPC Program | 156 | C | DPA | Approved | 2003-05-22 | 1 | Other | Equipment | Customized- Process | 4 | 64650
2003 Non-Res SPC Program | 166 | C | DPA | Approved | 2003-05-19 | 1 | Other | Equipment | Customized- Process | 3.7 | 32587
2003 Non-Res SPC Program | 170 | C | DPA | Approved | 2003-07-15 | 1 | Other | Pumping System Controls | Customized- Process | 412.9 | 3615802
2003 Non-Res SPC Program | 188 | C | DPA | Approved | 2003-06-04 | 1 | Other | Equipment | Customized- Process | 12.4 | 47594
2003 Non-Res SPC Program | 230 | C | DPA | Approved | 2003-06-23 | 1 | Other | Process Cooling Controls | Customized- Process | 10 | 31297
2003 Non-Res SPC Program | 246 | C | DPA | Under Review | 2003-06-10 | 1 | Other | Equipment | Customized- Process | 23.5 | 153705
2003 Non-Res SPC Program | 264 | I | DPA | Approved | 2003-07-24 | 1 | Other | Timeclock | Customized- Process | 0 | 625437
2003 Non-Res SPC Program | 34 | C | DPA | Approved | 2003-02-24 | 1 | Process | Air Compressor System | Customized- Process | 10.27 | 64085
2003 Non-Res SPC Program | 37 | C | DPA | Under Review | 2003-07-28 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 647999
2003 Non-Res SPC Program | 39 | C | DPA | Suspended | 2003-03-17 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 334855
2003 Non-Res SPC Program | 40 | C | DPA | Approved | 2003-04-07 | 1 | Process | Adjustable Speed Drive | Customized- Process | 0 | 47134
2003 Non-Res SPC Program | 48 | C | PIR | Approved | 2003-07-02 | 1 | Process | Adjustable Speed Drive | Customized- Process | 80.1 | 564240
2003 Non-Res SPC Program | 59 | C | DPA | Approved | 2003-02-24 | 1 | Process | Air Compressor System | Customized- Process | 0 | 19381
2003 Non-Res SPC Program | 60 | C | DPA | Suspended | 2003-02-03 | 1 | Process | Injection Molding | Customized- Process | 664 | 398260
2003 Non-Res SPC Program | 60 | C | DPA | Suspended | 2003-02-03 | 1 | Process | Variable Speed Drives | Customized- Process | 1271 | 762174
2003 Non-Res SPC Program | 63 | C | PIR | Approved | 2003-07-02 | 1 | Process | Injection Molding | Customized- Process | 0 | 201143
2003 Non-Res SPC Program | 64 | C | DPA | Approved | 2003-03-03 | 1 | Process | Injection Molding | Customized- Process | 10.9 | 68572
2003 Non-Res SPC Program | 65 | C | DPA | Approved | 2003-03-03 | 1 | Process | Motors Project (Process) | Customized- Process | 43.5 | 274285
2003 Non-Res SPC Program | 67 | C | DPA | Approved | 2003-03-03 | 1 | Process | Injection Molding | Customized- Process | 32.3 | 188898
2003 Non-Res SPC Program | 68 | C | DPA | Approved | 2003-03-03 | 1 | Process | Injection Molding | Customized- Process | 32.3 | 188898
2003 Non-Res SPC Program | 69 | C | DPA | Approved | 2003-03-03 | 1 | Process | Injection Molding | Customized- Process | 36.8 | 215429
2003 Non-Res SPC Program | 74 | C | DPA | Approved | 2003-03-26 | 1 | Process | Air Compressor - VSD | Customized- Process | 144.9 | 1271324
2003 Non-Res SPC Program | 75 | I | DPA | Approved | 2003-05-15 | 1 | Process | Air Compressor System | Customized- Process | 1138 | 348906
2003 Non-Res SPC Program | 80 | C | DPA | Approved | 2003-02-26 | 1 | Process | Injection Molding | Customized- Process | 33.1 | 185926
2003 Non-Res SPC Program | 81 | C | DPA | Approved | 2003-02-26 | 1 | Process | Injection Molding | Customized- Process | 24.8 | 139445
2003 Non-Res SPC Program | 83 | C | DPA | Approved | 2003-04-08 | 1 | Process | Air Compressor - VSD | Customized- Process | 35.75 | 181851
2003 Non-Res SPC Program | 84 | C | PIR | Under Review | 2003-07-15 | 1 | Process | Air Compressor System | Customized- Process | 29.5 | 187142
2003 Non-Res SPC Program | 92 | C | DPA | Approved | 2003-03-28 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 163659
2003 Non-Res SPC Program | 93 | C | DPA | Approved | 2003-04-04 | 1 | Process | Air Cooled, Single System Heat Pump | Customized- Process | 0 | 70690
2003 Non-Res SPC Program | 95 | C | DPA | Approved | 2003-05-07 | 1 | Process | Variable Speed Drives | Customized- Process | 153 | 398561
2003 Non-Res SPC Program | 96 | C | DPA | Approved | 2003-04-07 | 1 | Process | Injection Molding | Customized- Process | 355.2 | 1860314
2003 Non-Res SPC Program | 103 | C | DPA | Approved | 2003-03-31 | 1 | Process | Motors Project (Process) | Customized- Process | 41.7 | 365446
2003 Non-Res SPC Program | 104 | C | DPA | Approved | 2003-04-07 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 313684
2003 Non-Res SPC Program | 105 | C | DPA | Under Review | 2003-03-07 | 1 | Process | Motors Project (Process) | Customized- Process | 29.1 | 857250
2003 Non-Res SPC Program | 106 | C | DPA | Suspended | 2003-03-26 | 1 | Process | Air Compressor System | Customized- Process | 75 | 308098
2003 Non-Res SPC Program | 107 | C | DPA | Approved | 2003-05-15 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 422218
2003 Non-Res SPC Program | 108 | C | DPA | Approved | 2003-06-02 | 2 | Process | Motors Project (Process) | Customized- Process | 2.24 | 235710
2003 Non-Res SPC Program | 108 | C | DPA | Approved | 2003-06-02 | 4 | Process | Motors Project (Process) | Customized- Process | 0 | 53599
2003 Non-Res SPC Program | 115 | C | DPA | Approved | 2003-04-14 | 1 | Process | Air Compressor System | Customized- Process | 47 | 57801
2003 Non-Res SPC Program | 117 | C | DPA | Approved | 2003-04-08 | 1 | Process | Variable Speed Drives | Customized- Process | 76.6 | 472666
2003 Non-Res SPC Program | 121 | C | DPA | On-Hold | 2003-04-04 | 1 | Process | Injection Molding | Customized- Process | 65.7 | 367086
2003 Non-Res SPC Program | 125 | C | DPA | Suspended | 2003-06-23 | 1 | Process | Cooling Tower | Customized- Process | 1 | 37996
2003 Non-Res SPC Program | 126 | C | DPA | Approved | 2003-05-02 | 1 | Process | Air Compressor System | Customized- Process | 52.2 | 372611
2003 Non-Res SPC Program | 127 | C | DPA | Approved | 2003-04-14 | 1 | Process | Motors Project (Process) | Customized- Process | 5.5 | 3965494
2003 Non-Res SPC Program | 130 | C | DPA | Approved | 2003-04-07 | 1 | Process | Motors Project (Process) | Customized- Process | 2.2 | 16000
2003 Non-Res SPC Program | 132 | C | DPA | Approved | 2003-04-25 | 1 | Process | Variable Speed Drives | Customized- Process | 22.6 | 93907
2003 Non-Res SPC Program | 145 | C | DPA | Approved | 2003-05-05 | 1 | Process | Motors Project (Process) | Customized- Process | 6.8 | 28802
2003 Non-Res SPC Program | 149 | C | DPA | Suspended | 2003-04-25 | 1 | Process | Motors Project (Process) | Customized- Process | 551.8 | 5283964
2003 Non-Res SPC Program | 152 | C | DPA | Approved | 2003-04-23 | 1 | Process | Furnace/ Energy Efficient | Customized- Process | 65.2 | 300442
2003 Non-Res SPC Program | 153 | C | DPA | Approved | 2003-05-21 | 1 | Process | Adjustable Speed Drive | Customized- Process | 0 | 21874
2003 Non-Res SPC Program | 155 | C | DPA | On-Hold | 2003-04-09 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 79647
2003 Non-Res SPC Program | 166 | C | DPA | Approved | 2003-05-19 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 5635
2003 Non-Res SPC Program | 166 | C | DPA | Approved | 2003-05-19 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 89696
2003 Non-Res SPC Program | 168 | C | DPA | Approved | 2003-05-19 | 1 | Process | Variable Speed Drives | Customized- Process | 53.4 | 388911
2003 Non-Res SPC Program | 169 | C | DPA | Approved | 2003-05-20 | 1 | Process | Cooling Tower | Customized- Process | 6 | 150411
2003 Non-Res SPC Program | 171 | C | DPA | Approved | 2003-05-07 | 1 | Process | Variable Speed Drives | Customized- Process | 5 | 36426
2003 Non-Res SPC Program | 175 | C | PIR | Approved | 2003-07-21 | 1 | Process | Air Compressor System | Customized- Process | 27.3 | 368844
2003 Non-Res SPC Program | 177 | C | DPA | Approved | 2003-05-15 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 69456
2003 Non-Res SPC Program | 178 | C | DPA | Approved | 2003-05-15 | 1 | Process | Adjustable Speed Drive | Customized- Process | 0 | 69456
2003 Non-Res SPC Program | 180 | C | DPA | Approved | 2003-06-25 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 237802
2003 Non-Res SPC Program | 180 | C | DPA | Approved | 2003-06-25 | 2 | Process | Variable Speed Drives | Customized- Process | 0 | 212597
2003 Non-Res SPC Program | 180 | C | DPA | Approved | 2003-06-25 | 3 | Process | Variable Speed Drives | Customized- Process | 0 | 112120
2003 Non-Res SPC Program | 181 | C | DPA | On-Hold | 2003-07-17 | 1 | Process | Variable Speed Drives | Customized- Process | 4.48 | 39245
2003 Non-Res SPC Program | 184 | C | PIR | Approved | 2003-07-02 | 1 | Process | Air Compressor System | Customized- Process | 23.4 | 205298
2003 Non-Res SPC Program | 189 | C | DPA | On-Hold | 2003-07-14 | 1 | Process | Injection Molding | Customized- Process | 89 | 563220
2003 Non-Res SPC Program | 191 | C | DPA | Approved | 2003-05-30 | 1 | Process | Motors Project (Process) | Customized- Process | 42.6 | 363917
2003 Non-Res SPC Program | 192 | C | DPA | Approved | 2003-06-11 | 1 | Process | Variable Speed Drives | Customized- Process | 19.63 | 157691
2003 Non-Res SPC Program | 195 | C | DPA | Approved | 2003-06-25 | 1 | Process | Variable Speed Drives | Customized- Process | 200.3 | 1746039
2003 Non-Res SPC Program | 196 | C | DPA | Approved | 2003-06-30 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 663040
2003 Non-Res SPC Program | 197 | C | DPA | Approved | 2003-06-11 | 1 | Process | Motors Project (Process) | Customized- Process | 54.5 | 144591
2003 Non-Res SPC Program | 201 | C | DPA | Approved | 2003-07-02 | 1 | Process | Air Compressor System | Customized- Process | 132 | 1001973
2003 Non-Res SPC Program | 202 | C | DPA | Approved | 2003-06-12 | 1 | Process | Cooling Tower | Customized- Process | 91.6 | 519292
2003 Non-Res SPC Program | 205 | C | DPA | Approved | 2003-07-15 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 124338
2003 Non-Res SPC Program | 206 | C | DPA | On-Hold | 2003-06-11 | 1 | Process | Variable Speed Drives | Customized- Process | 31.6 | 197146
2003 Non-Res SPC Program | 207 | C | PIR | Approved | 2003-07-21 | 1 | Process | Motors Project (Process) | Customized- Process | 42.77 | 143710
2003 Non-Res SPC Program | 208 | C | DPA | Approved | 2003-06-19 | 1 | Process | Variable Speed Drives | Customized- Process | 53.6 | 125496
2003 Non-Res SPC Program | 210 | C | DPA | Under Review | 2003-07-10 | 1 | Process | Injection Molding | Customized- Process | 29.8 | 187740
2003 Non-Res SPC Program | 211 | C | DPA | Approved | 2003-06-11 | 1 | Process | Adjustable Speed Drives- Water Services | Customized- Process | 0 | 38943
2003 Non-Res SPC Program | 214 | C | DPA | Approved | 2003-06-16 | 1 | Process | Air Compressor System | Customized- Process | 24.6 | 319083
2003 Non-Res SPC Program | 219 | C | DPA | Approved | 2003-07-02 | 1 | Process | Motors Project (Process) | Customized- Process | 107.9 | 608040
2003 Non-Res SPC Program | 223 | C | DPA | Approved | 2003-07-28 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 1157522
2003 Non-Res SPC Program | 227 | C | DPA | Approved | 2003-07-02 | 1 | Process | Air Compressor System | Customized- Process | 0 | 201231
2003 Non-Res SPC Program | 228 | C | DPA | Approved | 2003-07-17 | 1 | Process | Air Compressor System | Customized- Process | 14.4 | 144521
2003 Non-Res SPC Program | 229 | C | DPA | Approved | 2003-06-26 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 96472
2003 Non-Res SPC Program | 231 | C | DPA | Approved | 2003-06-28 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 538193
2003 Non-Res SPC Program | 233 | C | DPA | On-Hold | 2003-07-10 | 1 | Process | Air Compressor System | Customized- Process | 43 | 258648
2003 Non-Res SPC Program | 235 | C | DPA | Under Review | 2003-07-17 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 79200
2003 Non-Res SPC Program | 248 | C | DPA | Approved | 2003-08-01 | 1 | Process | Air Compressor System | Customized- Process | 0 | 310325
2003 Non-Res SPC Program | 249 | C | DPA | On-Hold | 2003-06-20 | 1 | Process | Motors Project (Process) | Customized- Process | 22 | 204984
2003 Non-Res SPC Program | 251 | C | DPA | Approved | 2003-07-29 | 1 | Process | Motors Project (Process) | Customized- Process | 5.7 | 86400
2003 Non-Res SPC Program | 255 | C | DPA | Approved | 2003-07-16 | 1 | Process | Injection Molding | Customized- Process | 76.1 | 434210
2003 Non-Res SPC Program | 256 | C | DPA | Approved | 2003-07-16 | 1 | Process | Injection Molding | Customized- Process | 76.1 | 434210
2003 Non-Res SPC Program | 257 | C | DPA | Approved | 2003-07-02 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 386998
2003 Non-Res SPC Program | 261 | C | DPA | Suspended | 2003-07-15 | 1 | Process | Motors Project (Process) | Customized- Process | 19.6 | 108159
2003 Non-Res SPC Program | 263 | C | DPA | Under Review | 2003-06-20 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 180108
2003 Non-Res SPC Program | 273 | C | DPA | Under Review | 2003-06-27 | 1 | Process | Motors Project (Process) | Customized- Process | 12 | 100800
2003 Non-Res SPC Program | 273 | C | DPA | Under Review | 2003-06-27 | 1 | Process | Variable Speed Drives | Customized- Process | 12 | 113627
2003 Non-Res SPC Program | 277 | C | DPA | Approved | 2003-07-17 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 256114
2003 Non-Res SPC Program | 279 | C | DPA | On-Hold | 2003-07-18 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 703856
2003 Non-Res SPC Program | 282 | C | DPA | On-Hold | 2003-07-23 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 1659862
2003 Non-Res SPC Program | 286 | C | DPA | Under Review | 2003-07-08 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 55303
2003 Non-Res SPC Program | 287 | C | DPA | Under Review | 2003-07-08 | 1 | Process | Motors Project (Process) | Customized- Process | 26.5 | 285073
2003 Non-Res SPC Program | 291 | C | DPA | Approved | 2003-07-31 | 1 | Process | Motors Project (Process) | Customized- Process | 74.2 | 649992
2003 Non-Res SPC Program | 292 | C | DPA | Approved | 2003-07-28 | 1 | Process | Motors Project (Process) | Customized- Process | 39.5 | 235766
2003 Non-Res SPC Program | 293 | C | DPA | Under Review | 2003-07-25 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 775000
2003 Non-Res SPC Program | 294 | C | DPA | Approved | 2003-07-28 | 1 | Process | Injection Molding | Customized- Process | 769.5 | 4411379
2003 Non-Res SPC Program | 296 | C | DPA | Approved | 2003-07-29 | 1 | Process | Variable Speed Drives | Customized- Process | 38.2 | 210100
2003 Non-Res SPC Program | 297 | C | DPA | Under Review | 2003-07-10 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 1087569
2003 Non-Res SPC Program | 298 | C | DPA | Under Review | 2003-07-10 | 1 | Process | Air Compressor System | Customized- Process | 0 | 111620
2003 Non-Res SPC Program | 300 | C | DPA | Approved | 2003-07-24 | 1 | Process | Injection Molding | Customized- Process | 166.7 | 1376571
2003 Non-Res SPC Program | 301 | C | DPA | Approved | 2003-07-25 | 1 | Process | Injection Molding | Customized- Process | 39.7 | 278890
2003 Non-Res SPC Program | 302 | C | DPA | Approved | 2003-07-24 | 1 | Process | Injection Molding | Customized- Process | 59.6 | 418335
2003 Non-Res SPC Program | 303 | C | DPA | Under Review | 2003-07-10 | 1 | Process | Air Compressor System | Customized- Process | 39.5 | 354244
2003 Non-Res SPC Program | 305 | C | DPA | Under Review | 2003-07-10 | 1 | Process | Air Compressor System | Customized- Process | 11.55 | 52809
2003 Non-Res SPC Program | 306 | C | DPA | Under Review | 2003-07-10 | 1 | Process | Motors Project (Process) | Customized- Process | 22.4 | 125811
2003 Non-Res SPC Program | 307 | C | DPA | Under Review | 2003-07-10 | 1 | Process | Air Compressor System | Customized- Process | 0 | 132849
2003 Non-Res SPC Program | 310 | C | DPA | Under Review | 2003-07-11 | 1 | Process | Air Compressor System | Customized- Process | 0 | 357322
2003 Non-Res SPC Program | 311 | C | DPA | Approved | 2003-07-29 | 1 | Process | Injection Molding | Customized- Process | 71.1 | 427886
2003 Non-Res SPC Program | 312 | C | DPA | Under Review | 2003-07-11 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 1391749
2003 Non-Res SPC Program | 313 | C | DPA | On-Hold | 2003-07-23 | 1 | Process | Motors Project (Process) | Customized- Process | 0 | 821423
2003 Non-Res SPC Program | 314 | C | DPA | Approved | 2003-07-24 | 1 | Process | Injection Molding | Customized- Process | 79.5 | 446224
2003 Non-Res SPC Program | 315 | C | DPA | Approved | 2003-07-24 | 1 | Process | Injection Molding | Customized- Process | 83 | 464816
2003 Non-Res SPC Program | 316 | C | DPA | Approved | 2003-07-24 | 1 | Process | Injection Molding | Customized- Process | 99 | 557780
2003 Non-Res SPC Program | 317 | C | DPA | Approved | 2003-07-24 | 1 | Process | Injection Molding | Customized- Process | 82.8 | 464816
2003 Non-Res SPC Program | 122 | C | DPA | Suspended | 2003-04-14 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 168635
2003 Non-Res SPC Program | 318 | C | DPA | Approved | 2003-07-24 | 1 | Process | Injection Molding | Customized- Process | 50 | 278890
2003 Non-Res SPC Program | 319 | C | DPA | Approved | 2003-07-24 | 1 | Process | Injection Molding | Customized- Process | 124 | 697224
2003 Non-Res SPC Program | 321 | C | DPA | On-Hold | 2003-07-29 | 1 | Process | Motors Project (Process) | Customized- Process | 2 | 17823
2003 Non-Res SPC Program | 218 | C | DPA | Approved | 2003-07-17 | 1 | Other | Equipment | Customized- Process | 0 | 2496444
2003 Non-Res SPC Program | 323 | C | DPA | On-Hold | 2003-07-29 | 1 | Process | Motors Project (Process) | Customized- Process | 11.3 | 73033
2003 Non-Res SPC Program | 323 | C | DPA | On-Hold | 2003-07-29 | 2 | Process | Motors Project (Process) | Customized- Process | 21.6 | 73039
2003 Non-Res SPC Program | 299 | C | DPA | Approved | 2003-07-31 | 1 | Process | Motors Project (Process) | Customized- Process | 500 | 4204800
2003 Non-Res SPC Program | 325 | C | DPA | Under Review | 2003-07-11 | 1 | Process | Motors Project (Process) | Customized- Process | 36.7 | 398706
2003 Non-Res SPC Program | 328 | C | DPA | Under Review | 2003-07-11 | 1 | Process | Variable Speed Drives | Customized- Process | 81.8 | 859922
2003 Non-Res SPC Program | 162 | C | DPA | Approved | 2003-05-02 | 1 | Space Cooling | Refrigeration | Customized- Refrigeration | 5.6 | 23268
2003 Non-Res SPC Program | 164 | C | DPA | Approved | 2003-05-02 | 1 | Space Cooling | Refrigeration | Customized- Refrigeration | 1.6 | 6664
2003 Non-Res SPC Program | 217 | C | PIR | Under Review | 2003-07-24 | 1 | Space Cooling | Refrigeration | Customized- Refrigeration | 20.2 | 176683
2003 Non-Res SPC Program | 217 | C | PIR | Under Review | 2003-07-24 | 2 | Space Cooling | Refrigeration | Customized- Refrigeration | 20.2 | 176683
2003 Non-Res SPC Program | 217 | C | PIR | Under Review | 2003-07-24 | 3 | Space Cooling | Refrigeration | Customized- Refrigeration | 20.2 | 176683
2003 Non-Res SPC Program | 217 | C | PIR | Under Review | 2003-07-24 | 4 | Space Cooling | Refrigeration | Customized- Refrigeration | 20.2 | 176683
2003 Non-Res SPC Program | 217 | C | PIR | Under Review | 2003-07-24 | 5 | Space Cooling | Refrigeration | Customized- Refrigeration | 20.2 | 176683
2003 Non-Res SPC Program | 217 | C | PIR | Under Review | 2003-07-24 | 6 | Space Cooling | Refrigeration | Customized- Refrigeration | 26.4 | 231167
2003 Non-Res SPC Program | 217 | C | PIR | Under Review | 2003-07-24 | 7 | Space Cooling | Refrigeration | Customized- Refrigeration | 20.2 | 176683
2003 Non-Res SPC Program | 224 | C | DPA | Approved | 2003-07-17 | 1 | Space Cooling | Refrigeration | Customized- Refrigeration | 97.92 | 62474
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 1 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 5.4 | 42484
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 2 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 16541
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 4 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 31956
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 5 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 28598
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 6 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 36356
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 7 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 49075
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 8 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 35494
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 9 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 32703
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 10 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 16404
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 14 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 32703
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 16 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 40618
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 17 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 31935
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 18 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 32703
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 19 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 31799
2003 Non-Res SPC Program | 58 | C | DPA | Approved | 2003-03-26 | 20 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 34679
2003 Non-Res SPC Program | 77 | C | DPA | Approved | 2003-03-28 | 1 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 0 | 489859
2003 Non-Res SPC Program | 254 | C | DPA | Approved | 2003-07-29 | 1 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 21 | 624384
2003 Non-Res SPC Program | 275 | C | DPA | Approved | 2003-07-21 | 1 | Refrigeration | Refrigeration- EMS | Customized- Refrigeration | 166 | 2338358
2003 Non-Res SPC Program | 88 | I | DPA | Approved | 2003-02-21 | 1 | Process | Motors Project (Process) | Motors | 29 | 255294
2003 Non-Res SPC Program | 89 | I | DPA | Approved | 2003-02-21 | 1 | Process | Motors Project (Process) | Motors | 36 | 316682
2003 Non-Res SPC Program | 129 | A | DPA | Approved | 2003-04-24 | 1 | Process | Motors Project (Process) | Motors | 11.2 | 94780
2003 Non-Res SPC Program | 141 | I | DPA | Approved | 2003-05-06 | 1 | Process | Motors Project (Process) | Motors | 0 | 1086324
2003 Non-Res SPC Program | 203 | I | DPA | Approved | 2003-07-11 | 1 | Process | Motors Project (Process) | Motors | 27.6 | 202832
2003 Non-Res SPC Program | 245 | A | DPA | Approved | 2003-07-31 | 1 | Process | Motors Project (Process) | Motors | 3.8 | 60554
2003 Non-Res SPC Program | 260 | A | DPA | Approved | 2003-07-16 | 1 | Process | Motors Project (Process) | Motors | 5 | 9361
2003 Non-Res SPC Program | 260 | A | DPA | Approved | 2003-07-16 | 2 | Process | Motors Project (Process) | Motors | 28 | 55425
2003 Non-Res SPC Program | 260 | A | DPA | Approved | 2003-07-16 | 3 | Process | Motors Project (Process) | Motors | 6 | 6004
2003 Non-Res SPC Program | 260 | A | DPA | Approved | 2003-07-16 | 4 | Process | Motors Project (Process) | Motors | 7 | 597
2003 Non-Res SPC Program | 260 | A | DPA | Approved | 2003-07-16 | 5 | Process | Motors Project (Process) | Motors | 10 | 742
2003 Non-Res SPC Program | 265 | I | DPA | Approved | 2003-07-16 | 1 | Process | Motors Project (Process) | Motors | 9.8 | 55031
2003 Non-Res SPC Program | 320 | I | DPA | On-Hold | 2003-07-24 | 1 | Process | Motors Project (Process) | Motors | 30.9 | 222126
2003 Non-Res SPC Program | 86 | I | PIR | Approved | 2003-04-01 | 1 | Other | Pumping System Controls | Pump System Controls | 19 | 165887
2003 Non-Res SPC Program | 87 | I | DPA | Approved | 2003-02-21 | 1 | Other | Pumping System Controls | Pump System Controls | 19 | 165887
2003 Non-Res SPC Program | 91 | I | DPA | On-Hold | 2003-08-01 | 1 | Other | Pumping System Controls | Pump System Controls | 0 | 1894019
2003 Non-Res SPC Program | 128 | A | PIR | Under Review | 2003-06-13 | 1 | Other | Pumping System Controls | Pump System Controls | 6.5 | 97979
2003 Non-Res SPC Program | 213 | A | DPA | Approved | 2003-06-13 | 1 | Other | Pumping System Controls | Pump System Controls | 14.2 | 114218
2003 Non-Res SPC Program | 266 | A | DPA | Approved | 2003-07-17 | 1 | Other | Pumping System Controls | Pump System Controls | 42.5 | 46418
[10 empty] | 13054.71 | 100153311
[10 empty] | 24918.281 | 183603633
Measured
2003 Non-Res SPC Program | 98 | C | DPA | Approved | 2003-04-07 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 20888
2003 Non-Res SPC Program | 5 | C | DPA | Approved | 2003-07-17 | 1 | Process | Variable Speed Drives | Customized- Process | 0 | 194867
2003 Non-Res SPC Program | 209 | C | DPA | Approved | 2003-07-17 | 1 | Space Cooling | Chiller Water Controls | Customized- Space Conditioning | 0 | 330107

## By Measure
| kW | kWh | Average Operating Hours | kW/kWh
Air Conditioning
Reduced Internal Cooling Load - Calculated
Customized - Space Conditioning - Calculated | 663.9 | 7350808 | 11072.1615 | 9.0317e-05
EMS (Space Conditioning) - Calculated | 158 | 1804053 | 11418.057 | 8.7581e-05
Chillers - Calculated | 1153.7 | 6272001 | 5436.4228 | 0.00018394
Package Units Replacement - Calculated | 808.3 | 6040073 | 7472.5634 | 0.00013382
Reduced Internal Cooling Load - Calculated
| 2783.9 | 21466935 | 7711.1013 | 0.00012968
Lighting
Indoor Lighting Sys. Mod. - Calculated | 334.3 | 2128457 | 6366.907 | 0.00015706
Indoor Lighting Sys. Repl. - Calculated | 6674.251 | 41430252 | 6207.4759 | 0.0001611
Lighting Controls - Calculated | 1941.32 | 17562579 | 9046.7203 | 0.00011054
Outdoor Lighting Sys. Mod. - Calculated
Outdoor Lighting Sys. Repl. - Calculated | 129.8 | 862099 | 6641.7488 | 0.00015056
LED Lamps - Calculated
| 9079.671 | 61983387 | 6826.6116 | 0.00014649
Other
Customized - Process - Calculated | 11660.89 | 85696832 | 7349.0816 | 0.00013607
Customized - Refrigeration - Calculated | 445.12 | 5330320 | 11975.018 | 8.3507e-05
Customized - Pumping - Calculated
Motors - Calculated | 204.3 | 2365752 | 11579.7944 | 8.6357e-05
Adj. Speed Drive - Calculated | 610.2 | 4174481 | 6841.1685 | 0.00014617
Pump System Controls - Calculated | 101.2 | 2484408 | 24549.4862 | 4.0734e-05
Cooling Towers - Calculated | 33 | 101518 | 3076.303 | 0.00032507
Customized - Process - Calculated
| 13054.71 | 100153311 | 7671.8143 | 0.00013035
Air Conditioning
Reduced Internal Cooling Load - Measured
Customized - Space Conditioning - Measured | 0 | 330107
EMS (Space Conditioning) - Measured
Chillers - Measured
Package Units Replacement - Measured
| 0 | 330107
Lighting
Indoor Lighting Sys. Mod. - Measured
Outdoor Lighting - Measured
Lighting Controls - Measured
Outdoor Lighting Sys. Mod. - Measured
Outdoor Lighting Sys. Repl. - Measured
LED Lamps - Measured
Other
Customized - Process - Measured | 0 | 215755
Customized - Refrigeration - Measured
Customized - Pumping - Measured
Motors - Measured
Adj. Speed Drive - Measured
Pump System Controls - Measured
Cooling Towers - Measured
| 0 | 215755

## By End-Use
End-Use | kW | kWh |  | kW/kWh
HVAC | 2783.9 | 21466935 | 7711.1013 | 0.00012968
Lighting | 9079.671 | 61983387 | 6826.6116 | 0.00014649
Other | 13054.71 | 100153311 | 7671.8143 | 0.00013035