Savings Summary for

California Multi Measure Farm Program 2004 – 2005

Operated by EnSave Energy Performance, Inc.

| MEASURE | UNIT GOALS | GROSS COINCIDENT PEAK DEMAND REDUCTION PER UNIT (kW) | GROSS ANNUAL ENERGY SAVINGS PER UNIT (kWh/yr) | Gross Incremental Measure Cost (IMC) | Life (yr) | Normalizing Unit | Typical or average normalizing unit associated with this type of measure/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Vacuum Pump VSD | 5 | 8.81 | 45,000 | $6,500 | 15 | horse power | 15.82 |
| Milk Plate Cooler | 20 | 3.13 | 16,000 | $3,500 | 15 | pound of milk produced | 5,685,700 |
| Milk Pump VSD | 20 | 0.98 | 5,000 | $3,000 | 20 | pound of milk produced | 26,436,000 |
| Compressor Heat Recovery | 18 | 4.38 | 16,000 | $2,400 | 10 | gallon of hot water used | 175 |
| Scroll Compressor | 18 | 1.57 | 8,000 | $200 | 12 | pound of milk produced | 5,400,500 |

Note:  The source of this information is EnSave’s proposal for the 2004-2005 Multi-Measure Farm Program except for the normalized unit data (which was provided to Global Energy Partners by EnSave staff).

Savings Estimates for the

Agricultural Ventilation Fan Efficiency Program

2004 – 2005

Operated by EnSave Energy Performance, Inc.

The following table of information is taken directly from EnSave’s program workbook.  No installations have taken place in this program as of this date.

| MEASURE | UNIT GOALS | GROSS COINCIDENT PEAK DEMAND REDUCTION PER UNIT (kW) | GROSS ANNUAL ENERGY SAVINGS PER UNIT (kWh/yr) | Gross Incremental Measure Cost (IMC) | Life (yr) | Typical or average HORSEPOWER associated with this type of fan |
| --- | --- | --- | --- | --- | --- | --- |
| 12" - 14" fan | 39 | 0.0380 | 289.36 | $475.00 | 15 | 0.25 hp |
| 16" - 18" fan | 126 | 0.1380 | 1,060.98 | $500.00 | 15 | 0.25 hp |
| 20" - 26" fan | 94 | 0.0520 | 397.01 | $550.00 | 15 | 0.33 hp |
| 27" - 30" fan | 160 | 0.1510 | 1,163.25 | $650.00 | 15 | 0.5 hp |
| 36" fan | 600 | 0.2390 | 1,839.35 | $750.00 | 15 | 0.5 hp |
| 48" fan | 165 | 0.2070 | 1,586.98 | $800.00 | 15 | 1.0 hp |
| 50" - 56" fan | 125 | 0.4400 | 3,378.81 | $850.00 | 15 | 1.0 hp |
| 8' - 24' HVLS fan | 170 | 1.0400 | 8,011.53 | $4,000.00 | 15 | 1.5 hp |

Note:  The information in this table was provided to Global Energy Partners by EnSave staff.