Introduction

Program Overview

The Agricultural Energy Management Services Program is a program that offers SDG&E customer’s & water pumping cost analysis at no charge to the customer. The test includes a detailed analysis of the currant operating conditions of the pump, including overall plant efficiency. For those pump where the test yield an overall plant efficiency below industry standard, an estimated of the pump’s operating conditions at the industry standard is provided to the customer. The Industry standard is a plant efficiency minimum that has been agreed to by the California Public Utilities Commission (CPUC). The customer receives a report from the pump test contractor that includes the currant pump operating conditions and an estimate of the current energy use of the pump. If the pump is operating below industry standards, the report contains recommendations of action that could be taken to improve efficiency as well an estimate of the potential annual bill savings if these adjustments/repairs are made.

The program contractor who performs the testing work, tests roughly 400 pumps per years. Of those 400 pumps, generally half (200) pump fall below industry standard and recommendations for improvements are made in the report that is given to the customer. In 1993, the Agricultural Energy Management Services Program accounts for proximally 3% of SDG&E total annual energy conservation effort.

Objective of Report

The main objective of the study is to estimate four load impact parameters for the 1992-1993 program years.  The first is the implementation rate. This is the percentage of the program potential kWh savings that may occur due to the patricians implementing changes to the pumps to make the overall pump efficiency increase. This is obtained by determining, of the pumps that were operating below industry standards and recommendations were made for improvement, how often action was actually undertaken to improve the pump’s plant efficiency.

The second parameter of interest is the realization rate. This is estimated based on the comparison of the pump retest data and the original pump test data. A sample of participants who have implemented some (or all) of the recommendations made to them had their pumps retested to determine the improved efficiency of the pump. The realization rate can be interpreted as follows: of those customers who took action to implement repairs to their pumps, the realization rate is the percentage of measured saving to potential savings. The measured savings were arrived by comparing the pump’s usage at the “improved” efficiency level after repairs were made (date from the pump retest) to the pump’s usage at the efficiency at the time of the original pump test. The potential savings which were extracted from the original pump tests were calculated by comparing the actual pump’s usage to the pump’s estimated usage if the pump’s efficiencies were at the industrial standard.

The Third parameter, the net-to-gross ratio, is a projection of the kWh savings that can be credited to the program after taking into account the kWh savings that would have occurred in the absence of the program.

The fourth parameter is the customer cost associated with implementing the recommendation from the pump test. Participants were asked how much they spent on repairs t their pump.

Summary Results

The results of a phone survey conducted on 1992-1993 program participants indicate an implementation rate of 33% and a net-to-gross factor of 64%. Of these customers who did have work performed on their pumps, they realized 87% of the potential savings that were indicated by the pump test contractor (industry standard level). Multiplying the implementation rate and the realization rate results in an overall gross realization rate of 29%. The over net realization rate is 18%. The program participants typically spend between $1,000 and $4,000 for repairs/enhancements. Among the respondents to the telephone survey, pump usage was distributed evenly between irrigation (agriculture, golf courses) and water supply.

Data Analysis and Results

Implementation Rate

One objective of the study was to estimate the percentage of pumps that had repairs/enhancements performed to bring pumps that were operating below industry standard at the time of the test, up to or above the industry efficiency standard. A telephone survey was administered to customers who has pumps tested in the between 1992-1993. There were 83 customers with 389 pumps where recommendations were made to improve pump efficiency. Although a census of customers was attempted, some customers could not be contacted and others did not respond to the phone survey.

| Survey Composition |  |  |
| --- | --- | --- |
|  | Number of Customers | Number of Pumps |
| Total Attempted | 83 | 389 |
| Actual Reponses used | 66 | 166 |

In addition, for customer with a large number of pumps (ten or more) that were tested in 1992 or 1993, the highest consumption pumps representing 50% of the customer’s total potential savings or ten pumps, whichever was greater, were included in the survey. The result was 66 customers representing 166 pumps who responded to the questions in the survey used to calculate the implementation rate.

Of the 166 pumps in the survey, 55 pumps had work performed on them to improve the pump efficiency. This yields an implementation rate of 33%.

The third parameter, the net-to-gross ratio, is a proportion of the kWh savings that can be credited to the program after taking into account the kWh savings that would have occurred in the absence of the program.

The Fourth parameter is the customer cost associated with implementing the recommendations from the pump test. Participants were asked how much they spent on repairs to their pumps.

Summary of Results

The results of a phone survey conducted on 1992-1993 program participants indicates an implementation rate of 33% and a net-to-gross factor of 64%. Of those customers who did have work performed on their pumps they realized 87% of the potential savings that was estimated by the pump test contractor (Industry standard level). Multiplying the implementation rate and the realization rate results in an overall gross realization rate of 29%. The overall net realization rate is 18%. The program participants typically spent between $1,000 and $4,000 for repairs/enhancements. Among the respondents to the telephone survey, pump usage was distributed evenly between irrigation (agriculture, golf courses) and water supply.

KILOWATT HOUR REPORTING

Total kWh’s recommended  x  33%  =  Implementation rate

Implementation rate (33%)  x  realization rate (87%)  =  Gross Realization rate

Gross realization rate (29%)  x  net to gross factor (64%)  =  Net realization rate (18%)

BOTTOM LINE:

- 29% of kWh recommendations are realized.

- 64% of that 29% is attributed to the pump test program. The rest is considered to be free readership.

- 18% of all kWh recommendations are credited toward the kWh reduction goal.