Standard Performance Contract [SPC]

kWh and kW Energy Savings Estimates

Calculated Measures

Under the SPC program, incentives are paid on a per-kilowatt-hour saved basis.  The following end-use categories and respective incentive rates, per first-year kWh savings, are:

Lighting	$0.05

HVAC		$0.14

All Other	$0.08

The methodology for determining kW savings, per unit [kWh], is utilizing historical results from prior year participation in the SPC program to calculate average operating hours, and resultant kW per kWh.  The last calculation was done in 2004.

2004 Activity:  2003 actual results were used to calculate kW savings per unit [kWh] for the 2004-2005 forecast.

2003 activity…

Average	Utilized

Operating	Operating

End-use	kWh		kW		Hours		Hours		kW/kWh

Lighting	62,214,261	9,092		6,842		6900		.0001449

HVAC		20,131,773	2,812		7,159		7200		.0001388

Other		99,606,795	12,772	7,798		7900		.0001265

The “utilized” operating hours is the average operating hours rounded up to the next one hundred hours increment.  The effect of rounding up the operating hours increases the conservativeness of the calculated kW savings [i.e. the denominator {operating hours} was increased slightly, resulting in the quotient {kW} being slightly lower].