Workpapers for SCE’s On-Site Nonresidential Energy Audits

(an element of the Business Incentive Program)

The following is excerpted from PG&E’s email message from PG&E Genrick Gofman, dated 05/19/05 11:48AM:  “NRA 2003 Findings – Savings”; see Attachment 1:

…From conversations with Kris Bradley (PG&E) and Pierre Landry (SCE), May 18, 2005:

Estimates of NR Audits savings are shown in Exhibit 4-37 or 4-38 of the 2003 NR Audits Evaluation Study report.  These values are on the one-hand, conservative, because:

- Only lighting & cooling savings counted, NOT process (found to be as large as lighting in large industrial sites),

- Count only what had been adopted 1 year post-audit by small customers, and 2 yrs post-audit by medium/large customers; ignoring lifecycle savings

- Ignored spillover occurring during and after the evaluation period examined.

- Ignores that participants in the NR Audits program have significantly higher participation in the incentive programs than non-participants.  Therefore, some of the incentive program savings are due to the NR Audits program.

However, on the other-hand, possibly optimistic, because:

- Are “gross” values (Exhibit 4-37), based on self-reported adoption and ex-ante savings values

- Baseline is not based on non-participants’ EE adoptions.  Instead, baseline is based on participants self-reporting the “influence” the audit had on their adoptions.  This “influence factor” (Exhibit 4-38) as a NTG proxy has a value of 0.78, may be off.

- A portion of the NR Audit savings will be counted by the Express Efficiency and to a lesser degree, SPC or another incentive program.  To avoid this double-counting, consider the NR Audits 2003 study finding that 34% of small customer, high efficiency lighting installations were completed in conjunction with a rebate.  Most of those customers that received a rebate were unsure if the rebate was through either Express or SPC.  52% of large customer, high efficiency lighting installations were completed in conjunction with a rebate.  Most of those customers that received a rebate indicated that is was through a mixture of either Express or SPC.  16% of small customer, high-efficiency cooling installations were completed in conjunction with a rebate.  About half of those customers that received a rebate indicated that is was through Express, and none mentioned SPC.  26% of large customer, high efficiency cooling installations were completed in conjunction with a rebate.  Most of those customers that received a rebate indicated that is was through a mixture of Express and SPC.

- No calibration to billing data was done.

We therefore suggest that the NR Audits program use the following values which we believe will provide a conservative estimate of the savings from the NR Audit program that are NOT tabulated in the incentive programs:

Exhibit 4-37a
Per-Audit Gross Impacts

by End-Use and Customer Size

| Customer | kWh saved/audit | kW saved/audit | Therms saved/audit |
| --- | --- | --- | --- |
| Lighting-small | 1,461 | 0.2 | 0.0 |
| Lighting-large | 15,264 | 2.5 | - 3.8 |
| HVAC-small | 1,448 | 0.7 | 79.8 |
| HVAC-large | 3,634 | 0.7 | 137.6 |
| Total-small | 2,909 | 0.9 | 79.8 |
| Total-large | 18,898 | 3.2 | 133.8 |
| Total-all | 21,807 | 4.1 | 213.6 |

The values in this table are a combination of those in Exhibit 4-37 of the 2003 NR Audits study and the % of Audit participants (shown earlier) that also participated in an incentive program (Express, SPC or other).  These values need to also be adjusted by a NTG (either the value of 0.82 PG&E (Genrick Gofman) has from a previous Audits survey, or as a proxy, the ~ 0.78 based on the “influence-adjusted” shown by Quantum in Exhibit 4-38 of the 2003 NR Audits study).

We are hoping to get much clearer and stronger numbers for NR Audit savings in the 2004-05 evaluation that will get going later this year, and should be done sometime in 2006.  If needed, we will continue to address the issue of savings/audit in the 2006-08 evaluations.

Enclosed as Attachment 3 is SCE’s “Revised Energy Savings – BCD Onsite Energy Audits (NRA/BIP) which includes the SUMMARY Business Sol & BCD Combined three year totals, which sums the total kW and kWh forecast for the three year 2006-08 on-site energy audit program element of the BIP program.

| Attachment 1 – Email messages between PG&E and SCE: |  |
| --- | --- |
| Attachment 2 – Excerpts from Quantum 2003 Statewide Nonresidential Audit Program Evaluation, March 1, 2005 (Pages 4-44, 4-45) |  |
| Attachment 3 – Revised energy Savings Summary Table |  |