## Sheet1
MEASURE | UNITS | Incentive | Gross kWh | Gross Coincident Peak kW | Gross IMC | EUL | NTG | Gross kWh Savings | Gross Coincident Peak kW | Total Incentive $$ | Savings Source
ES Screw-in CFL 13 Watt-Exterior | 10236.525 | 4 | 209.53 | 0 | 4.206 | 1.7945 | 0.89 | 2144859.0833 | 0 | 40946.1 | SCE MFRP Workpapers
ES Screw-in CFL 20 Watt-Exterior |  | 5.5 | 245.19 | 0 | 5.685 | 1.8 | 0.89 | 0 | 0 | 0 | SCE MFRP Workpapers
ES Screw-in CFL 23 Watt-Exterior |  | 6.5 | 343.27 | 0 | 6.124 | 1.8 | 0.89 | 0 | 0 | 0 | SCE MFRP Workpapers
ES Screw-in CFL 13 Watt-Interior | 122838.3 | 4 | 36.128 | 0.0069 | 4.206 | 9.3 | 0.89 | 4437902.1024 | 847.5843 | 491353.2 | DEER RRes00AVI13St
ES Screw-in CFL 20 Watt-Interior | 63466.455 | 5.5 | 42.278 | 0.0081 | 5.685 | 9.3 | 0.89 | 2683234.7845 | 514.0783 | 349065.5025 | DEER RRes00AVI20St
ES Screw-in CFL 23 Watt-Interior | 8189.22 | 6.5 | 59.189 | 0.0111 | 6.124 | 9.3 | 0.89 | 484711.7426 | 90.9003 | 53229.93 | DEER RRes00AVI25St
ES R30 Reflector CFL 13 Watt Exterior |  | 8 | 209.53 |  | 8 | 1.8 | 0.89 | 0 | 0 | 0 | SCE MFRP Workpapers
ES R30 Reflector CFL 15 Watt Exterior | 2000 | 8 | 200.61 |  | 8 | 1.8 | 0.89 | 401220 | 0 | 16000 | SCE MFRP Workpapers
ES R40 Reflector CFL 23 Watt Exterior |  | 10 | 343.27 |  | 10 | 1.8 | 0.89 | 0 | 0 | 0 | SCE MFRP Workpapers
ES R30 Reflector CFL 13 Watt Interior | 10000 | 8 | 36.128 | 0.004 | 8 | 9.3 | 0.89 | 361280 | 40 | 80000 | RRes00AVI13St (except IMC)
ES R30 Reflector CFL 15 Watt Interior |  | 8 | 34.591 | 0.0066 | 8 | 9.3 | 0.89 | 0 | 0 | 0 | RRes00AVI15St (except IMC)
ES R40 Reflector CFL 23 Watt Interior |  | 10 | 59.189 | 0.0114 | 10 | 9.3 | 0.89 | 0 | 0 | 0 | RRes00AVI23St (except IMC)
ES Indoor Fluorescent Fixtures 30w | 157485 | 50 | 69.182 | 0.0133 | 32 | 16 | 0.89 | 10895127.27 | 2094.5505 | 7874250 | RRes00AVM30St
ES Exterior Fluorescent Fixtures 13 Watt | 31497 | 30 | 209.53 |  | 13 | 16 | 0.89 | 6599566.41 | 0 | 944910 | SCE MFRP Workpapers
ES Exterior Fluorescent Fixtures 18 Watt | 0 | 30 | 254.11 |  | 13 | 16 | 0.89 | 0 | 0 | 0 | SCE MFRP Workpapers
ES Exterior Fluorescent Fixtures 26 Watt | 0 | 30 | 329.89 |  | 19 | 16 | 0.89 | 0 | 0 | 0 | SCE MFRP Workpapers
T-8 or T-5 Lamp and Electronic, 1 lamp, 2-foot fixture | 0 | 32 | 82.3878 | 0.0099 | 21 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 2-lamp, 2-foot fixture | 0 | 34 | 164.7756 | 0.0198 | 21 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 3-lamp, 2-foot fixture | 0 | 38 | 247.1634 | 0.0297 | 21 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 4-lamp, 2-foot fixture | 0 | 45 | 329.5512 | 0.0396 | 21 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 2-foot lamp Removed | 0 | 6 | 312.075 | 0.0375 | 19 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 1-lamp, 3-foot fixture | 0 | 32 | 96.5352 | 0.0116 | 21 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 2-lamp, 3-foot fixture | 0 | 34 | 193.0704 | 0.0232 | 21 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 3-lamp, 3-foot fixture | 0 | 38 | 289.6056 | 0.0348 | 21 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 4-lamp, 3-foot fixture | 0 | 45 | 386.1408 | 0.0464 | 21 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 3-foot lamp removed | 0 | 6 | 366.168 | 0.044 | 19 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 1-lamp, 4-foot fixture | 40000 | 32 | 89.0454 | 0.0107 | 4.49 | 16 | 0.89 | 3561816 | 428 | 1280000 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 2-lamp, 4-foot fixture | 5000 | 34 | 178.0908 | 0.0214 | 4.49 | 16 | 0.89 | 890454 | 107 | 170000 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 3-lamp, 4-foot fixture | 5000 | 38 | 267.1362 | 0.0321 | 4.49 | 16 | 0.89 | 1335681 | 160.5 | 190000 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 4-lamp, 4-foot fixture | 5000 | 45 | 356.1816 | 0.0428 | 4.49 | 16 | 0.89 | 1780908 | 214 | 225000 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 4-foot lamp removed | 8000 | 6 | 357.846 | 0.043 | 35 | 16 | 0.89 | 2862768 | 344 | 48000 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 1-lamp, 8-foot fixture | 6000 | 32 | 74.898 | 0.009 | 19.5 | 16 | 0.89 | 449388 | 54 | 192000 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 2-lamp, 8-foot fixture |  | 34 | 149.796 | 0.018 | 19.5 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 3-lamp, 8-foot fixture | 0 | 36 | 224.694 | 0.027 | 19.5 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 4-lamp, 8-foot fixture | 0 | 43 | 299.592 | 0.036 | 19.5 | 16 | 0.89 | 0 | 0 | 0 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
T-8 or T-5 Lamp and Electronic, 8-foot lamp removed | 200 | 9 | 657.438 | 0.079 | 50 | 16 | 0.89 | 131487.6 | 15.8 | 1800 | Savings carried over from '04-05 MFRP which was based on SCE Express Efficiency
Energy Star Ceiling Fan w/ CFL | 0 | 20 | 32.5 | 0.0172 | 50 | 15 | 0.89 | 0 | 0 | 0 | 04-05 MFRP
Energy Star Room A/C - 5,000 to 18,000 btuh | 2500 | 50 | 127 | 0.14732 | 106 | 15 | 0.89 | 317500 | 368.3 | 125000 | 04-05 MFRP
High Performance Window - El Toro | 125000 | 0.75 | 1.41 | 0.0008 | 1.68 | 20 | 0.89 | 176250 | 100 | 93750 | DEER RMFm0875RG21T
High Performance Window - Long Beach |  | 0.75 | 0.98 | 0.0005 | 1.68 | 20 | 0.89 |  |  | 0 | RMFm0675RG21T
High Performance Window - Riverside |  | 0.75 | 1.85 | 0.0011 | 1.68 | 20 | 0.89 |  |  | 0 | RMFm1075RG21T
High Performance Window - Burbank |  | 0.75 | 1.65 | 0.001 | 1.68 | 20 | 0.89 |  |  | 0 | RMFm0975RG21T
High Performance Window - China Lake |  | 0.75 | 1.87 | 0.0011 | 1.68 | 20 | 0.89 |  |  | 0 | RMFm1475RG21T
Programmable Thermostat | 0 | 40 |  |  | 58 | 11 | 0.89 | 0 | 0 | 0
Attic Insulation - Burbank | 0 | 0.15 | 0.556 | 0.0004 | 0.935 | 20 | 0.89 | 0 | 0 | 0 | RMFm0975RC038
Attic Insulation - China Lake |  | 0.15 | 0.744 | 0.0007 | 0.935 | 20 | 0.89 |  |  | 0 | RMFm1475RC038
Attic Insulation - El Toro |  | 0.15 | 0.522 | 0.0004 | 0.935 | 20 | 0.89 |  |  | 0 | RMFm0875RC038
Attic Insulation - Long Beach |  | 0.15 | 0.293 | 0.0002 | 0.935 | 20 | 0.89 |  |  | 0 | RMFm0675RC038
Attic Insulation - Riverside |  | 0.15 | 0.701 | 0.0006 | 0.935 | 20 | 0.89 |  |  | 0 | RMFm1075RC038
Wall Insulation - Burbank | 0 | 0.15 | 0.387 | 0.0006 | 1.12 | 20 | 0.89 | 0 | 0 | 0 | RMFm0975RW413
Wall Insulation - China Lake |  | 0.15 | 0.738 | 0.0008 | 1.12 | 20 | 0.89 |  |  | 0 | RMFm1475RW413
Wall Insulation - El Toro |  | 0.15 | 0.19 | 0.0005 | 1.12 | 20 | 0.89 |  |  | 0 | RMFm0875RW413
Wall Insulation - Long Beach |  | 0.15 | -0.041 | -0.0001 | 1.12 | 20 | 0.89 |  |  | 0 | RMFm0675RW413
Wall Insulation - Riverside |  | 0.15 | 0.623 | 0.0007 | 1.12 | 20 | 0.89 |  |  | 0 | RMFm1075RW413
Package Terminal AC (>2, <5 tons) | 0 | 100 | 949 | 0.449 | 468.46 | 15 | 0.89 | 0 | 0 | 0 | CHtl0975PTACn
Package Terminal HP |  | 100 | 1001 | 1.83 | 338 | 15 | 0.89 | 0 | 0 | 0 | 04-05 MFRP
Occupancy Sensor wall mounted |  | 10 | 93.45 | 0.089 | 47 | 8 | 0.89 | 0 | 0 | 0 | 04-05 MFRP
Occupancy Sensor ceiling mounted | 0 | 10 | 93.45 | 0.089 | 119 | 8 | 0.89 | 0 | 0 | 0 | 04-05 MFRP
Photocell | 0 | 10 | 106 | 0 | 107 | 8 | 0.89 | 0 | 0 | 0 | 04-05 MFRP
High Efficiency Exit Sign (new) | 2500 | 35 | 351.31 | 0.043 | 83.65 | 16 | 0.89 | 878275 | 107.5 | 87500 | CALC00AVETS01
Duct Test - Multifamily | 5000 | 50 | 0 | 0 | 100 | 10 | 0.89 | 0 | 0 | 250000 | 04-05 MFRP
Duct Test - Mobile Homes | 0 | 50 | 0 | 0 | 100 | 10 | 0.89 | 0 | 0 | 0 | 04-05 MFRP
Duct Sealing - Multi Family | 5000 | 200 | 302.75 | 0.2 | 358.38 | 18 | 0.89 | 1513750 | 1000 | 1000000 | 04-05 MFRP
Duct Sealing - Mobile Homes | 0 | 200 | 206.85 | 0.18844 | 358.38 | 18 | 0.89 | 0 | 0 | 0 | 04-05 MFRP
Fluorescent Torchiere Lamps Exchange 55W | 8000 | 55 | 183.5 | 0.035 | 29.5 | 16 | 0.89 | 1468000 | 280 | 440000 | RRes00AVTor55
Fluorescent Torchiere Lamps Exchange 70W |  | 55 | 172.27 | 0.033 | 36 | 16 | 0.89 | 0 | 0 | 0 | RRes00AVTor70
Electric Water Heater EF .93 |  | 30 | 104.3 | 0.023 | 53.9 | 15 | 0.89 | 0 | 0 | 0 | RMFM06AVWHETa
Pool Pump & Motor - Single Speed | 50 | 125 | 650 | 0.104 | 33.94 | 15 | 0.89 | 32500 | 5.2 | 6250 | RRes00AVPOOL1
Pool Pump & Motor - Two speed | 5 | 300 | 1400 | 0.54 | 48.79 | 15 | 0.89 | 7000 | 2.7 | 1500 | RRes00AVPOOL2
Refrigerator 12c.u Side Freezer | 1578 | 25 | 47 | 0.008 | 134.17 | 18 | 0.89 | 74166 | 12.624 | 39450 | RRes00AVRTM14
[8 empty] | 43487844.9927 | 6786.7374 | 14000004.7325
Note on A4: Gregory M. Haney: Replaces 60w
Note on A5: Gregory M. Haney: Replaces 75w
Note on A6: Gregory M. Haney: Replaces 100w
Note on A7: Gregory M. Haney: Replaces 60w
Note on A8: Gregory M. Haney: Replaces 75w
Note on A9: Gregory M. Haney: Replaces 100w
Note on A10: Gregory M. Haney: Replaces 60w
Note on A11: Gregory M. Haney: Replaces 60w
Note on A12: Gregory M. Haney: Replaces 100w
Note on A13: Gregory M. Haney: Replaces 60w
Note on A14: Gregory M. Haney: Replaces 60w
Note on A15: Gregory M. Haney: Replaces 100w
Note on A17: Gregory M. Haney: Replaces 60w
Note on A18: Gregory M. Haney: Replaces 75w
Note on A19: Gregory M. Haney: Replaces 100w
Note on A42: Gregory M. Haney: RASS Building Age Report figures used for weghted average calcs: Pre 1978 = 60.6% 1978-1993 = 32% 1993 - 2003 = 7.4%
Note on A58: Gregory M. Haney: Weighted Avg. Before 1978 = 60.6% 19783 - 1992 = 32% 1993 - 2000 = 7.4%
Note on A70: Gregory M. Haney: Long Beach
Note on G4: Gregory M. Haney: use 8000 rating hours (same as DEER)
Note on L4: Gregory M. Haney: ADM & Associates Building Owner Market Report states that 81% of exterior lighting is controlled by photocells or timers. PLUS, EnergyStar requires exterior fixtures to be photocell operated or on a controlled circuit.