2006-2008 RCX Cost and Savings Assumptions

For the proposed 2006-2008 Retro commissioning (RCx) program, the following were used for the cost and energy savings used for the program:

Cost Basis is $0.40/sf.   This is based upon a study by PECI for PG&E (“California Commissioning Market Characterization Study, 2000).  In this study, the average RCx cost for all of the buildings of different types was $0.35/sf.  This number was adjusted to include items in the proposed program that were not a part of this study.  These items include the following:

- Evaluation of the project sites for the potential for demand response, water conserving and retrofit measures during the course of the RCx.

- Increase the scope of the RCx to include lighting and domestic hot water, which are not clearly included in all of these cases.

- Inclusion of monitoring based commissioning

Electrical Energy Savings is 1.22 kWh/sf-year.  And gas Energy Savings is 0.06 therm/sf-year.  The basis of this is a report by SBW consulting for the Northwest Energy Efficiency Alliance (“Cost Benefit Analysis for the Commissioning in Public Buildings Project”, 2003).  In their report, the average savings for 8 building is presented.