## Weighted Averages by CZ
Whole House Fans - RASS Weighted Averages of DEER Deemed Savings | CZ | kWh/1,000sqft | kW/1,000sqft | Avg. Floor Area (1,000 sqft) | NTG | kWh | kW
(Prelim. 2005 DEER Update Values) | 6 | 98.693 | 0.085611 | 2.0082 | 1 | 198.1943 | 0.17192
2005-05-22 | 8 | 66.1348 | 0.0010582 | 1.7511 | 1 | 115.8071 | 0.001853
| 9 | 32.8271 | 0.00099322 | 1.8264 | 1 | 59.9565 | 0.001814
| 10 | 20.1084 | 0.0016773 | 1.7831 | 1 | 35.8546 | 0.0029907
| 13 | 24.2618 | 0.0015958 | 1.6095 | 1 | 39.0486 | 0.0025684
| 14 | 26.495 | 0.0033207 | 1.6844 | 1 | 44.6284 | 0.0055935
| 15 | 10.6069 | -1.1588e-05 | 1.6903 | 1 | 17.9283 | -1.9587e-05
| 16 | 32.8538 | 0.0011716 | 1.7742 | 1 | 58.29 | 0.0020786
[6 empty] | 71.2135 | 0.0236
Climate Zone 6 | RASS | Annual Energy Savings |  | Peak Demand Reduction |  | Floor Area (RASS 2003)
Building Vintage | % of Homes | (kWh/1,000sqft) | Weighted Avg. | (W/1,000sqft) | Weighted Avg. | (1,000sqft) | Weighted Avg.
Built between 2001 and 2005 | 0.7% | 75.8299 | 0.53081 | 24.9415 | 0.17459 | 3.2198 | 0.022538
Built 2005 and later - retrofits |  | 56.2134 | 0 | 18.7156 | 0 | 3.2198 | 0
Built before 1978 | 62.3% | 115.508 | 71.9615 | 103.254 | 64.3272 | 1.7903 | 1.1154
Built between 1978 and 1992 | 15.4% | 37.9906 | 5.8506 | 35.0815 | 5.4026 | 2.6391 | 0.40643
Built between 1993 and 2000 | 6.8% | 84.4644 | 5.7436 | 44.6458 | 3.0359 | 2.4504 | 0.16663
| 85.2% |  | 98.693 |  | 85.6107 |  | 2.0082
Climate Zone 8 | RASS | Annual Energy Savings |  | Peak Demand Reduction |  | Floor Area (RASS 2003)
Building Vintage | % of Homes | (kWh/1,000sqft) | Weighted Avg. | (W/1,000sqft) | Weighted Avg. | (1,000sqft) | Weighted Avg.
Built 2001 and 2005 | 0.7% | 45.5011 | 0.31851 | 1.6822 | 0.011775 | 2.393 | 0.016751
Built 2005 and later - retrofits |  | 34.1769 | 0 | 1.3507 | 0 | 2.393 | 0
Built before 1978 | 57.4% | 75.4742 | 43.3222 | 0.53094 | 0.30476 | 1.5901 | 0.91275
Built between 1978 and 1992 | 13.4% | 33.432 | 4.4799 | 2.5889 | 0.34691 | 2.202 | 0.29507
Built between 1993 and 2000 | 4.3% | 46.735 | 2.0096 | 3.2249 | 0.13867 | 2.3895 | 0.10275
| 75.8% |  | 66.1348 |  | 1.0582 |  | 1.7511
Climate Zone 9 | RASS | Annual Energy Savings |  | Peak Demand Reduction |  | Floor Area (RASS 2003)
Building Vintage | % of Homes | (kWh/1,000sqft) | Weighted Avg. | (W/1,000sqft) | Weighted Avg. | (1,000sqft) | Weighted Avg.
Built between 2001 and 2005 | 1.21% | 6.5081 | 0.078748 | 1.7791 | 0.021527 | 2.8105 | 0.034007
Built 2005 and later - retrofits |  | 3.6435 | 0 | 1.4652 | 0 | 2.8105 | 0
Built before 1978 | 66.8% | 36.1479 | 24.1468 | 0.4356 | 0.29098 | 1.7031 | 1.1376
Built between 1978 and 1992 | 19.2% | 27.191 | 5.2207 | 2.4568 | 0.4717 | 1.9476 | 0.37394
Built between 1993 and 2000 | 4.8% | 15.7917 | 0.758 | 2.7011 | 0.12965 | 2.8105 | 0.1349
| 92.01% |  | 32.8271 |  | 0.99322 |  | 1.8264
Climate Zone 10 | RASS | Annual Energy Savings |  | Peak Demand Reduction |  | Floor Area (RASS 2003)
Building Vintage | % of Homes | (kWh/1,000sqft) | Weighted Avg. | (W/1,000sqft) | Weighted Avg. | (1,000sqft) | Weighted Avg.
Built between 2001 and 2005 | 2.7% | 7.8675 | 0.21242 | 3.3951 | 0.091668 | 2.7727 | 0.074864
Built 2005 and later - retrofits |  | 5.8641 | 0 | 2.7429 | 0 | 2.7727 | 0
Built before 1978 | 34.9% | 24.924 | 8.6985 | 0.56379 | 0.19676 | 1.5729 | 0.54895
Built between 1978 and 1992 | 35.5% | 17.7127 | 6.288 | 2.7915 | 0.99099 | 1.7752 | 0.63021
Built between 1993 and 2000 | 12.5% | 16.1114 | 2.0139 | 1.2507 | 0.15634 | 2.1782 | 0.27227
| 85.6% |  | 20.1084 |  | 1.6773 |  | 1.7831
Climate Zone 13 | RASS | Annual Energy Savings |  | Peak Demand Reduction |  | Floor Area (RASS 2003)
Building Vintage | % of Homes | (kWh/1,000sqft) | Weighted Avg. | (W/1,000sqft) | Weighted Avg. | (1,000sqft) | Weighted Avg.
Built between 2001 and 2005 | 0.9% | 11.8365 | 0.10653 | 3.5563 | 0.032006 | 1.75 | 0.01575
Built 2005 and later - retrofits |  | 9.1738 | 0 | 2.9074 | 0 | 1.75 | 0
Built before 1978 | 52.6% | 21.811 | 11.4726 | 0.55874 | 0.2939 | 1.5609 | 0.82103
Built between 1978 and 1992 | 21.7% | 33.7891 | 7.3322 | 1.7712 | 0.38434 | 1.7958 | 0.38968
Built between 1993 and 2000 | 17.1% | 20.3641 | 3.4823 | 4.4602 | 0.76269 | 1.5151 | 0.25908
| 92.3% |  | 24.2618 |  | 1.5958 |  | 1.6095
Climate Zone 14 | RASS | Annual Energy Savings |  | Peak Demand Reduction |  | Floor Area (RASS 2003)
Building Vintage | % of Homes | (kWh/1,000sqft) | Weighted Avg. | (W/1,000sqft) | Weighted Avg. | (1,000sqft) | Weighted Avg.
Built between 2001 and 2005 | 0.3% | 12.0175 | 0.036053 | 4.5015 | 0.013504 | 2.247 | 0.006741
Built 2005 and later - retrofits |  | 9.5255 | 0 | 4.0188 | 0 | 2.247 | 0
Built before 1978 | 27.4% | 29.2526 | 8.0152 | 0.17506 | 0.047966 | 1.385 | 0.37949
Built between 1978 and 1992 | 50.6% | 27.0978 | 13.7115 | 4.4722 | 2.2629 | 1.7855 | 0.90348
Built between 1993 and 2000 | 8.4% | 14.3859 | 1.2084 | 6.6031 | 0.55466 | 2.0319 | 0.17068
| 86.7% |  | 26.495 |  | 3.3207 |  | 1.6844
Climate Zone 15 | RASS | Annual Energy Savings |  | Peak Demand Reduction |  | Floor Area (RASS 2003)
Building Vintage | % of Homes | (kWh/1,000sqft) | Weighted Avg. | (W/1,000sqft) | Weighted Avg. | (1,000sqft) | Weighted Avg.
Built between 2001 and 2005 | 0.8% | 10.9638 | 0.08771 | -0.083376 | -0.00066701 | 3.1148 | 0.024918
Built 2005 and later - retrofits |  | 8.8028 | 0 | -0.1088 | 0 | 3.1148 | 0
Built before 1978 | 36.8% | 7.8411 | 2.8855 | 0.039879 | 0.014675 | 1.7815 | 0.65558
Built between 1978 and 1992 | 39.9% | 12.5388 | 5.003 | -0.01192 | -0.0047559 | 1.5091 | 0.60211
Built between 1993 and 2000 | 13.5% | 12.4152 | 1.6761 | -0.14665 | -0.019798 | 1.8927 | 0.25552
| 91% |  | 10.6069 |  | -0.011588 |  | 1.6903
Climate Zone 16 | RASS | Annual Energy Savings |  | Peak Demand Reduction |  | Floor Area (RASS 2003)
Building Vintage | % of Homes | (kWh/1,000sqft) | Weighted Avg. | (W/1,000sqft) | Weighted Avg. | (1,000sqft) | Weighted Avg.
Built between 2001 and 2005 | 0.5% | 35.1045 | 0.17552 | 2.8089 | 0.014045 | 2.75 | 0.01375
Built 2005 and later - retrofits |  | 25.63 | 0 | 2.3559 | 0 | 2.75 | 0
Built before 1978 | 59.2% | 40.0612 | 23.7162 | 0.49542 | 0.29329 | 1.5746 | 0.93219
Built between 1978 and 1992 | 28.6% | 17.7808 | 5.0853 | 2.3351 | 0.66785 | 2.0934 | 0.59872
Built between 1993 and 2000 | 3.7% | 33.7415 | 1.2484 | 2.7747 | 0.10266 | 2.3682 | 0.087624
| 92% |  | 32.8538 |  | 1.1716 |  | 1.7742
Note on G24: DEER 2005 models
Note on G60: Older RASS data
Note on G78: older RASS data

## DEER '05 Update WHF
ID | RunID | MeasureID | Name | Description | Abbrev | Sector | BuildingType | Vintage | ClimateZone | CommonUnit | Category | SubCategory | MeaFuel | BaseDescription | FloorArea | TBaseE | TBaseP | TBaseG | PEBaseE | EUC | PEBaseG | Eimpact | Gimpact | Pimpact | ID_Sector | ID_Cat | ID_Subcat | ID_Vintage | ID_Zone | ID_BldgType | ID_FuelType | ID_CommonUnit | VintageName | ZoneName | BldgTypeName | FuelTypeName | CommonUnitName | NumOfCommonUnit | CodeBaseDescription | TCbaseE | TCbaseP | TCbaseG | PECbaseE | PECbaseG | ECImpact | GCImpact | PCImpact | Life | EquipCost | LaborCost | BaseCost | IncEquipCost | InstalledCost | Volume | Channel | CostBasis | OtherRef1 | OtherRef2 | OtherRef3 | SectorName | CategoryName | IsDeleted | AddUser | AddDate | UpdateUser | UpdateDate | OrderID
9581 | RSFm0103RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 1 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 64.4417 | 135.662 | 11895.2 | 64.4417 | 147.9581 | 11895.2 | 4.8673 | -96.0545 | 0.64302 | 3 | 11 | 53 | 1 | 1 | 26 | 2 | 34 | Built 2001 and 2005 | Arcata | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 64.4417 | 135.662 | 11895.2 | 64.4417 | 11895.2 | 4.8673 | -96.0545 | 0.64302 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 1
9773 | RSFm0105RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 1 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 52.6215 | 99.9324 | 11908.1 | 52.6215 | 120.819 | 11908.1 | 3.4801 | -98.8497 | 0.54637 | 3 | 11 | 53 | 2 | 1 | 26 | 2 | 34 | Built 2005 and later - retrofits | Arcata | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 52.6215 | 99.9324 | 11908.1 | 52.6215 | 11908.1 | 3.4801 | -98.8497 | 0.54637 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 2
8974 | RSFm0175RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 1 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1591 | 115.636 | 211.32 | 33920.1 | 115.636 | 183.9769 | 33920.1 | 13.8971 | -62.6768 | 0.10939 | 3 | 11 | 53 | 3 | 1 | 26 | 2 | 34 | Built before 1978 | Arcata | Residential Single Family | Electricity | 1,000 sqft house | 1.591 | Night ventilation code baseline matches measure baseline | 115.636 | 211.32 | 33920.1 | 115.636 | 33920.1 | 13.8971 | -62.6768 | 0.10939 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 3
9197 | RSFm0185RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 1 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1904 | 34.2453 | 49.4302 | 14883.9 | 34.2453 | 65.2031 | 14883.9 | -0.23515 | -34.3428 | 0.26854 | 3 | 11 | 53 | 4 | 1 | 26 | 2 | 34 | Built between 1978 and 1992 | Arcata | Residential Single Family | Electricity | 1,000 sqft house | 1.904 | Night ventilation code baseline matches measure baseline | 34.2453 | 49.4302 | 14883.9 | 34.2453 | 14883.9 | -0.23515 | -34.3428 | 0.26854 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 4
9389 | RSFm0196RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 1 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2193 | 64.0856 | 136.521 | 11944.8 | 64.0856 | 140.5397 | 11944.8 | 5.2583 | -98.3019 | 0.80439 | 3 | 11 | 53 | 5 | 1 | 26 | 2 | 34 | Built between 1993 and 2000 | Arcata | Residential Single Family | Electricity | 1,000 sqft house | 2.193 | Night ventilation code baseline matches measure baseline | 64.0856 | 136.521 | 11944.8 | 64.0856 | 11944.8 | 5.2583 | -98.3019 | 0.80439 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 5
9965 | RSFm01NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 1 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 83.3909 | 125.068 | 11569.5 | 83.3909 | 191.4655 | 11569.5 | 4.4163 | -92.4749 | 0.70432 | 3 | 11 | 53 | 10 | 1 | 26 | 2 | 34 | Built 2005 and later – new construction | Arcata | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 83.3909 | 125.068 | 11569.5 | 83.3909 | 11569.5 | 4.4163 | -92.4749 | 0.70432 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 6
9587 | RSFm0203RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 2 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 183.754 | 369.507 | 10310.9 | 183.754 | 358.1365 | 10310.9 | 4.3591 | -48.8301 | 2.0207 | 3 | 11 | 53 | 1 | 2 | 26 | 2 | 34 | Built 2001 and 2005 | Santa Rosa | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 183.754 | 369.507 | 10310.9 | 183.754 | 10310.9 | 4.3591 | -48.8301 | 2.0207 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 7
9779 | RSFm0205RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 2 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 144.675 | 293.504 | 10330.5 | 144.675 | 281.9716 | 10330.5 | 3.2936 | -48.3301 | 1.6919 | 3 | 11 | 53 | 2 | 2 | 26 | 2 | 34 | Built 2005 and later - retrofits | Santa Rosa | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 144.675 | 293.504 | 10330.5 | 144.675 | 10330.5 | 3.2936 | -48.3301 | 1.6919 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 8
8981 | RSFm0275RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 2 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1591 | 1128.93 | 1377.85 | 31467.6 | 1128.93 | 1796.1276 | 31467.6 | 39.4991 | -116.313 | 0.3867 | 3 | 11 | 53 | 3 | 2 | 26 | 2 | 34 | Built before 1978 | Santa Rosa | Residential Single Family | Electricity | 1,000 sqft house | 1.591 | Night ventilation code baseline matches measure baseline | 1128.93 | 1377.85 | 31467.6 | 1128.93 | 31467.6 | 39.4991 | -116.313 | 0.3867 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 9
9203 | RSFm0285RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 2 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1904 | 424.987 | 681.848 | 12351 | 424.987 | 809.1752 | 12351 | 12.426 | -85.3313 | 6.5772 | 3 | 11 | 53 | 4 | 2 | 26 | 2 | 34 | Built between 1978 and 1992 | Santa Rosa | Residential Single Family | Electricity | 1,000 sqft house | 1.904 | Night ventilation code baseline matches measure baseline | 424.987 | 681.848 | 12351 | 424.987 | 12351 | 12.426 | -85.3313 | 6.5772 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 10
9395 | RSFm0296RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 2 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2193 | 605.443 | 670.987 | 10256.7 | 605.443 | 1327.7365 | 10256.7 | 30.6521 | -117.375 | 2.658 | 3 | 11 | 53 | 5 | 2 | 26 | 2 | 34 | Built between 1993 and 2000 | Santa Rosa | Residential Single Family | Electricity | 1,000 sqft house | 2.193 | Night ventilation code baseline matches measure baseline | 605.443 | 670.987 | 10256.7 | 605.443 | 10256.7 | 30.6521 | -117.375 | 2.658 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 11
9971 | RSFm02NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 2 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 212.692 | 424.612 | 10177.6 | 212.692 | 414.5367 | 10177.6 | 2.8793 | -50.0627 | 1.8487 | 3 | 11 | 53 | 10 | 2 | 26 | 2 | 34 | Built 2005 and later – new construction | Santa Rosa | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 212.692 | 424.612 | 10177.6 | 212.692 | 10177.6 | 2.8793 | -50.0627 | 1.8487 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 12
9593 | RSFm0303RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 3 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 245.213 | 355.852 | 7661.62 | 245.213 | 563.009 | 7661.62 | 35.3121 | -194.42 | 10.2831 | 3 | 11 | 53 | 1 | 3 | 26 | 2 | 34 | Built 2001 and 2005 | Oakland | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 245.213 | 355.852 | 7661.62 | 245.213 | 7661.62 | 35.3121 | -194.42 | 10.2831 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 13
9785 | RSFm0305RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 3 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 184.7 | 266.957 | 7672.95 | 184.7 | 424.0712 | 7672.95 | 26.4243 | -190.636 | 8.5026 | 3 | 11 | 53 | 2 | 3 | 26 | 2 | 34 | Built 2005 and later - retrofits | Oakland | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 184.7 | 266.957 | 7672.95 | 184.7 | 7672.95 | 26.4243 | -190.636 | 8.5026 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 14
8988 | RSFm0375RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 3 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1591 | 365.767 | 699.835 | 26464.6 | 365.767 | 581.9353 | 26464.6 | 45.9533 | -129.626 | 2.7222 | 3 | 11 | 53 | 3 | 3 | 26 | 2 | 34 | Built before 1978 | Oakland | Residential Single Family | Electricity | 1,000 sqft house | 1.591 | Night ventilation code baseline matches measure baseline | 365.767 | 699.835 | 26464.6 | 365.767 | 26464.6 | 45.9533 | -129.626 | 2.7222 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 15
9209 | RSFm0385RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 3 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1904 | 92.8286 | 264.37 | 9675.86 | 92.8286 | 176.7457 | 9675.86 | 7.5256 | -117.041 | 6.7131 | 3 | 11 | 53 | 4 | 3 | 26 | 2 | 34 | Built between 1978 and 1992 | Oakland | Residential Single Family | Electricity | 1,000 sqft house | 1.904 | Night ventilation code baseline matches measure baseline | 92.8286 | 264.37 | 9675.86 | 92.8286 | 9675.86 | 7.5256 | -117.041 | 6.7131 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 16
9401 | RSFm0396RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 3 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2193 | 248.973 | 357.684 | 7708.17 | 248.973 | 545.9978 | 7708.17 | 36.5301 | -196.441 | 10.9181 | 3 | 11 | 53 | 5 | 3 | 26 | 2 | 34 | Built between 1993 and 2000 | Oakland | Residential Single Family | Electricity | 1,000 sqft house | 2.193 | Night ventilation code baseline matches measure baseline | 248.973 | 357.684 | 7708.17 | 248.973 | 7708.17 | 36.5301 | -196.441 | 10.9181 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 17
9977 | RSFm03NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 3 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 233.035 | 324.571 | 7342 | 233.035 | 535.0484 | 7342 | 30.4546 | -188.728 | 10.3566 | 3 | 11 | 53 | 10 | 3 | 26 | 2 | 34 | Built 2005 and later – new construction | Oakland | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 233.035 | 324.571 | 7342 | 233.035 | 7342 | 30.4546 | -188.728 | 10.3566 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 18
9599 | RSFm0403RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 4 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 557.14 | 563.862 | 7157.44 | 557.139 | 1279.1911 | 7157.44 | 57.7807 | -89.5809 | 2.8114 | 3 | 11 | 53 | 1 | 4 | 26 | 2 | 34 | Built 2001 and 2005 | Sunnyvale | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 557.14 | 563.862 | 7157.44 | 557.139 | 7157.44 | 57.7807 | -89.5809 | 2.8114 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 19
9791 | RSFm0405RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 4 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 415.547 | 434.335 | 7164.88 | 415.547 | 954.0959 | 7164.88 | 41.6308 | -93.0329 | 2.7721 | 3 | 11 | 53 | 2 | 4 | 26 | 2 | 34 | Built 2005 and later - retrofits | Sunnyvale | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 415.547 | 434.335 | 7164.88 | 415.547 | 7164.88 | 41.6308 | -93.0329 | 2.7721 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 20
8995 | RSFm0475RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 4 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1591 | 950.349 | 1237.19 | 25523.8 | 950.349 | 1512.0053 | 25523.8 | 68.658 | -117.219 | 0.96996 | 3 | 11 | 53 | 3 | 4 | 26 | 2 | 34 | Built before 1978 | Sunnyvale | Residential Single Family | Electricity | 1,000 sqft house | 1.591 | Night ventilation code baseline matches measure baseline | 950.349 | 1237.19 | 25523.8 | 950.349 | 25523.8 | 68.658 | -117.219 | 0.96996 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 21
9215 | RSFm0485RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 4 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1904 | 331.303 | 588.808 | 9065.84 | 331.303 | 630.8009 | 9065.85 | 28.9525 | -82.8714 | 4.0333 | 3 | 11 | 53 | 4 | 4 | 26 | 2 | 34 | Built between 1978 and 1992 | Sunnyvale | Residential Single Family | Electricity | 1,000 sqft house | 1.904 | Night ventilation code baseline matches measure baseline | 331.303 | 588.808 | 9065.84 | 331.303 | 9065.85 | 28.9525 | -82.8714 | 4.0333 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 22
9407 | RSFm0496RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 4 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2193 | 556.7 | 568.528 | 7215.79 | 556.7 | 1220.8431 | 7215.79 | 55.3143 | -87.7138 | 6.4334 | 3 | 11 | 53 | 5 | 4 | 26 | 2 | 34 | Built between 1993 and 2000 | Sunnyvale | Residential Single Family | Electricity | 1,000 sqft house | 2.193 | Night ventilation code baseline matches measure baseline | 556.7 | 568.528 | 7215.79 | 556.7 | 7215.79 | 55.3143 | -87.7138 | 6.4334 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 23
9983 | RSFm04NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 4 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 494.451 | 514.23 | 6890.41 | 494.451 | 1135.2595 | 6890.41 | 46.2486 | -86.9472 | 2.4221 | 3 | 11 | 53 | 10 | 4 | 26 | 2 | 34 | Built 2005 and later – new construction | Sunnyvale | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 494.451 | 514.23 | 6890.41 | 494.451 | 6890.41 | 46.2486 | -86.9472 | 2.4221 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 24
9605 | RSFm0503RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 5 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 310.988 | 388.441 | 7146.63 | 310.988 | 714.0284 | 7146.63 | 37.3425 | -204.939 | -8.3931 | 3 | 11 | 53 | 1 | 5 | 26 | 2 | 34 | Built 2001 and 2005 | Santa Maria | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 310.988 | 388.441 | 7146.63 | 310.988 | 7146.63 | 37.3425 | -204.939 | -8.3931 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 25
9797 | RSFm0505RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 5 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 232.706 | 301.524 | 7155.31 | 232.706 | 534.293 | 7155.31 | 27.3609 | -200.631 | 11.0413 | 3 | 11 | 53 | 2 | 5 | 26 | 2 | 34 | Built 2005 and later - retrofits | Santa Maria | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 232.706 | 301.524 | 7155.31 | 232.706 | 7155.31 | 27.3609 | -200.631 | 11.0413 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 26
9002 | RSFm0575RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 5 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1591 | 449.289 | 741.395 | 25685.4 | 449.289 | 714.8188 | 25685.4 | 47.3499 | -141.975 | 0.11731 | 3 | 11 | 53 | 3 | 5 | 26 | 2 | 34 | Built before 1978 | Santa Maria | Residential Single Family | Electricity | 1,000 sqft house | 1.591 | Night ventilation code baseline matches measure baseline | 449.289 | 741.395 | 25685.4 | 449.289 | 25685.4 | 47.3499 | -141.975 | 0.11731 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 27
9221 | RSFm0585RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 5 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1904 | 106.124 | 302.741 | 8915.26 | 106.124 | 202.0601 | 8915.26 | 5.6095 | -121.65 | 49.3942 | 3 | 11 | 53 | 4 | 5 | 26 | 2 | 34 | Built between 1978 and 1992 | Santa Maria | Residential Single Family | Electricity | 1,000 sqft house | 1.904 | Night ventilation code baseline matches measure baseline | 106.124 | 302.741 | 8915.26 | 106.124 | 8915.26 | 5.6095 | -121.65 | 49.3942 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 28
9413 | RSFm0596RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 5 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2193 | 312.978 | 400.946 | 7207.89 | 312.978 | 686.3608 | 7207.89 | 39.2659 | -190.468 | 25.1898 | 3 | 11 | 53 | 5 | 5 | 26 | 2 | 34 | Built between 1993 and 2000 | Santa Maria | Residential Single Family | Electricity | 1,000 sqft house | 2.193 | Night ventilation code baseline matches measure baseline | 312.978 | 400.946 | 7207.89 | 312.978 | 7207.89 | 39.2659 | -190.468 | 25.1898 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 29
9989 | RSFm05NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 5 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 295.54 | 405.445 | 6851.89 | 295.54 | 678.5598 | 6851.89 | 32.5877 | -197.152 | 10.3583 | 3 | 11 | 53 | 10 | 5 | 26 | 2 | 34 | Built 2005 and later – new construction | Santa Maria | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 295.54 | 405.445 | 6851.89 | 295.54 | 6851.89 | 32.5877 | -197.152 | 10.3583 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 30
9611 | RSFm0603RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 6 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2393 | 459.561 | 283.981 | 4316.16 | 459.561 | 1099.7295 | 4316.16 | 75.8299 | -109.359 | 24.9415 | 3 | 11 | 53 | 1 | 6 | 26 | 2 | 34 | Built 2001 and 2005 | Long Beach | Residential Single Family | Electricity | 1,000 sqft house | 2.393 | Night ventilation code baseline matches measure baseline | 459.561 | 283.981 | 4316.16 | 459.561 | 4316.16 | 75.8299 | -109.359 | 24.9415 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 31
9803 | RSFm0605RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 6 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2393 | 339.918 | 213.429 | 4321.14 | 339.918 | 813.4238 | 4321.14 | 56.2134 | -110.015 | 18.7156 | 3 | 11 | 53 | 2 | 6 | 26 | 2 | 34 | Built 2005 and later - retrofits | Long Beach | Residential Single Family | Electricity | 1,000 sqft house | 2.393 | Night ventilation code baseline matches measure baseline | 339.918 | 213.429 | 4321.14 | 339.918 | 4321.14 | 56.2134 | -110.015 | 18.7156 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 32
9009 | RSFm0675RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 6 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1528 | 682.624 | 475.898 | 15079.2 | 682.624 | 1043.0495 | 15079.2 | 115.508 | -135.435 | 103.254 | 3 | 11 | 53 | 3 | 6 | 26 | 2 | 34 | Built before 1978 | Long Beach | Residential Single Family | Electricity | 1,000 sqft house | 1.528 | Night ventilation code baseline matches measure baseline | 682.624 | 475.898 | 15079.2 | 682.624 | 15079.2 | 115.508 | -135.435 | 103.254 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 33
9227 | RSFm0685RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 6 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2064 | 237.847 | 195.805 | 6870.78 | 237.847 | 490.9162 | 6870.78 | 37.9906 | -110.716 | 35.0815 | 3 | 11 | 53 | 4 | 6 | 26 | 2 | 34 | Built between 1978 and 1992 | Long Beach | Residential Single Family | Electricity | 1,000 sqft house | 2.064 | Night ventilation code baseline matches measure baseline | 237.847 | 195.805 | 6870.78 | 237.847 | 6870.78 | 37.9906 | -110.716 | 35.0815 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 34
9419 | RSFm0696RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 6 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2297 | 465.067 | 271.982 | 4359.76 | 465.067 | 1068.2589 | 4359.76 | 84.4644 | -110.221 | 44.6458 | 3 | 11 | 53 | 5 | 6 | 26 | 2 | 34 | Built between 1993 and 2000 | Long Beach | Residential Single Family | Electricity | 1,000 sqft house | 2.297 | Night ventilation code baseline matches measure baseline | 465.067 | 271.982 | 4359.76 | 465.067 | 4359.76 | 84.4644 | -110.221 | 44.6458 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 35
9995 | RSFm06NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 6 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2393 | 397.618 | 225.327 | 4156.04 | 397.618 | 951.4999 | 4156.04 | 65.6317 | -104.045 | 4.7737 | 3 | 11 | 53 | 10 | 6 | 26 | 2 | 34 | Built 2005 and later – new construction | Long Beach | Residential Single Family | Electricity | 1,000 sqft house | 2.393 | Night ventilation code baseline matches measure baseline | 397.618 | 225.327 | 4156.04 | 397.618 | 4156.04 | 65.6317 | -104.045 | 4.7737 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 36
9617 | RSFm0703RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 7 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2393 | 537.972 | 441.54 | 3373.16 | 537.972 | 1287.367 | 3373.16 | 57.8619 | -61.078 | 18.1239 | 3 | 11 | 53 | 1 | 7 | 26 | 2 | 34 | Built 2001 and 2005 | San Diego | Residential Single Family | Electricity | 1,000 sqft house | 2.393 | Night ventilation code baseline matches measure baseline | 537.972 | 441.54 | 3373.16 | 537.972 | 3373.16 | 57.8619 | -61.078 | 18.1239 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 37
9809 | RSFm0705RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 7 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2393 | 399.514 | 336.646 | 3379.28 | 399.514 | 956.037 | 3379.28 | 39.1822 | -61.4063 | 20.4009 | 3 | 11 | 53 | 2 | 7 | 26 | 2 | 34 | Built 2005 and later - retrofits | San Diego | Residential Single Family | Electricity | 1,000 sqft house | 2.393 | Night ventilation code baseline matches measure baseline | 399.514 | 336.646 | 3379.28 | 399.514 | 3379.28 | 39.1822 | -61.4063 | 20.4009 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 38
9016 | RSFm0775RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 7 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1528 | 822.508 | 793.87 | 12322.2 | 822.508 | 1256.7922 | 12322.2 | 71.2794 | -94.6524 | 36.7572 | 3 | 11 | 53 | 3 | 7 | 26 | 2 | 34 | Built before 1978 | San Diego | Residential Single Family | Electricity | 1,000 sqft house | 1.528 | Night ventilation code baseline matches measure baseline | 822.508 | 793.87 | 12322.2 | 822.508 | 12322.2 | 71.2794 | -94.6524 | 36.7572 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 39
9233 | RSFm0785RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 7 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2064 | 336.058 | 410.968 | 5371.17 | 336.058 | 693.6237 | 5371.17 | 42.1105 | -54.0412 | 5.8735 | 3 | 11 | 53 | 4 | 7 | 26 | 2 | 34 | Built between 1978 and 1992 | San Diego | Residential Single Family | Electricity | 1,000 sqft house | 2.064 | Night ventilation code baseline matches measure baseline | 336.058 | 410.968 | 5371.17 | 336.058 | 5371.17 | 42.1105 | -54.0412 | 5.8735 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 40
9425 | RSFm0796RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 7 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2297 | 540.404 | 432.939 | 3406.23 | 540.404 | 1241.308 | 3406.23 | 60.0313 | -61.9448 | 2.4048 | 3 | 11 | 53 | 5 | 7 | 26 | 2 | 34 | Built between 1993 and 2000 | San Diego | Residential Single Family | Electricity | 1,000 sqft house | 2.297 | Night ventilation code baseline matches measure baseline | 540.404 | 432.939 | 3406.23 | 540.404 | 3406.23 | 60.0313 | -61.9448 | 2.4048 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 41
10001 | RSFm07NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 7 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2393 | 466.181 | 389.309 | 3249.06 | 466.181 | 1115.5711 | 3249.06 | 46.9139 | -59.4787 | 24.8965 | 3 | 11 | 53 | 10 | 7 | 26 | 2 | 34 | Built 2005 and later – new construction | San Diego | Residential Single Family | Electricity | 1,000 sqft house | 2.393 | Night ventilation code baseline matches measure baseline | 466.181 | 389.309 | 3249.06 | 466.181 | 3249.06 | 46.9139 | -59.4787 | 24.8965 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 42
9623 | RSFm0803RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 8 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2393 | 766.321 | 705.843 | 4089.7 | 766.321 | 1833.8062 | 4089.7 | 45.5011 | -50.6041 | 1.6822 | 3 | 11 | 53 | 1 | 8 | 26 | 2 | 34 | Built 2001 and 2005 | El Toro | Residential Single Family | Electricity | 1,000 sqft house | 2.393 | Night ventilation code baseline matches measure baseline | 766.321 | 705.843 | 4089.7 | 766.321 | 4089.7 | 45.5011 | -50.6041 | 1.6822 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 43
9815 | RSFm0805RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 8 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2393 | 575.439 | 575.089 | 4097.38 | 575.439 | 1377.0255 | 4097.38 | 34.1769 | -50.2079 | 1.3507 | 3 | 11 | 53 | 2 | 8 | 26 | 2 | 34 | Built 2005 and later - retrofits | El Toro | Residential Single Family | Electricity | 1,000 sqft house | 2.393 | Night ventilation code baseline matches measure baseline | 575.439 | 575.089 | 4097.38 | 575.439 | 4097.38 | 34.1769 | -50.2079 | 1.3507 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 44
9023 | RSFm0875RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 8 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1528 | 1270.38 | 1285.98 | 14166.9 | 1270.38 | 1941.1406 | 14166.9 | 75.4742 | -103.087 | 0.53094 | 3 | 11 | 53 | 3 | 8 | 26 | 2 | 34 | Built before 1978 | El Toro | Residential Single Family | Electricity | 1,000 sqft house | 1.528 | Night ventilation code baseline matches measure baseline | 1270.38 | 1285.98 | 14166.9 | 1270.38 | 14166.9 | 75.4742 | -103.087 | 0.53094 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 45
9239 | RSFm0885RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 8 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2064 | 587.199 | 738.296 | 6216.47 | 587.199 | 1211.9787 | 6216.47 | 33.432 | -58.0004 | 2.5889 | 3 | 11 | 53 | 4 | 8 | 26 | 2 | 34 | Built between 1978 and 1992 | El Toro | Residential Single Family | Electricity | 1,000 sqft house | 2.064 | Night ventilation code baseline matches measure baseline | 587.199 | 738.296 | 6216.47 | 587.199 | 6216.47 | 33.432 | -58.0004 | 2.5889 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 46
9431 | RSFm0896RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 8 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2297 | 770.75 | 710.639 | 4131.87 | 770.75 | 1770.4127 | 4131.87 | 46.735 | -50.9832 | 3.2249 | 3 | 11 | 53 | 5 | 8 | 26 | 2 | 34 | Built between 1993 and 2000 | El Toro | Residential Single Family | Electricity | 1,000 sqft house | 2.297 | Night ventilation code baseline matches measure baseline | 770.75 | 710.639 | 4131.87 | 770.75 | 4131.87 | 46.735 | -50.9832 | 3.2249 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 47
10007 | RSFm08NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 8 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2393 | 693.467 | 736.174 | 3941.83 | 693.467 | 1659.4665 | 3941.83 | 41.1605 | -44.575 | 1.4943 | 3 | 11 | 53 | 10 | 8 | 26 | 2 | 34 | Built 2005 and later – new construction | El Toro | Residential Single Family | Electricity | 1,000 sqft house | 2.393 | Night ventilation code baseline matches measure baseline | 693.467 | 736.174 | 3941.83 | 693.467 | 3941.83 | 41.1605 | -44.575 | 1.4943 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 48
9629 | RSFm0903RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 9 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2423 | 400.98 | 541.607 | 5788.68 | 400.98 | 971.5745 | 5788.68 | 6.5081 | -34.8125 | 1.7791 | 3 | 11 | 53 | 1 | 9 | 26 | 2 | 34 | Built 2001 and 2005 | Burbank | Residential Single Family | Electricity | 1,000 sqft house | 2.423 | Night ventilation code baseline matches measure baseline | 400.98 | 541.607 | 5788.68 | 400.98 | 5788.68 | 6.5081 | -34.8125 | 1.7791 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 49
9821 | RSFm0905RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 9 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2423 | 303.378 | 436.146 | 5800.93 | 303.378 | 735.0849 | 5800.93 | 3.6435 | -35.6306 | 1.4652 | 3 | 11 | 53 | 2 | 9 | 26 | 2 | 34 | Built 2005 and later - retrofits | Burbank | Residential Single Family | Electricity | 1,000 sqft house | 2.423 | Night ventilation code baseline matches measure baseline | 303.378 | 436.146 | 5800.93 | 303.378 | 5800.93 | 3.6435 | -35.6306 | 1.4652 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 50
9030 | RSFm0975RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 9 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1636 | 1476.76 | 1416.4 | 14788.8 | 1476.76 | 2415.9794 | 14788.8 | 36.1479 | -85.4826 | 0.4356 | 3 | 11 | 53 | 3 | 9 | 26 | 2 | 34 | Built before 1978 | Burbank | Residential Single Family | Electricity | 1,000 sqft house | 1.636 | Night ventilation code baseline matches measure baseline | 1476.76 | 1416.4 | 14788.8 | 1476.76 | 14788.8 | 36.1479 | -85.4826 | 0.4356 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 51
9245 | RSFm0985RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 9 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1811 | 1049.59 | 1064.88 | 7392.51 | 1049.59 | 1900.8075 | 7392.51 | 27.191 | -41.2432 | 2.4568 | 3 | 11 | 53 | 4 | 9 | 26 | 2 | 34 | Built between 1978 and 1992 | Burbank | Residential Single Family | Electricity | 1,000 sqft house | 1.811 | Night ventilation code baseline matches measure baseline | 1049.59 | 1064.88 | 7392.51 | 1049.59 | 7392.51 | 27.191 | -41.2432 | 2.4568 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 52
9437 | RSFm0996RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 9 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2186 | 680.918 | 690.671 | 4993.39 | 680.918 | 1488.4867 | 4993.39 | 15.7917 | -33.3103 | 2.7011 | 3 | 11 | 53 | 5 | 9 | 26 | 2 | 34 | Built between 1993 and 2000 | Burbank | Residential Single Family | Electricity | 1,000 sqft house | 2.186 | Night ventilation code baseline matches measure baseline | 680.918 | 690.671 | 4993.39 | 680.918 | 4993.39 | 15.7917 | -33.3103 | 2.7011 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 53
10013 | RSFm09NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 9 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2423 | 386.505 | 544.897 | 5498.01 | 386.505 | 936.5016 | 5498.01 | 6.8677 | -33.792 | 0.45765 | 3 | 11 | 53 | 10 | 9 | 26 | 2 | 34 | Built 2005 and later – new construction | Burbank | Residential Single Family | Electricity | 1,000 sqft house | 2.423 | Night ventilation code baseline matches measure baseline | 386.505 | 544.897 | 5498.01 | 386.505 | 5498.01 | 6.8677 | -33.792 | 0.45765 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 54
9635 | RSFm1003RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 10 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 431.729 | 548.796 | 4497.35 | 431.729 | 841.4398 | 4497.35 | 7.8675 | -17.1713 | 3.3951 | 3 | 11 | 53 | 1 | 10 | 26 | 2 | 34 | Built 2001 and 2005 | Riverside | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 431.729 | 548.796 | 4497.35 | 431.729 | 4497.35 | 7.8675 | -17.1713 | 3.3951 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 55
9827 | RSFm1005RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 10 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 331.259 | 443.466 | 4508.61 | 331.259 | 645.6238 | 4508.61 | 5.8641 | -17.5315 | 2.7429 | 3 | 11 | 53 | 2 | 10 | 26 | 2 | 34 | Built 2005 and later - retrofits | Riverside | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 331.259 | 443.466 | 4508.61 | 331.259 | 4508.61 | 5.8641 | -17.5315 | 2.7429 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 56
9037 | RSFm1075RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 10 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1636 | 1863.97 | 1746.44 | 16882.6 | 1863.97 | 3049.4549 | 16882.6 | 24.924 | -72.4363 | 0.56379 | 3 | 11 | 53 | 3 | 10 | 26 | 2 | 34 | Built before 1978 | Riverside | Residential Single Family | Electricity | 1,000 sqft house | 1.636 | Night ventilation code baseline matches measure baseline | 1863.97 | 1746.44 | 16882.6 | 1863.97 | 16882.6 | 24.924 | -72.4363 | 0.56379 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 57
9251 | RSFm1085RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 10 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1811 | 1312 | 1282.19 | 8846.15 | 1312 | 2376.032 | 8846.15 | 17.7127 | -46.8685 | 2.7915 | 3 | 11 | 53 | 4 | 10 | 26 | 2 | 34 | Built between 1978 and 1992 | Riverside | Residential Single Family | Electricity | 1,000 sqft house | 1.811 | Night ventilation code baseline matches measure baseline | 1312 | 1282.19 | 8846.15 | 1312 | 8846.15 | 17.7127 | -46.8685 | 2.7915 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 58
9443 | RSFm1096RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 10 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2186 | 845.221 | 805.197 | 6099.74 | 845.221 | 1847.6531 | 6099.74 | 16.1114 | -40.2133 | 1.2507 | 3 | 11 | 53 | 5 | 10 | 26 | 2 | 34 | Built between 1993 and 2000 | Riverside | Residential Single Family | Electricity | 1,000 sqft house | 2.186 | Night ventilation code baseline matches measure baseline | 845.221 | 805.197 | 6099.74 | 845.221 | 6099.74 | 16.1114 | -40.2133 | 1.2507 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 59
10019 | RSFm10NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 10 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 444.663 | 602.652 | 4415.72 | 444.663 | 866.6482 | 4415.72 | 5.805 | -14.1013 | 0.81704 | 3 | 11 | 53 | 10 | 10 | 26 | 2 | 34 | Built 2005 and later – new construction | Riverside | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 444.663 | 602.652 | 4415.72 | 444.663 | 4415.72 | 5.805 | -14.1013 | 0.81704 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 60
9641 | RSFm1103RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 11 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 455.699 | 498.791 | 9752.6 | 455.699 | 888.1574 | 9752.6 | 6.5795 | -18.3498 | 2.0749 | 3 | 11 | 53 | 1 | 11 | 26 | 2 | 34 | Built 2001 and 2005 | Red Bluff | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 455.699 | 498.791 | 9752.6 | 455.699 | 9752.6 | 6.5795 | -18.3498 | 2.0749 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 61
9833 | RSFm1105RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 11 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 358.722 | 407.405 | 9772.64 | 358.722 | 699.1492 | 9772.64 | 5.3765 | -16.6331 | 1.8005 | 3 | 11 | 53 | 2 | 11 | 26 | 2 | 34 | Built 2005 and later - retrofits | Red Bluff | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 358.722 | 407.405 | 9772.64 | 358.722 | 9772.64 | 5.3765 | -16.6331 | 1.8005 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 62
9044 | RSFm1175RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 11 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1528 | 1773.84 | 1693.9 | 27649.6 | 1773.84 | 2710.4275 | 27649.6 | 24.3727 | -70.3176 | 0.32339 | 3 | 11 | 53 | 3 | 11 | 26 | 2 | 34 | Built before 1978 | Red Bluff | Residential Single Family | Electricity | 1,000 sqft house | 1.528 | Night ventilation code baseline matches measure baseline | 1773.84 | 1693.9 | 27649.6 | 1773.84 | 27649.6 | 24.3727 | -70.3176 | 0.32339 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 63
9257 | RSFm1185RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 11 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1704 | 1217.51 | 1155.67 | 16176.1 | 1217.51 | 2074.637 | 16176.1 | 26.7194 | -41.2426 | 2.3926 | 3 | 11 | 53 | 4 | 11 | 26 | 2 | 34 | Built between 1978 and 1992 | Red Bluff | Residential Single Family | Electricity | 1,000 sqft house | 1.704 | Night ventilation code baseline matches measure baseline | 1217.51 | 1155.67 | 16176.1 | 1217.51 | 16176.1 | 26.7194 | -41.2426 | 2.3926 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 64
9449 | RSFm1196RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 11 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2032 | 649.299 | 623.837 | 8805.21 | 649.299 | 1319.3756 | 8805.21 | 14.2176 | -21.3075 | 2.9482 | 3 | 11 | 53 | 5 | 11 | 26 | 2 | 34 | Built between 1993 and 2000 | Red Bluff | Residential Single Family | Electricity | 1,000 sqft house | 2.032 | Night ventilation code baseline matches measure baseline | 649.299 | 623.837 | 8805.21 | 649.299 | 8805.21 | 14.2176 | -21.3075 | 2.9482 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 65
10025 | RSFm11NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 11 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 498.806 | 593.363 | 9544.27 | 498.806 | 972.1729 | 9544.27 | 6.4013 | -15.4236 | 1.4024 | 3 | 11 | 53 | 10 | 11 | 26 | 2 | 34 | Built 2005 and later – new construction | Red Bluff | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 498.806 | 593.363 | 9544.27 | 498.806 | 9544.27 | 6.4013 | -15.4236 | 1.4024 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 66
9647 | RSFm1203RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 12 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 328.397 | 444.03 | 9332.95 | 328.397 | 640.0458 | 9332.95 | 8.219 | -26.7725 | 3.9603 | 3 | 11 | 53 | 1 | 12 | 26 | 2 | 34 | Built 2001 and 2005 | Sacramento | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 328.397 | 444.03 | 9332.95 | 328.397 | 9332.95 | 8.219 | -26.7725 | 3.9603 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 67
9839 | RSFm1205RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 12 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 252.313 | 355.178 | 9356.34 | 252.313 | 491.758 | 9356.34 | 5.9869 | -25.0589 | 3.1279 | 3 | 11 | 53 | 2 | 12 | 26 | 2 | 34 | Built 2005 and later - retrofits | Sacramento | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 252.313 | 355.178 | 9356.34 | 252.313 | 9356.34 | 5.9869 | -25.0589 | 3.1279 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 68
9051 | RSFm1275RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 12 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1528 | 1485.01 | 1570.64 | 27240.9 | 1485.01 | 2269.0953 | 27240.9 | 35.1543 | -84.8868 | 0.65301 | 3 | 11 | 53 | 3 | 12 | 26 | 2 | 34 | Built before 1978 | Sacramento | Residential Single Family | Electricity | 1,000 sqft house | 1.528 | Night ventilation code baseline matches measure baseline | 1485.01 | 1570.64 | 27240.9 | 1485.01 | 27240.9 | 35.1543 | -84.8868 | 0.65301 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 69
9263 | RSFm1285RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 12 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1704 | 997.118 | 1075.32 | 15355.5 | 997.118 | 1699.0891 | 15355.5 | 30.3873 | -66.9415 | 2.5448 | 3 | 11 | 53 | 4 | 12 | 26 | 2 | 34 | Built between 1978 and 1992 | Sacramento | Residential Single Family | Electricity | 1,000 sqft house | 1.704 | Night ventilation code baseline matches measure baseline | 997.118 | 1075.32 | 15355.5 | 997.118 | 15355.5 | 30.3873 | -66.9415 | 2.5448 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 70
9455 | RSFm1296RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 12 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2032 | 511.188 | 567.543 | 8252.5 | 511.188 | 1038.734 | 8252.5 | 18.7252 | -36.3943 | 3.1538 | 3 | 11 | 53 | 5 | 12 | 26 | 2 | 34 | Built between 1993 and 2000 | Sacramento | Residential Single Family | Electricity | 1,000 sqft house | 2.032 | Night ventilation code baseline matches measure baseline | 511.188 | 567.543 | 8252.5 | 511.188 | 8252.5 | 18.7252 | -36.3943 | 3.1538 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 71
10031 | RSFm12NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 12 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 340.174 | 497.868 | 9180.17 | 340.174 | 662.9991 | 9180.17 | 6.9538 | -31.9735 | 3.5807 | 3 | 11 | 53 | 10 | 12 | 26 | 2 | 34 | Built 2005 and later – new construction | Sacramento | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 340.174 | 497.868 | 9180.17 | 340.174 | 9180.17 | 6.9538 | -31.9735 | 3.5807 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 72
9653 | RSFm1303RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 13 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 672.619 | 614.064 | 7027.46 | 672.619 | 1310.9344 | 7027.46 | 11.8365 | -6.2046 | 3.5563 | 3 | 11 | 53 | 1 | 13 | 26 | 2 | 34 | Built 2001 and 2005 | Fresno | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 672.619 | 614.064 | 7027.46 | 672.619 | 7027.46 | 11.8365 | -6.2046 | 3.5563 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 73
9845 | RSFm1305RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 13 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 521.866 | 496.21 | 7046.16 | 521.866 | 1017.1168 | 7046.16 | 9.1738 | -6.3935 | 2.9074 | 3 | 11 | 53 | 2 | 13 | 26 | 2 | 34 | Built 2005 and later - retrofits | Fresno | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 521.866 | 496.21 | 7046.16 | 521.866 | 7046.16 | 9.1738 | -6.3935 | 2.9074 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 74
9058 | RSFm1375RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 13 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1528 | 2394.05 | 1831.24 | 20718.8 | 2394.05 | 3658.1084 | 20718.8 | 21.811 | -31.838 | 0.55874 | 3 | 11 | 53 | 3 | 13 | 26 | 2 | 34 | Built before 1978 | Fresno | Residential Single Family | Electricity | 1,000 sqft house | 1.528 | Night ventilation code baseline matches measure baseline | 2394.05 | 1831.24 | 20718.8 | 2394.05 | 20718.8 | 21.811 | -31.838 | 0.55874 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 75
9269 | RSFm1385RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 13 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1704 | 1691.55 | 1326.46 | 11571.7 | 1691.55 | 2882.4012 | 11571.7 | 33.7891 | -16.2439 | 1.7712 | 3 | 11 | 53 | 4 | 13 | 26 | 2 | 34 | Built between 1978 and 1992 | Fresno | Residential Single Family | Electricity | 1,000 sqft house | 1.704 | Night ventilation code baseline matches measure baseline | 1691.55 | 1326.46 | 11571.7 | 1691.55 | 11571.7 | 33.7891 | -16.2439 | 1.7712 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 76
9461 | RSFm1396RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 13 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2032 | 917.226 | 734.939 | 6144.25 | 917.226 | 1863.8032 | 6144.25 | 20.3641 | -8.4224 | 4.4602 | 3 | 11 | 53 | 5 | 13 | 26 | 2 | 34 | Built between 1993 and 2000 | Fresno | Residential Single Family | Electricity | 1,000 sqft house | 2.032 | Night ventilation code baseline matches measure baseline | 917.226 | 734.939 | 6144.25 | 917.226 | 6144.25 | 20.3641 | -8.4224 | 4.4602 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 77
10037 | RSFm13NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 13 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1949 | 682.793 | 634.016 | 6872.73 | 682.793 | 1330.7636 | 6872.73 | 10.3847 | -6.0322 | 0.40009 | 3 | 11 | 53 | 10 | 13 | 26 | 2 | 34 | Built 2005 and later – new construction | Fresno | Residential Single Family | Electricity | 1,000 sqft house | 1.949 | Night ventilation code baseline matches measure baseline | 682.793 | 634.016 | 6872.73 | 682.793 | 6872.73 | 10.3847 | -6.0322 | 0.40009 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 78
9659 | RSFm1403RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 14 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2161 | 586.279 | 633.297 | 8554.53 | 586.279 | 1266.9489 | 8554.53 | 12.0175 | -13.22 | 4.5015 | 3 | 11 | 53 | 1 | 14 | 26 | 2 | 34 | Built 2001 and 2005 | China Lake | Residential Single Family | Electricity | 1,000 sqft house | 2.161 | Night ventilation code baseline matches measure baseline | 586.279 | 633.297 | 8554.53 | 586.279 | 8554.53 | 12.0175 | -13.22 | 4.5015 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 79
9851 | RSFm1405RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 14 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2161 | 471.862 | 531.988 | 8561.13 | 471.862 | 1019.6938 | 8561.13 | 9.5255 | -12.8684 | 4.0188 | 3 | 11 | 53 | 2 | 14 | 26 | 2 | 34 | Built 2005 and later - retrofits | China Lake | Residential Single Family | Electricity | 1,000 sqft house | 2.161 | Night ventilation code baseline matches measure baseline | 471.862 | 531.988 | 8561.13 | 471.862 | 8561.13 | 9.5255 | -12.8684 | 4.0188 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 80
9065 | RSFm1475RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 14 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1555 | 2642.76 | 2305.34 | 28046.8 | 2642.76 | 4109.4918 | 28046.8 | 29.2526 | -47.8648 | 0.17506 | 3 | 11 | 53 | 3 | 14 | 26 | 2 | 34 | Built before 1978 | China Lake | Residential Single Family | Electricity | 1,000 sqft house | 1.555 | Night ventilation code baseline matches measure baseline | 2642.76 | 2305.34 | 28046.8 | 2642.76 | 28046.8 | 29.2526 | -47.8648 | 0.17506 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 81
9275 | RSFm1485RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 14 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1741 | 1396.93 | 1362.58 | 14012.6 | 1396.93 | 2432.0551 | 14012.6 | 27.0978 | -34.5157 | 4.4722 | 3 | 11 | 53 | 4 | 14 | 26 | 2 | 34 | Built between 1978 and 1992 | China Lake | Residential Single Family | Electricity | 1,000 sqft house | 1.741 | Night ventilation code baseline matches measure baseline | 1396.93 | 1362.58 | 14012.6 | 1396.93 | 14012.6 | 27.0978 | -34.5157 | 4.4722 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 82
9467 | RSFm1496RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 14 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1758 | 687.836 | 703.745 | 8389.36 | 687.836 | 1209.2157 | 8389.36 | 14.3859 | -13.4291 | 6.6031 | 3 | 11 | 53 | 5 | 14 | 26 | 2 | 34 | Built between 1993 and 2000 | China Lake | Residential Single Family | Electricity | 1,000 sqft house | 1.758 | Night ventilation code baseline matches measure baseline | 687.836 | 703.745 | 8389.36 | 687.836 | 8389.36 | 14.3859 | -13.4291 | 6.6031 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 83
10043 | RSFm14NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 14 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2161 | 669.795 | 698.365 | 8601.84 | 669.795 | 1447.427 | 8601.84 | 10.1853 | -14.281 | 0.51274 | 3 | 11 | 53 | 10 | 14 | 26 | 2 | 34 | Built 2005 and later – new construction | China Lake | Residential Single Family | Electricity | 1,000 sqft house | 2.161 | Night ventilation code baseline matches measure baseline | 669.795 | 698.365 | 8601.84 | 669.795 | 8601.84 | 10.1853 | -14.281 | 0.51274 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 84
9665 | RSFm1503RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 15 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2161 | 1510.98 | 921.441 | 1642.94 | 1510.98 | 3265.2278 | 1642.94 | 10.9638 | -0.11648 | -0.083376 | 3 | 11 | 53 | 1 | 15 | 26 | 2 | 34 | Built 2001 and 2005 | El Centro | Residential Single Family | Electricity | 1,000 sqft house | 2.161 | Night ventilation code baseline matches measure baseline | 1510.98 | 921.441 | 1642.94 | 1510.98 | 1642.94 | 10.9638 | -0.11648 | -0.083376 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 85
9857 | RSFm1505RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 15 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2161 | 1201.4 | 771.142 | 1646.37 | 1201.4 | 2596.2254 | 1646.37 | 8.8028 | -0.11625 | -0.1088 | 3 | 11 | 53 | 2 | 15 | 26 | 2 | 34 | Built 2005 and later - retrofits | El Centro | Residential Single Family | Electricity | 1,000 sqft house | 2.161 | Night ventilation code baseline matches measure baseline | 1201.4 | 771.142 | 1646.37 | 1201.4 | 1646.37 | 8.8028 | -0.11625 | -0.1088 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 86
9072 | RSFm1575RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 15 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1555 | 5188.44 | 2798.89 | 11256.4 | 5188.44 | 8068.0242 | 11256.4 | 7.8411 | -7.6279 | 0.039879 | 3 | 11 | 53 | 3 | 15 | 26 | 2 | 34 | Built before 1978 | El Centro | Residential Single Family | Electricity | 1,000 sqft house | 1.555 | Night ventilation code baseline matches measure baseline | 5188.44 | 2798.89 | 11256.4 | 5188.44 | 11256.4 | 7.8411 | -7.6279 | 0.039879 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 87
9281 | RSFm1585RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 15 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1741 | 3050.98 | 1747.21 | 3857.95 | 3050.98 | 5311.7562 | 3857.95 | 12.5388 | -1.3412 | -0.01192 | 3 | 11 | 53 | 4 | 15 | 26 | 2 | 34 | Built between 1978 and 1992 | El Centro | Residential Single Family | Electricity | 1,000 sqft house | 1.741 | Night ventilation code baseline matches measure baseline | 3050.98 | 1747.21 | 3857.95 | 3050.98 | 3857.95 | 12.5388 | -1.3412 | -0.01192 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 88
9473 | RSFm1596RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 15 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1758 | 1713.02 | 1011.68 | 1563.04 | 1713.02 | 3011.4892 | 1563.04 | 12.4152 | -0.14735 | -0.14665 | 3 | 11 | 53 | 5 | 15 | 26 | 2 | 34 | Built between 1993 and 2000 | El Centro | Residential Single Family | Electricity | 1,000 sqft house | 1.758 | Night ventilation code baseline matches measure baseline | 1713.02 | 1011.68 | 1563.04 | 1713.02 | 1563.04 | 12.4152 | -0.14735 | -0.14665 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 89
10049 | RSFm15NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 15 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2161 | 1534.49 | 862.658 | 1652.32 | 1534.49 | 3316.0329 | 1652.32 | 10.2858 | -0.12314 | -0.00022595 | 3 | 11 | 53 | 10 | 15 | 26 | 2 | 34 | Built 2005 and later – new construction | El Centro | Residential Single Family | Electricity | 1,000 sqft house | 2.161 | Night ventilation code baseline matches measure baseline | 1534.49 | 862.658 | 1652.32 | 1534.49 | 1652.32 | 10.2858 | -0.12314 | -0.00022595 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 90
9671 | RSFm1603RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 3 | 16 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 401.594 | 556.353 | 19131 | 401.594 | 922.0598 | 19131 | 35.1045 | -101.493 | 2.8089 | 3 | 11 | 53 | 1 | 16 | 26 | 2 | 34 | Built 2001 and 2005 | Mt. Shasta | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 401.594 | 556.353 | 19131 | 401.594 | 19131 | 35.1045 | -101.493 | 2.8089 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 91
9863 | RSFm1605RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 5 | 16 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 316.452 | 452.22 | 19093.7 | 316.452 | 726.5738 | 19093.7 | 25.63 | -103.589 | 2.3559 | 3 | 11 | 53 | 2 | 16 | 26 | 2 | 34 | Built 2005 and later - retrofits | Mt. Shasta | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 316.452 | 452.22 | 19093.7 | 316.452 | 19093.7 | 25.63 | -103.589 | 2.3559 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 92
9079 | RSFm1675RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 75 | 16 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1591 | 743.209 | 1114.39 | 51710.6 | 743.209 | 1182.4455 | 51710.6 | 40.0612 | -104.077 | 0.49542 | 3 | 11 | 53 | 3 | 16 | 26 | 2 | 34 | Built before 1978 | Mt. Shasta | Residential Single Family | Electricity | 1,000 sqft house | 1.591 | Night ventilation code baseline matches measure baseline | 743.209 | 1114.39 | 51710.6 | 743.209 | 51710.6 | 40.0612 | -104.077 | 0.49542 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 93
9287 | RSFm1685RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 85 | 16 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 1904 | 272.681 | 503.004 | 23565.5 | 272.681 | 519.1846 | 23565.5 | 17.7808 | -87.3408 | 2.3351 | 3 | 11 | 53 | 4 | 16 | 26 | 2 | 34 | Built between 1978 and 1992 | Mt. Shasta | Residential Single Family | Electricity | 1,000 sqft house | 1.904 | Night ventilation code baseline matches measure baseline | 272.681 | 503.004 | 23565.5 | 272.681 | 23565.5 | 17.7808 | -87.3408 | 2.3351 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 94
9479 | RSFm1696RWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | 96 | 16 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2193 | 401.051 | 559.868 | 19266.6 | 401.051 | 879.5048 | 19266.6 | 33.7415 | -96.3791 | 2.7747 | 3 | 11 | 53 | 5 | 16 | 26 | 2 | 34 | Built between 1993 and 2000 | Mt. Shasta | Residential Single Family | Electricity | 1,000 sqft house | 2.193 | Night ventilation code baseline matches measure baseline | 401.051 | 559.868 | 19266.6 | 401.051 | 19266.6 | 33.7415 | -96.3791 | 2.7747 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 95
10055 | RSFm16NWRWHFn | D03-441 | Whole House Fans | Whole House Fans | RWHFn | WSR | SFM | NW | 16 | H1T_ | SHELL | Equip | E | No Night Ventilation/Economizer | 2296 | 454.818 | 634.509 | 19040.1 | 454.818 | 1044.2621 | 19040.1 | 33.89 | -105.455 | 0.49445 | 3 | 11 | 53 | 10 | 16 | 26 | 2 | 34 | Built 2005 and later – new construction | Mt. Shasta | Residential Single Family | Electricity | 1,000 sqft house | 2.296 | Night ventilation code baseline matches measure baseline | 454.818 | 634.509 | 19040.1 | 454.818 | 19040.1 | 33.89 | -105.455 | 0.49445 | 15 | 243.1741 | 269.72 | 0 | 0 | 512.8941 | l | retail | Installed |  |  |  | Weather Sensitive – Residential | SHELL | 0 | 2 | 2005-04-16 15:16 | 2 | 2005-04-16 15:16 | 96
[9 empty] | Average: | #DIV/0! |  |  |  |  | 2096 |  |  |  | Average: | 879.0051