## WP Sch 16
|  |  |  | High/ Low |  | Project Total (ISO & non-ISO) |  |  |  | ISO Portion
PIN | Project Title | C-WBS | Order # | Voltage | OD | Prior | 2019 | 2020 | Total | Prior | 2019 | 2020 | Total
Non-Incentive Transmission Projects includes Direct Installation and Removal Expenditures, but excludes any C-WBS or Order # with 0% ISO.
Other Transmission
07059 | Red Bluff Substation (NU): Install a Breaker-and-a-Half Configuration to terminate the Almasol 220kV Gen Tie Line at an existing Bank Position | CET-ET-TP-RN-705900 | 900346247 | High | 2020-08-01 | 1046.7098 | 193.938 | 400 | 1640.6478 | 1046.7098 | 193.938 | 400 | 1640.6478
07227 | Inyo Substation: Replace Inyo phase shifter and new hybrid circuit breaker. Inst | CET-ET-CR-WC-722702 | 902379073 | Low | 2020-08-01 | 53.2057 | 598.706 | 4762.452 | 5414.3637 | 53.2057 | 598.706 | 4762.452 | 5414.3637
07227 | Control: Install two (2) N60 relays | CET-ET-TP-RN-722700 | 902448105 | Low | 2020-06-01 | 0 | 22.714 | 69.849 | 92.563 | 0 | 22.714 | 69.849 | 92.563
07227 | Total Casa Diablo IV Interconnection Project |  |  |  |  | 53.2057 | 621.42 | 4832.301 | 5506.9267 | 53.2057 | 621.42 | 4832.301 | 5506.9267
7756 | Whirlwind Sub (POS): Equip one (1) 220 kV position to terminate the Rattlesnake-Whirlwind 220kV Line | CET-ET-TP-RN-775602 | 901458993 | High | 2018-11-01 | 0 | 42.229 | 0 | 42.229 | 0 | 42.229 | 0 | 42.229
7775 | Whirlwind Subsation (NU): Equip one (1) 220 kV position to terminate the Desert Flower-Whirlwind 220kV Line | CET-ET-TP-RN-777500 | 901515853 | High | 2018-07-01 | 71.974 | 5.336 | 0 | 77.31 | 71.974 | 5.336 | 0 | 77.31
07903 | Lugo Substation: Expand High Desert Power Plant (HDPP) SPS 1. Eight (8) G.E. N60 logic processing relays or equivalent successor to monitor the four (4) 220kV T/L and two (2) Lugo 500/220 kV transformer banks and send trip signals to the participating | CET-ET-CR-WC-790301 | 902236314 | High | 2020-06-01 | 0 | 10.393 | 262.158 | 272.551 | 0 | 10.393 | 262.158 | 272.551
07903 | Victor Substation: Expand High Desert Power Plant (HDPP) SPS 1. Eight (8) G.E. N60 logic processing relays or equivalent successor to monitor the four (4) 220kV T/L and send trip signals to the participating generation projects 2. One (1) satellite | CET-ET-CR-WC-790301 | 902236315 | High | 2020-06-01 | 0 | 10.393 | 262.158 | 272.551 | 0 | 10.393 | 262.158 | 272.551
07903 | Total Ord Mountain Project (TOT438/Q552) Project |  |  |  |  | 0 | 20.786 | 524.316 | 545.102 | 0 | 20.786 | 524.316 | 545.102
08078 | Antelope (RNU): Install (2) N60 relays | CET-ET-CR-WC-807802 | 902220556 | High | 2019-11-01 | 13.0358 | 21.748 | 23.6 | 58.3838 | 13.0358 | 21.748 | 23.6 | 58.3838
08078 | Antelope Sub (RNU) - Power System Control. i. Expand existing RTU at SCE Antelope Substation and the generation facility to include points for status and alarms related to the new RAS relays ii. Modify the programs for the Tehachapi RAS. iii. Point addit | CET-ET-CR-WC-807803 | 902220557 | High | 2019-09-01 | 8.0909 | 23.698 | 23.6 | 55.3889 | 8.0909 | 23.698 | 23.6 | 55.3889
08078 | Total Antelope 500/230 kV (T) Install Interconnection Facilities Project |  |  |  |  | 21.1267 | 45.446 | 47.2 | 113.7727 | 21.1267 | 45.446 | 47.2 | 113.7727
08081 | Colorado River Sub (RNU): Install one (1) 220kV line position which includes the following equipment: two (2) 220kV circuit breakers, one (1) 220kV group operated disconnect switch with grounding attachment, three (3) 220kV group operated disconnect switches | CET-ET-TP-RN-808100 | 902286854 | High | 2020-05-01 | 26.0363 | 951.277 | 909.396 | 1886.7093 | 26.0363 | 951.277 | 909.396 | 1886.7093
08081 | Colorado River Sub (RNU) - Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the matching N60 relays located at the Large Generating Facility to add the Large Generating Facility to the Colorado River Corri | CET-ET-TP-RN-808101 | 902286855 | High | 2020-12-01 | 0.20387 | 28.356 | 114.24 | 142.7999 | 0.20387 | 28.356 | 114.24 | 142.7999
08081 | Colorado River (RNU) - ground grid study for interconnection | CET-ET-TP-RN-808102 | 902286856 | High | 2020-12-01 | 0 | 0 | 41.346 | 41.346 | 0 | 0 | 41.346 | 41.346
08081 | Total Arlington Solar Project (TOT781/Q1196) Project |  |  |  |  | 26.2402 | 979.633 | 1064.982 | 2070.8552 | 26.2402 | 979.633 | 1064.982 | 2070.8552
08088 | Eldorado: Install facil. for switchrack | CET-ET-LG-AF-808800 | 902245555 | High | 2020-05-01 | 294.1952 | 2500 | 11884 | 14678.1952 | 294.1952 | 2500 | 11884 | 14678.1952
08088 | Eldorado-Harry Allen (Cust):Install 1 span | CET-ET-AF-CF-808800 | 902245556 | High | 2020-05-01 | 99.2094 | 75 | 115 | 289.2093 | 99.2094 | 75 | 115 | 289.2093
08088 | Total Harry Allen - Eldorado 500kV Transmission Line Project |  |  |  |  | 393.4045 | 2575 | 11999 | 14967.4045 | 393.4045 | 2575 | 11999 | 14967.4045
8090 | Bob Switch - Eldorado T/L: Install one transmission structure with two (2) spans from the SCE dead end rack to the Connecting Customer-owned Last Structure. | CET-ET-AF-CF-809000 | 902249126 | High | 2019-07-01 | 240.1456 | 1832 | 0 | 2072.1456 | 240.1456 | 1832 | 0 | 2072.1456
8090 | Eldorado Substation (NU): install the following equipment on a dedicated 220kV double breaker line position (position 25) at the Eldorado Sub to terminate the Bob - Eldorado 220kV T/L. | CET-ET-LG-AF-809000 | 902249125 | High | 2019-06-01 | 527.5434 | 5385 | 0 | 5912.5434 | 527.5434 | 5385 | 0 | 5912.5434
8090 | Bob Switch to Eldorado 220 kV Interconnection |  |  |  |  | 767.689 | 7217 | 0 | 7984.689 | 767.689 | 7217 | 0 | 7984.689
08107 | Kramer Substation (RNU): a. Engineer and construct one (1) 220 kV line position, which includes the following equipment: i. Two (2) 220 kV circuit breakersii. Three (3) 220 kV group operated disconnect switches. iii. One (1) 220 kV group operated disco | CET-ET-CR-WC-810701 | 902342409 | High | 2020-08-01 | 12.4433 | 0.301 | 669.813 | 682.5573 | 12.4433 | 0.301 | 669.813 | 682.5573
08139 | Colorado River Sub (RNU): 1. Engineer and construct one (1) 220kV line position | CET-ET-TP-RN-813901 | 902409112 | High | 2020-06-01 | 61.4051 | 24.968 | 65.96 | 152.3331 | 61.4051 | 24.968 | 65.96 | 152.3331
08139 | Colorado River Sub (RNU) - Install two (2) GE N60 logic processing relays or equ | CET-ET-TP-RN-813902 | 902409115 | High | 2020-06-01 | 0.27288 | 1.079 | 67.966 | 69.3179 | 0.27288 | 1.079 | 67.966 | 69.3179
08139 | Total Quartz 3 Solar Project (TOT670/Q970) Project |  |  |  |  | 61.678 | 26.047 | 133.926 | 221.651 | 61.678 | 26.047 | 133.926 | 221.651
| Total Other Transmission |  |  |  |  | 2454.4712 | 11727.136 | 19671.538 | 33853.1452 | 2454.4712 | 11727.136 | 19671.538 | 33853.1452
TSP Projects
5383 | Chino 220/66kV - Add a 4th 280MVA, 220/66kV Transformer Bank and Split the Chino 66kV System | CET-ET-LG-TS-538303 | 901191112 | High | 2019-10-01 | 3513.3524 | 2438.871 | 562.992 | 6515.2154 | 1229.6734 | 853.6048 | 197.0472 | 2280.3254
6824 | La Fresa Sub (Phase 2): Install new MEER and cut over existing protection and upgrade CTs on existing banks. Upgrade SAS from 5.5 to 6X. | CET-ET-LG-TS-682400 | 900522611 | High | 2019-11-01 | 27041.1529 | 3055.451 | 0 | 30096.6039 | 10005.2266 | 1130.5169 | 0 | 11135.7434
7113 | El Nido: Install 230 kV (63 kA) double breakers on No. 1 A bank at position 3 and No. 3A bank at position 6. | CET-ET-LG-TS-711300 | 901241164 | High | 2018-06-01 | 0 | 10.254 | 0 | 10.254 | 0 | 10.254 | 0 | 10.254
7834 | Bailey Sub: Install a 28.8 MVAR Cap | CET-ET-LG-TS-783400 | 901618623 | Low | 2018-06-01 | 0 | 0.348 | 0 | 0.348 | 0 | 0.348 | 0 | 0.348
| Total TSP Projects |  |  |  |  | 30554.5053 | 5504.924 | 562.992 | 36622.4213 | 11234.8999 | 1994.7237 | 197.0472 | 13426.6709
Transmission Project Reliability
7112 | Devers: Equip the 230 KV A-Bank positions (3 & 4) with circuit breakers | CET-ET-TP-RL-711200 | 900305114 | High | 2018-12-01 | 0 | 12.444 | 0 | 12.444 | 0 | 12.444 | 0 | 12.444
7518 | Springville Sub: Redesign high side feed from bank on bus to double CB at 220kV position 4 equipped with two (2) new 3000A 220kV CB’s and disconnects. | CET-ET-TP-RL-751800 | 901007168 | High | 2019-08-01 | 7522.5279 | 1901.61 | 0 | 9424.1379 | 6018.0223 | 1521.288 | 0 | 7539.3103
7119 | Walnut: Convert the Mesa 220 kV Line Position and 3A & 4A Bank High Side Positions to Double Breaker. | CET-ET-TP-RL-711900 | 900772538 | High | 2019-05-01 | 10801.6286 | 1278 | 0 | 12079.6286 | 4428.6677 | 523.98 | 0 | 4952.6477
7790 | Eagle Mountain Substation: Install a 45 MVAR tertiary reactor (effective 34 MVAR @ 12 kV) | CET-ET-TP-RL-779000 | 901552346 | High | 2018-12-01 | 0 | 24.472 | 0 | 24.472 | 0 | 24.472 | 0 | 24.472
7547 | Eldorado: Engineer, remove and install equipment for changing the 500kV line pos for the Eldorado–Mohave & Eldorado–Moenkopi lines. | CET-ET-TP-RL-754700 | 901107340 | High | 2018-06-01 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 26
7547 | Eldorado-Mohave 500kV: Remove two (2) existing transmission structures. Install three (3) new. | CET-ET-TP-RL-754701 | 901107560 | High | 2018-06-01 | 7168.6345 | 37 | 0 | 7205.6345 | 7168.6345 | 37 | 0 | 7205.6345
7547 | Eldorado-Moenkopi 500 kV: Remove one (1) existing transmission structure. Install one (1) new. | CET-ET-TP-RL-754702 | 901107562 | High | 2018-06-01 | 4222.6653 | 37 | 0 | 4259.6653 | 4222.6653 | 37 | 0 | 4259.6653
7547 | Total Eldorado-Mohave and Eldorado-Moenkopi 500kV Line Position Swap |  |  |  |  | 11391.2997 | 100 | 0 | 11491.2997 | 11391.2997 | 100 | 0 | 11491.2997
7727 | Inyokern Substation: Expand existing MEER at Inyokern Substation. | CET-ET-TP-RL-772700 | 901394462 | Low | 2020-08-01 | 5.1582 | 1103.012 | 1665 | 2773.1702 | 1.9085 | 408.1144 | 616.05 | 1026.073
7727 | Control Substation: Install 12 (12) N60 relays, one (1) satellite clock, and two (2) ethernet switches | CET-ET-TP-RL-772701 | 901394533 | Low | 2020-10-01 | 39.9158 | 358.167 | 930 | 1328.0829 | 34.3276 | 308.0236 | 799.8 | 1142.1513
7727 | Kramer Substation Install six (6) N60 relays and one (1) satellite clock. Add points to existing RTU. Program and test RAS. | CET-ET-TP-RL-772704 | 901394536 | High | 2020-12-01 | 7.7478 | 88.5 | 350.9 | 447.1478 | 6.0433 | 69.03 | 273.702 | 348.7753
7727 | Total Digial 395 Project: North-of-Kramer Area Telecom Network and RAS Upgrades |  |  |  |  | 52.8219 | 1549.679 | 2945.9 | 4548.4009 | 42.2795 | 785.1681 | 1689.552 | 2516.9995
7763 | Lugo 500/220 kV: Install two N60 relays Install one ethernet switch Install one satellite switch PSC- RTU Point additions at Lugo PSC-Modify Lugo-Victorville SPS program and test | CET-ET-TP-RN-776301 | 901484303 | High | 2016-08-01 | 0 | 0.5 | 0 | 0.5 | 0 | 0.5 | 0 | 0.5
7763 | Eldorado-Lugo 500 kV line: CA side - Install 85 miles of new OPGW between CA/NV border and Pisgah | CET-ET-TP-RN-776304 | 901665563 | High | 2019-10-01 | 4206.4331 | 181 | 6600 | 10987.4331 | 4206.4331 | 181 | 6600 | 10987.4331
7763 | Eldorado-Lugo 500 kV line: NV Side -Install 2 miles of new OPGW between CA/NV border and MI52-T2 | CET-ET-TP-RN-776305 | 901665564 | High | 2019-12-01 | 453.9336 | 13 | 40 | 506.9336 | 453.9336 | 13 | 40 | 506.9336
7763 | Pisgah Sub: Install new telecommunication room. | CET-ET-TP-RL-776300 | 901671834 | High | 2018-12-01 | 24.5532 | 1 | 0 | 25.5532 | 24.5532 | 1 | 0 | 25.5532
7763 | Mohave: Instal(2)Relays and (2) Switches | CET-ET-TP-RN-776302 | 901484315 | High | 2019-10-01 | 108.5401 | 20 | 130 | 258.5401 | 108.5401 | 20 | 130 | 258.5401
7763 | Lugo Sub: Install new control cables | CET-ET-TP-RN-776307 | 902249120 | High | 2019-12-01 | 17.2243 | 30 | 60 | 107.2243 | 17.2243 | 30 | 60 | 107.2243
07763 | Eldorado Sub: Install N60 relays; ethernet switch; and satellite switch | CET-ET-TP-RN-776300 | 901483656 | High | 2019-12-01 | 0 | 0.5 | 0 | 0.5 | 0 | 0.5 | 0 | 0.5
07763 | Eldorado: Install necessary equipment to support N-2 monitoring of Eldorado-Lugo 500 kV and Lugo-Mohave 500 kV lines | CET-ET-TP-RN-776308 | 902249121 | High | 2019-12-01 | 15.0105 | 0 | 12 | 27.0105 | 15.0105 | 0 | 12 | 27.0105
7763 | Total Lugo-Victorville 500 kV SPS |  |  |  |  | 4825.6949 | 246 | 6842 | 11913.6949 | 4825.6949 | 246 | 6842 | 11913.6949
7645 | Loop Kramer-Lugo 230 kV #1 & #2 lines into Victor substation | CET-ET-TP-RL-764500 | 901254013 | High | 2017-11-01 | 0 | 4.166 | 0 | 4.166 | 0 | 4.166 | 0 | 4.166
7806 | Kramer Substation: Install two (2) tertiary bank reactors, 45MVAR each (1A and 2A banks) | CET-ET-TP-RL-780600 | 901580758 | High | 2017-12-01 | 0 | 3.099 | 0 | 3.099 | 0 | 3.099 | 0 | 3.099
07120 | Chino Sub: equip the No.1A 220kV A-Bank positions with circuit breakers | CET-ET-TP-RL-712000 | 900713964 | High | 2020-12-01 | 33938.044 | 1524.295 | 3546.85 | 39009.189 | 22059.7286 | 990.7917 | 2305.4525 | 25355.9729
07120 | Mira Loma Sub: Upgrade 220 kV line protection for compatibility with associated SAS protection upgrades at Chino Substation | CET-ET-TP-RL-712002 | 901573514 | High | 2019-02-01 | 202.8037 | 146.332 | 0 | 349.1357 | 202.8037 | 146.332 | 0 | 349.1357
07120 | Serrano Sub: Upgrade 220 kV line protection for compatibility with associated SAS protection upgrades at Chino Substation | CET-ET-TP-RL-712003 | 901192472 | High | 2019-08-01 | 231.9771 | 60.972 | 0 | 292.9491 | 231.9771 | 60.972 | 0 | 292.9491
07120 | Total Chino 220/66 kV Bank on Circuit Breaker Project |  |  |  |  | 34372.8248 | 1731.599 | 3546.85 | 39651.2738 | 22494.5094 | 1198.0957 | 2305.4525 | 25998.0577
7884 | Tap the remaing Lighthipe 220kV line to Harborgen substation | CET-ET-TP-RL-788402 | 901822249 | High | 2019-11-01 | 507.2933 | 34.781 | 32.334 | 574.4083 | 507.2933 | 34.781 | 32.334 | 574.4083
7884 | Harbogen-Lng Bch 220kV: Remove 1 mile of line (REMOVAL ONLY) | CET-ET-TP-RL-788400 | 901822245 | High | 2019-01-01 | 1968.2686 | 877.569 | 299.823 | 3145.6606 | 1968.2686 | 877.569 | 299.823 | 3145.6606
7884 | Lighthpe-Lng Bch 220kV: Remove 1 mile of line (REMOVAL ONLY) | CET-ET-TP-RL-788401 | 901822246 | High | 2019-01-01 | 2421.5532 | 3043.29 | 13345.264 | 18810.1072 | 2421.5532 | 3043.29 | 13345.264 | 18810.1072
7884 | Long Beach Sub: Remove 220kV switchyard | CET-ET-TP-RL-788403 | 901822250 | High | 2019-09-01 | 2108.0908 | 283.155 | 201.058 | 2592.3038 | 2108.0908 | 283.155 | 201.058 | 2592.3038
7884 | Total Cerritos Channel Relocation Project |  |  |  |  | 7005.2058 | 4238.795 | 13878.479 | 25122.4798 | 7005.2058 | 4238.795 | 13878.479 | 25122.4798
8019 | CONTROL-SILVER PEAK "A" 55KV Install 11 sets of Remote Fault Indicators (RFIs), including gateway device | CET-ET-TP-RL-801900 | TD1269146 | Low | 2018-10-01 | 196.0292 | 151.043 | 0 | 347.0722 | 196.0292 | 151.043 | 0 | 347.0722
8019 | CONTROL-SILVER PEAK "C" 55KV Install 11 sets of Remote Fault Indicators (RFIs), including gateway device | CET-ET-TP-RL-801902 | TD1269499 | Low | 2018-10-01 | 121.5875 | 0.682 | 0 | 122.2695 | 121.5875 | 0.682 | 0 | 122.2695
8019 | Total Control-Silver Peak "A" Transmission Project |  |  |  |  | 317.6167 | 151.725 | 0 | 469.3417 | 317.6167 | 151.725 | 0 | 469.3417
6791 | Lugo 500 kV Substation breaker installation for No. 1AA & No. 2AA banks | CET-ET-TP-RL-679100 | 800308934 | High | 2019-07-01 | 5256.0591 | 50 | 100 | 5406.0591 | 5256.0591 | 50 | 100 | 5406.0591
7115 | Johanna:Install double breakers on 3A+4A | CET-ET-TP-RL-711500 | 902067053 | High | 2020-05-01 | 2229.5938 | 242.748 | 1570.663 | 4043.0048 | 1828.2669 | 199.0534 | 1287.9437 | 3315.264
7116 | Villa Park: Equip the existing No. 2A bank currently connected to 220 kV position 4 South bus with double breaker configuration | CET-ET-TP-RL-711600 | 900645440 | High | 2016-05-01 | 0 | 4.251 | 0 | 4.251 | 0 | 4.251 | 0 | 4.251
7241 | Eldorado: Install (2) 500 kV CBs, (3) 500 kV gang operated disconnects and other associated equipment to terminate the 3 AA bank to the number 3 position on the Eldorado 500 kV bus | CET-ET-TP-RL-724100 | 900713966 | High | 2016-06-01 | 0 | 3.5 | 0 | 3.5 | 0 | 3.5 | 0 | 3.5
7248 | New 500/230 kV AA-Bank at Eldorado Connected to the New 220 kV SCE Owned Switchyard | CET-ET-TP-RN-724800 | 900692364 | High | 2015-10-01 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25
7511 | Antelope-Pardee 500kV: Install Marker Balls and Lighting per FAA requirements | CET-PD-OT-LM-751101 | 900719387 | High | 2019-12-01 | 3243.6088 | -0.196 | 0 | 3243.4128 | 3243.6088 | -0.196 | 0 | 3243.4128
06420 | Devers Sub: Remove 220 kV CBs and Disconnect Switches | CET-ET-TP-RN-642007 | 901455361 | High | 2020-01-01 | 94.4564 | 0 | 30 | 124.4564 | 94.4564 | 0 | 30 | 124.4564
06420 | Vista Sub: Remove 220 kV Disconnect Switches | CET-ET-TP-RN-642011 | 901455365 | High | 2019-12-01 | 48.6723 | 30 | 30 | 108.6723 | 48.6723 | 30 | 30 | 108.6723
06420 | Westof Devers 220 kV Trans Line Removals | CET-ET-TP-RN-642018 | 901460766 | High | 2019-12-01 | 1806.1774 | 6500 | 4000 | 12306.1774 | 1806.1774 | 6500 | 4000 | 12306.1774
06420 | Total West of Devers Upgrade Project (WODUP) |  |  |  |  | 1949.3061 | 6530 | 4060 | 12539.3062 | 1949.3061 | 6530 | 4060 | 12539.3062
06957 | Coolwater 220/115 kV: A. 220 kV Switchrack, -1 L90, -1 SLE311C, -2 Racks (Bus) | CET-ET-TP-RN-695703 |  | High | 2020-12-01 | 0 | 0 | 4183 | 4183 | 0 | 0 | 4183 | 4183
08091 | Big Creek 4: Install two new N60 relays | CET-ET-TP-RL-809100 | 902260821 | High | 2019-12-01 | 101.227 | 314.4 | 0 | 415.627 | 101.227 | 314.4 | 0 | 415.627
07555 | Mira Loma-Vincent 500 kV new dbl circuit | CET-ET-TP-RL-755507 | 901192484 | High | 2020-12-01 | 1163.2304 | 29.074 | 908.649 | 2100.9534 | 1163.2304 | 29.074 | 908.649 | 2100.9534
07555 | Eagle Rock-Mesa 220kV: Remove 2100 ckt ft of conductor | CET-ET-TP-RL-755537 | 902124237 | High | 2020-12-01 | 211.6316 | 3.249 | 0 | 214.8806 | 211.6316 | 3.249 | 0 | 214.8806
07555 | Lighthipe-Mesa: Remove 8 strcts+cnd | CET-ET-TP-RL-755546 | 902124391 | High | 2020-12-01 | 856.5351 | 644.952 | 0 | 1501.4871 | 856.5351 | 644.952 | 0 | 1501.4871
07555 | Mesa-Rio Hondo 220kV: Remove 4 structures and 2700 ckt ft of conductor. | CET-ET-TP-RL-755547 | 902124392 | High | 2020-12-01 | 942.3561 | 334.362 | 0 | 1276.7181 | 942.3561 | 334.362 | 0 | 1276.7181
07555 | Mesa-Rio Hondo 220kV: Remove 4 structures and 2700 ckt ft of conductor. | CET-ET-TP-RL-755548 | 902124393 | High | 2020-12-01 | 0.45921 | -0.011 | 616.506 | 616.9542 | 0.45921 | -0.011 | 616.506 | 616.9542
07555 | Mesa-Vincent #1 220kV: Remove 3 structures, 2 shoofly ESPs, 800 ckt ft of shoofly conductor, and 2200 ckt ft of conductor | CET-ET-TP-RL-755552 | 902124397 | High | 2020-12-01 | 314.7913 | 284.741 | 0 | 599.5323 | 314.7913 | 284.741 | 0 | 599.5323
07555 | Mesa-Vincent #2 220kV: Remove 3 structures and 2000 ckt ft of conductor | CET-ET-TP-RL-755554 | 902124579 | High | 2020-12-01 | 721.4921 | 23.304 | 0 | 744.7961 | 721.4921 | 23.304 | 0 | 744.7961
07555 | Redondo-Vincent 220kV: Remove 1500 ckt ft of shoofly conductor. Shoofly will stay in place >12 months. | CET-ET-TP-RL-755558 | 902124583 | High | 2020-12-01 | 172.1899 | 2.88 | 0 | 175.0699 | 172.1899 | 2.88 | 0 | 175.0699
07555 | Center-Mesa 220kV: Remove 4 structures and 2800 ckt ft of conductor | CET-ET-TP-RL-755535 | 902132962 | High | 2020-12-01 | 0 | 0 | 599.9 | 599.9 | 0 | 0 | 599.9 | 599.9
07555 | Goodrich-Laguna Bell 220kV: Remove 2 structures, remove 1500 ckt ft of shoofly conductor, and remove 3500 ckt ft of conductor | CET-ET-TP-RL-755538 | 902132963 | High | 2020-12-01 | 789.6852 | 38.115 | 0 | 827.8003 | 789.6852 | 38.115 | 0 | 827.8003
07555 | Laguna Bell-Rio Hondo 220kV: Remove 2 structures, remove 1 shoofly ESP and 500 ckt ft of shoofly conductor, and remove 2500 ckt ft of conductor | CET-ET-TP-RL-755543 | 902132966 | High | 2020-12-01 | 171.2824 | 2.708 | 0 | 173.9904 | 171.2824 | 2.708 | 0 | 173.9904
07555 | Total Mesa Substation Project |  |  |  |  | 5343.6534 | 1363.374 | 2125.055 | 8832.0824 | 5343.6534 | 1363.374 | 2125.055 | 8832.0824
07866 | Magunden Substation: Upgrade (6) 1200amp disconnects to match rating of the upgraded line. (4hr emergency rating of 1520amp) | CET-ET-TP-RN-786601 | 902175272 | High | 2019-07-01 | 39.2488 | 1048.657 | 0 | 1087.9057 | 39.2488 | 1048.657 | 0 | 1087.9057
07866 | Vestal Substation: Upgrade (6) 1200amp disconnects to match rating of the upgraded line. (4hr emergency rating of 1520amp) | CET-ET-TP-RN-786602 | 902175273 | High | 2019-04-01 | 377.3663 | 1649.157 | 0 | 2026.5233 | 377.3663 | 1649.157 | 0 | 2026.5233
07866 | Total Big Creek Corridor Rating Increase Project |  |  |  |  | 416.6151 | 2697.814 | 0 | 3114.4291 | 416.6151 | 2697.814 | 0 | 3114.4291
08029 | Lugo Substation: Replace (3) 500kV CBs (CB#762, 862, 962), (6) 500kV disconnects (#761, 763, 861, 863, 961, 963), terminal equipment and line drop at position 6, conductor on CB #862, legs on CB #762, 862, & 962, and 500kV wavetrap. This will increase rat | CET-ET-TP-RL-802900 | 902148910 | High | 2020-05-01 | 19.6469 | 100 | 2995 | 3114.6469 | 19.6469 | 100 | 2995 | 3114.6469
08029 | Lugo-Victorville 500kV Transmission Line (SCE-owned): Fix the appropriate number of spans to achieve 3950 amps normal and 4500 amps emergency on this transmission line. | CET-ET-TP-RL-802901 | 902148911 | High | 2019-12-01 | 169.6204 | 1500 | 0 | 1669.6204 | 169.6204 | 1500 | 0 | 1669.6204
08029 | Total Lugo - Victorville 500kV Transmission Line Thermal Overloads Project |  |  |  |  | 189.2673 | 1600 | 2995 | 4784.2673 | 189.2673 | 1600 | 2995 | 4784.2673
08104 | Moorpark 220 kV Switchrack: Relocate the Ormond Beach No. 3 & 4 lines into positions 10N & 11N. Relocate Santa Clara No. 1 & 2 lines into position 12N & 13N. Equip Position 10 with two (2) new 220 kV CBs rated at 4000A/63kA and four (4) new disconnects ra | CET-ET-TP-RL-810400 | 902315805 | High | 2020-11-01 | 3.8541 | 2532.851 | 676.017 | 3212.7221 | 0.88645 | 582.5557 | 155.4839 | 738.9261
08104 | Pardee 230 kV: Equip vacant Position 16E with two (2) CBs rated at 4000A/63kA and four (4) disconnects rated at 4000A for new Moorpark #4 line. | CET-ET-TP-RL-810401 | 902315808 | High | 2020-12-01 | 0.04065 | 1960.383 | 299.485 | 2259.9086 | 0.04065 | 1960.383 | 299.485 | 2259.9086
08104 | New Moorpark-Pardee #4 230 kV line: String roughly 25.5 mile section on vacant side of existing structures with 2B-1590. String roughly 6 miles of 1/2" EHS GW on existing structures. | CET-ET-TP-RL-810402 | 902315828 | High | 2020-12-01 | 173.5745 | 8200.31 | 12294.233 | 20668.1175 | 173.5745 | 8200.31 | 12294.233 | 20668.1175
08104 | Moorpark-Santa Clara #2: String 2B-1590 one mile section on vacant side of existing structures to relocate existing Moorpark-Santa Clara #2 and terminate in Position 13N. | CET-ET-TP-RL-810403 | 902315960 | High | 2020-12-01 | 1.7606 | 402.954 | 551.072 | 955.7866 | 1.7606 | 402.954 | 551.072 | 955.7866
08104 | Relocate Moorpark-Ormond Beach No. 3 230 kV transmission line to position 10N at Moorpark | CET-ET-TP-RL-810404 | 902578084 | High | 2019-10-01 | 0 | 195.534 | 0 | 195.534 | 0 | 195.534 | 0 | 195.534
08104 | Relocate Moorpark-Ormond Beach No. 4 230 kV transmission line to position 11N at Moorpark | CET-ET-TP-RL-810405 | 902578085 | High | 2020-04-01 | 0 | 195.534 | 0 | 195.534 | 0 | 195.534 | 0 | 195.534
08104 | Relocate Moorpark-Santa Clara No. 1 230 kV transmission line to position 12N at Moorpark | CET-ET-TP-RL-810403 | 902578086 | High | 2020-12-01 | 0 | 0 | 200.505 | 200.505 | 0 | 0 | 200.505 | 200.505
08104 | Relocate Moorpark-Pardee No. 1 230 kV transmission line to position 16E at Pardee | CET-ET-TP-RL-810404 | 902578087 | High | 2019-10-01 | 0 | 292.876 | 57 | 349.876 | 0 | 292.876 | 57 | 349.876
08104 | Santa Clara: Replace Line Relays for Moorpark No.1 230 kV line with one GE 190 relay and one SEL-311L relay | CET-ET-TP-RL-810405 | 902578088 | High | 2020-04-01 | 0 | 100.711 | 216.05 | 316.761 | 0 | 100.711 | 216.05 | 316.761
08104 | Environmental for Moorpark-Pardee | CET-ET-TP-RL-810402 | 916718 | High | 2020-12-01 | 0 | 348.64 | 328.803 | 677.443 | 0 | 348.64 | 328.803 | 677.443
08104 | Total Moorpark-Pardee 230 kV No. 4 Circuit Project |  |  |  |  | 179.2298 | 14229.793 | 14623.165 | 29032.1878 | 176.2622 | 12279.4977 | 14102.6319 | 26558.3918
[7 empty] | 0 | 0
| Total Transmission Project Reliability |  |  |  |  | 87018.882 | 11566.892 | 28883.892 | 127469.666 | 66851.2308 | 9090.8412 | 26103.4272 | 102045.4992
Infrastructure Replacement
4211 | Replace Bulk Power Circuit Breakers | CET-ET-IR-CB-421100 |  | High | Blanket Specifics | 0 | 353.338 | 5580.629 | 5933.967 | 0 | 353.338 | 5580.629 | 5933.967
4329 | Non-Bulk Circuit Breaker Replacement Program (115kV and Below) | CET-ET-IR-CB-432900 |  | Low | Blanket Specifics | 0 | 402 | 938 | 1340 | 0 | 402 | 938 | 1340
3138 | LADWP DC electrode replacement (LAND Segment) | CET-OT-OT-ME-313802 | 900250937 | High | 2018-11-01 | 0 | 134.104 | 0 | 134.104 | 0 | 134.104 | 0 | 134.104
03138 | LADWP DC electrode replacement (OCEAN Segment) | CET-OT-OT-ME-313802 | 901653468 | High | 2019-12-01 | 23015.0133 | 9291.385 | 0 | 32306.3983 | 23015.0133 | 9291.385 | 0 | 32306.3983
03138 | Total LADWP DC Electrode Replacements |  |  |  |  | 23015.0133 | 9425.489 | 0 | 32440.5023 | 23015.0133 | 9425.489 | 0 | 32440.5023
03138 | LADWP AC/DC Filter Replacement | CET-OT-OT-ME-313803 | 900713761 |  | 2020-12-01 | 56408.8566 | 19345.886 | 13882.573 | 89637.3156 | 56408.8566 | 19345.886 | 13882.573 | 89637.3156
03138 | LADWP/Sylmar: Misc Capital | CET-OT-OT-ME-313800 |  | High | Blanket Specifics | 0 | 1488.042 | 1832.45 | 3320.492 | 0 | 1488.042 | 1832.45 | 3320.492
04651 | Palo Verde 500 kV Switch Yard Disconnect Switch Repl | CET-OT-OT-ME-465100 |  | High | Blanket Specifics | 0 | 354.669 | 325.422 | 680.091 | 0 | 354.669 | 325.422 | 680.091
4343 | Non-Bulk Relay Replacement Program ("SRRP") | CET-ET-IR-RP-434301 |  | Low | Blanket Specifics | 0 | 649.478 | 590 | 1239.478 | 0 | 649.478 | 590 | 1239.478
5089 | Bulk Power 500kV & 220kV Line Relay Replacement | CET-ET-IR-RP-508900 |  | High | Blanket Specifics | 0 | 5129.012 | 9201.693 | 14330.705 | 0 | 5129.012 | 9201.693 | 14330.705
04756 | Substation Miscellaneous Equipment Additions & Betterment | CET-ET-IR-ME-475600 |  | High | Blanket Specifics | 0 | 20354.66 | 21196.53 | 41551.19 | 0 | 20354.66 | 21196.53 | 41551.19
5210 | Substation Transformer Bank Replacement Program (AA-Bank & A-Bank) | CET-ET-IR-TB-521001 |  | High | Blanket Specifics | 0 | 19848.286 | 5943.074 | 25791.36 | 0 | 19848.286 | 5943.074 | 25791.36
7957 | Devers: Substation Maintenance and Test Building Improvements program | COS-00-RE-AD-SR0004 | 801432305 | High | 2019-07-01 | 356.7857 | 3823.545 | 0 | 4180.3307 | 299.5225 | 3209.8757 | 0 | 3509.3982
7959 | Rector: Substation Maintenance and Test Building Improvements program | COS-00-RE-AD-SR0006 | 801432582 | High | 2019-06-01 | 643.9849 | 8860.801 | 1000.401 | 10505.1869 | 344.0395 | 4733.7535 | 534.4496 | 5612.2426
| Total Substation Maintenance and Test Building Improvements Program |  |  |  |  | 1000.7705 | 12684.346 | 1000.401 | 14685.5175 | 643.562 | 7943.6292 | 534.4496 | 9121.6408
7637 | Substation Facility Capital Maintenance | COS-00-RE-MA-NE7637 |  | High | Blanket Specifics | 0 | 15920 | 16209 | 32129 | 0 | 5340.0383 | 5436.9774 | 10777.0156
7392 | Seismic Program - Trans Subs (FERC) | COS-00-SP-TD-000000 |  | High | Blanket Specifics | 0 | 1940 | 2000 | 3940 | 0 | 1238.3176 | 1276.6161 | 2514.9337
7392 | Seismic Program - Trans Lines | COS-00-SP-TD-000002 |  | High | Blanket Specifics | 0 | 3940 | 3333 | 7273 | 0 | 3940 | 3333 | 7273
07392 | Seismic Assessment and Mitigation Program for Transmission Assets |  |  |  |  | 0 | 5880 | 5333 | 11213 | 0 | 5178.3176 | 4609.6161 | 9787.9337
07454 | Physical Security Systems - Electric Facilities | COS-00-CS-CS-745400 |  | High | Blanket Specifics | 0 | 9341.0386 | 9885.5208 | 19226.5594 | 0 | 5418.4445 | 5734.2816 | 11152.7262
07573 | Substation Fence/Gate (Cu Theft) (FERC) | CET-ET-IR-ME-757301 |  | High | Blanket Specifics | 0 | 0 | 109.221 | 109.221 | 0 | 0 | 109.221 | 109.221
7820 | NERC CIP-14 Physical Security Enhancements | COS-00-CS-CS-782000 |  | High | Blanket Specifics | 0 | 6289.8237 | 3806.9814 | 10096.805 | 0 | 4954.364 | 2998.6805 | 7953.0444
7820 | Mira Loma: NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782001 | 901656354 | High | 2018-12-01 | 0 | 732.487 | 465.5 | 1197.987 | 0 | 623.5223 | 396.2523 | 1019.7746
7820 | Pardee: NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782002 | 901656355 | High | 2018-12-01 | 0 | 139.352 | 465.5 | 604.852 | 0 | 121.3612 | 405.4026 | 526.7638
7820 | Vincent: NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782005 | 901656358 | High | 2020-01-01 | 4009.4495 | 13595.259 | 2642.17 | 20246.8785 | 4009.4495 | 13595.259 | 2642.17 | 20246.8785
7820 | Eldorado: NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782008 | 901657121 | High | 2020-01-01 | 524.1052 | 11463.154 | 5778.293 | 17765.5523 | 524.1052 | 11463.154 | 5778.293 | 17765.5523
7820 | Lugo: PHY-Physical Security Project | CET-ET-IR-ME-782009 | 902072001 | High | 2018-04-01 | 0 | 569.781 | 152.29 | 722.071 | 0 | 569.781 | 152.29 | 722.071
7820 | Total Substation Physical Security Enhancements Project |  |  |  |  | 4533.5547 | 32789.8567 | 13310.7344 | 50634.1458 | 4533.5547 | 31327.4415 | 12373.0883 | 48234.0845
08042 | Serrano 500/220 (T) Perimeter Security Upgrade | CET-ET-IR-ME-804207 | 902158683 | High | 2020-04-01 | 0 | 148.547 | 356.011 | 504.558 | 0 | 148.547 | 356.011 | 504.558
08042 | Devers Physical Secuirty Tier 2 | CET-ET-IR-ME-804200 | 902210275 | High | 2020-06-01 | 76.7742 | 242.563 | 940.455 | 1259.7922 | 64.4521 | 203.6323 | 789.5144 | 1057.5987
08042 | Antelope Physical Security Tier 2 | CET-ET-IR-ME-804201 | 902210276 | High | 2020-04-01 | 24.7045 | 147.29 | 4613.319 | 4785.3135 | 24.7045 | 147.29 | 4613.319 | 4785.3135
08042 | Rancho Vista Physical Security Tier 2 | CET-ET-IR-ME-804202 | 902210277 | High | 2020-06-01 | 8.0341 | 143 | 3732.98 | 3884.0141 | 8.0341 | 143 | 3732.98 | 3884.0141
08042 | Whirlwind Physical Security Tier 2 | CET-ET-IR-ME-804203 | 902210452 | High | 2020-06-01 | 13.0618 | 143 | 3895.414 | 4051.4759 | 13.0618 | 143 | 3895.414 | 4051.4759
08042 | Windhub Physical Security Tier 2 | CET-ET-IR-ME-804204 | 902210453 | High | 2020-04-01 | 11.3583 | 143 | 3906.746 | 4061.1043 | 10.0982 | 127.1346 | 3473.3036 | 3610.5363
08042 | Vista Physical Security Tier 3 | CET-ET-IR-ME-804205 | 902210454 | High | 2019-07-01 | 69.9016 | 0.832 | 0 | 70.7336 | 14.6203 | 0.17402 | 0 | 14.7943
08042 | Moorpark Physical Security Tier 3 | CET-ET-IR-ME-804206 | 902210455 | High | 2019-12-01 | 0.16527 | 0.102 | 0 | 0.26727 | 0.022721 | 0.014023 | 0 | 0.036744
08042 | Total Substation Physical Security Enhancements Project (Tiers 2-4) |  |  |  |  | 204 | 968.334 | 17444.925 | 18617.259 | 134.9938 | 912.7918 | 16860.5419 | 17908.3276
| Total Infrastructure Replacement |  |  |  |  | 85162.1951 | 154934.4353 | 122783.1732 | 362879.8036 | 84735.9804 | 133471.5229 | 105148.5469 | 323356.0503
Grid Applications
06446 | Devers: install necessary phasor measurement | CET-ET-GA-EM-644603 |  | High | Blanket Specifics | 0 | 1215.413 | 800.875 | 2016.288 | 0 | 1215.413 | 800.875 | 2016.288
06446 | Vestal: install necessary phasor measurement | CET-ET-GA-EM-644610 |  | High | Blanket Specifics | 0 | 397.338 | 2668.75 | 3066.088 | 0 | 317.8704 | 2135 | 2452.8704
06446 | Total Phasor Measurement Unit (PMU) |  |  |  |  | 0 | 1612.751 | 3469.625 | 5082.376 | 0 | 1533.2834 | 2935.875 | 4469.1584
07666 | Colorado River Sub: C-RAS Project Phase 1 | CET-ET-GA-CR-766600 | 901292691 | High | 2019-05-01 | 1940.823 | 706.433 | 0 | 2647.256 | 1940.823 | 706.433 | 0 | 2647.256
07666 | Devers Sub: C-RAS Project Phase 1 | CET-ET-GA-CR-766601 | 901292692 | High | 2019-05-01 | 1051.5451 | 221.228 | 0 | 1272.7731 | 1051.5451 | 221.228 | 0 | 1272.7731
07666 | Red Bluff Sub: C-RAS Project Phase 1 | CET-ET-GA-CR-766602 | 901292693 | High | 2019-05-01 | 1801.8168 | 139.86 | 0 | 1941.6768 | 1801.8168 | 139.86 | 0 | 1941.6768
07666 | Total C-RAS Program Phase 1: Colorado River Corridor RAS |  |  |  |  | 4794.1849 | 1067.521 | 0 | 5861.7059 | 4794.1849 | 1067.521 | 0 | 5861.7059
08009 | Antelope -Install relays, CRAS, SEL-2407 satellite synchronized clock | CET-ET-GA-CR-800900 | 902129654 | High | 2019-08-01 | 531.4157 | 1100.036 | 0 | 1631.4517 | 531.4157 | 1100.036 | 0 | 1631.4517
08009 | Vincent-Install relays, CRAS, SEL-2407 satellite synchronized clock | CET-ET-GA-CR-800901 | 902129742 | High | 2019-06-01 | 371.4584 | 425.555 | 0 | 797.0134 | 371.4584 | 425.555 | 0 | 797.0134
08009 | Whirlwind-Install relays, CRAS, SEL-2407 satellite synchronized clock | CET-ET-GA-CR-800902 | 902129743 | High | 2019-11-01 | 953.1314 | 2319.572 | 342.5 | 3615.2034 | 953.1314 | 2319.572 | 342.5 | 3615.2034
08009 | Total Northern Area CRAS to Tehachapi CRAS |  |  |  |  | 1856.0055 | 3845.163 | 342.5 | 6043.6685 | 1856.0055 | 3845.163 | 342.5 | 6043.6685
| Total Grid Applications |  |  |  |  | 6650.1904 | 6525.435 | 3812.125 | 16987.7504 | 6650.1904 | 6445.9674 | 3278.375 | 16374.5328
PWRD Blankets
03363 | Substation Unplanned Maintenance Replacements | CET-PD-BM-SU-SUBSNW |  | High | Blanket Specifics | 0 | 11353.4744 | 11643.7145 | 22997.189 | 0 | 1036.8335 | 1063.3391 | 2100.1727
03363 | Substation - Storm | CET-PD-ST-SS-SUBSNW |  | High | Blanket Specifics | 0 | 1738 | 1781 | 3519 | 0 | 397.5708 | 407.4071 | 804.9779
03363 | Substation Maintenance, Breakdown, & Storm |  |  |  |  | 0 | 13091.4744 | 13424.7145 | 26516.189 | 0 | 1434.4043 | 1470.7463 | 2905.1506
07888 | Transmission Maintenance Planned | CET-PD-IR-TP-788800 |  | High | Blanket Specifics | 0 | 1223.2931 | 0 | 1223.2931 | 0 | 1223.2931 | 0 | 1223.2931
03364 | Transmission Breakdown Maintenance Unplanned | CET-PD-BM-TU-TRSJAC |  | High | Blanket Specifics | 0 | 1364.3242 | 1397.6267 | 2761.9509 | 0 | 534.1258 | 547.1636 | 1081.2894
03364 | Transmission Grid-Based Maintenance (Tower Corrosion) | CET-PD-IR-TG-TRSJAC |  | High | Blanket Specifics | 0 | 23006.3233 | 52231.5759 | 75237.8992 | 0 | 6818.9429 | 15481.1411 | 22300.084
03364 | Transmission Maintenance & Breakdown Maintenance |  |  |  |  | 0 | 24370.6474 | 53629.2027 | 77999.8501 | 0 | 7353.0687 | 16028.3046 | 23381.3734
3364 | Transmission Deteriorated Pole Repl & Restoration | CET-PD-IR-TR-TRMETW |  | Low | Blanket Specifics | 0 | 80104.4469 | 81897.7331 | 162002.1799 | 0 | 1512.637 | 1546.5001 | 3059.1371
03364 | Pole Loading Transmission Pole Replacements | CET-PD-IR-PT-TRMETW |  | Low | Blanket Specifics | 0 | 28774.1209 | 15019.3983 | 43793.5192 | 0 | 543.3506 | 283.6159 | 826.9665
03364 | Transmission Poles (Pole Loading & Deteriorated Pole Programs) |  |  |  |  | 0 | 108878.5678 | 96917.1314 | 205795.6992 | 0 | 2055.9876 | 1830.1161 | 3886.1036
04056 | Steel Stub Remediation (Trans) | CET-PD-OT-SF-TRORAN |  | Low | Blanket Specifics | 0 | 76.3238 | 109.4343 | 185.758 | 0 | 1.4412 | 2.0665 | 3.5077
7298 | Transmission Line Rating Remediation (TLRR) | CET-PD-OT-PJ-729801 |  | High | Blanket Specifics | 0 | 101709.311 | 67227.596 | 168936.907 | 0 | 101709.311 | 67227.596 | 168936.907
3362 | Critical Infra Spare - FERC Spare Transformer Equipment Program (STEP)/Emergency | CET-PD-CI-CI-CRINSP |  | High | Blanket Specifics | 0 | 15357.118 | 4931.201 | 20288.319 | 0 | 15357.118 | 4931.201 | 20288.319
03367 | Substation - Claim | CET-PD-CL-SC-SUBSNW |  | High | Blanket Specifics | 0 | 110.2284 | 113.0463 | 223.2747 | 0 | 9.0467 | 9.2779 | 18.3246
03367 | Transmission - Claim | CET-PD-CL-TC-TREAST |  | High | Blanket Specifics | 0 | 863.6689 | 884.7507 | 1748.4195 | 0 | 78.1899 | 80.0985 | 158.2885
03367 | Transmission - Storm | CET-PD-ST-TS-TREAST |  | High | Blanket Specifics | 0 | 4308 | 4413 | 8721 | 0 | 1399.0377 | 1433.1368 | 2832.1746
03367 | Transmission Storm & Claims |  |  |  |  | 0 | 5281.8973 | 5410.797 | 10692.6943 | 0 | 1486.2743 | 1522.5133 | 3008.7876
08224 | Enhanced Overhead Inspections (EOI) & Remediations - Transmission | CET-PD-WM-TP-822400 |  | High | Blanket Specifics |  | 11210.5349 | 4596.8529 | 15807.3878 | 0 | 2983.4535 | 1223.3579 | 4206.8114
| Total PWRD Blankets |  |  |  |  | 0 | 269988.6328 | 241650.0768 | 511638.7096 | 0 | 130620.8983 | 93012.5437 | 223633.442
Total Non-Incentive Transmission Projects | [5 empty] | 220019.5429 | 498193.3709 | 449946.8699 | 1168159.7838 | 180103.1039 | 321119.6287 | 276100.5229 | 777323.2555
Total Forecast Specific Project Expenditures (Closing by December 2020) | [5 empty] | 220019.5429 | 129371.105 | 119278.794 | 468669.4419 | 180103.1039 | 116511.3442 | 114432.1716 | 411046.6198
Total Forecast Blanket Expenditures (Closing by December 2020) | [5 empty] | 0 | 368822.2659 | 330668.0759 | 699490.3418 | 0 | 204608.2845 | 161668.3512 | 366276.6357