## WP3 to Sch 16
[5 empty] | Project Total (ISO & non-ISO) |  |  |  | ISO Portion
PIN | Project Title | Order # | High/Low Voltage | OD | Prior | 2015 | 2016 | Total | Prior | 2015 | 2016 | Total
Non-Incentive Transmission Projects includes Direct Installation and Removal Expenditures
Other Transmission
7559 | Colorado River (Network Upgrade) install 220kV circuit breakers (CBs) & Remote Terminal Unit (RTU) |  | High | 2015-05-01 | 1119.1732 | 1000 | 0 | 2119.1732 | 1119.1732 | 1000 | 0 | 2119.1732
6694 | Devers: Upgrade the Devers RTU |  | High | 2013-05-24 | 9657.265 | 100 | 0 | 9757.265 | 9657.265 | 100 | 0 | 9757.265
6694 | Vista Sub: Upgrade line protection at the Devers #1 220kV T/L position. |  | High | 2014-06-26 | 640.3083 | 100 | 0 | 740.3083 | 640.3083 | 100 | 0 | 740.3083
6694 | El Casco Sub: Install one SEL-2407 satellite synchronized clock and two N60 relays |  | High | 2014-05-15 | 253.9675 | 100 | 0 | 353.9674 | 253.9675 | 100 | 0 | 353.9674
6694 | San Bernardino Sub: Install one SEL-2407 satellite synchronized clock and four N60 relays |  | High | 2014-06-26 | 460.1573 | 100 | 0 | 560.1573 | 460.1573 | 100 | 0 | 560.1573
6694 | Total CPV Sentinel Project - Sentinel-Devers 220kV |  |  |  | 11011.698 | 400 | 0 | 11411.698 | 11011.698 | 400 | 0 | 11411.698
7050 | Blythe Solar Energy Center (BSEC) ---- Colorado River (NU): 220kV Line/Bank Pos for BSEC |  | High | 2015-12-01 | 1186.631 | 250 | 0 | 1436.631 | 1186.631 | 250 | 0 | 1436.631
7059 | Red Bluff Sub (IF): Equip a shared 220kV line/bank pos to terminate the Queue #365 No.1 220kV line |  | High | 2016-06-01 | 1033.2505 | 50 | 200 | 1283.2505 | 1033.2505 | 50 | 200 | 1283.2505
7556 | Del Sur: Install equipment for network upgrade |  | High | 2015-06-16 | 9.6048 | 300 | 400 | 709.6048 | 9.6048 | 300 | 400 | 709.6048
7580 | Whirlwind (NU): Install 220kV CBs, RTU |  | High | 2015-12-15 | 7.8484 | 1700 | 0 | 1707.8484 | 7.8484 | 1700 | 0 | 1707.8484
7691 | Antelope (NU): Equip 1 220kV CB position |  | High | 2016-10-16 | 3.8406 | 700 | 1500 | 2203.8405 | 3.8406 | 700 | 1500 | 2203.8405
7733 | Whirlwind (Plan of Service): Equip one 220 kV position to terminate the Teddy-Whirlwind 220kV T/L |  | High | 2016-11-16 | 0 | 600 | 1600 | 2200 | 0 | 600 | 1600 | 2200
7756 | Whirlwind (POS): Equip one 220kV position to terminate the Rattlesnake-Whirlwind 220kV T/L |  | High | 2016-11-16 | 0 | 550 | 1650 | 2200 | 0 | 550 | 1650 | 2200
07093 | Windhub: Install Special Protection System to trip Windhub area Transition Cluster queued generation |  | High | 2016-12-31 | 0 | 100 | 650 | 750 | 0 | 100 | 650 | 750
| Total Other Transmission |  |  |  | 14372.0466 | 5650 | 6000 | 26022.0466 | 14372.0466 | 5650 | 6000 | 26022.0466
TSP Projects
6107 | Pardee Sub: Install new double breaker 220 kV CB's in position 11 to terminate bank leads |  | High | 2015-12-31 | 2436.7749 | 618.314 |  | 3055.0889 | 2436.7749 | 618.314 | 0 | 3055.0889
| Total TSP Projects |  |  |  | 2436.7749 | 618.314 | 0 | 3055.0889 | 2436.7749 | 618.314 | 0 | 3055.0889
Transmission Project Reliability
6434 | TRTP Seg 3A Vegetation Remediation (Environmental Mitigation) |  | High | 2014-07-01 | 543.303 | 100 |  | 643.303 | 543.303 | 100 | 0 | 643.303
7183 | REMOVAL work associated with visual mitigation measures at Highwind Sub |  | High | 2015-12-01 | 0 | 50 |  | 50 | 0 | 50 | 0 | 50
| Total TRTP Seg 1-3A |  |  |  | 543.303 | 100 | 0 | 643.303 | 543.303 | 100 | 0 | 643.303
6440 | REMOVE EQUIPMENT at Vincent Sub |  | High | 2012-02-26 | 689.2574 | 10 |  |  | 689.2574 | 10 | 0 | 699.2574
6438 | REMOVE 16 MILES SINGLE CKT T/L B/W DUARTE AND NEW MESA SUB |  | High | 2015-01-28 | 12959.3907 | 25.6532 |  | 12985.0438 | 12959.3907 | 25.6532 | 0 | 12985.0438
6439 | REMOVE 5.62 MILES IDLE CHINO-MESA AND CHINO-MIRA LOMA #2 & 3 220KV T/Ls |  | High | 2014-02-21 | 8537.968 | 219.2963 |  | 8757.2643 | 8537.968 | 219.2963 | 0 | 8757.2643
6439 | REMOVE 7.26 MILES CHINO-MIRA LOMA #1, #2 & #3 220KV T/Ls |  | High | 2014-02-21 | 10527.4196 | 5545.8889 |  | 16073.3085 | 10527.4196 | 5545.8889 | 0 | 16073.3085
6439 | REMOVAL work on section of Mira Loma - Vincent 500 kV T/L |  | High | 2012-06-28 | 469.4308 | 232.8199 |  | 702.2507 | 469.4308 | 232.8199 | 0 | 702.2507
6439 | REMOVE 1.17 Miles MESA-WALNUT AND CENTER-OLINDA 220kV double-circuit T/Ls |  | High | 2015-03-27 | 2083.7117 | 3091.7809 |  | 5175.4927 | 2083.7117 | 3091.7809 | 0 | 5175.4927
| Total TRTP Seg 7&8 Removal |  |  |  | 34577.9208 | 9115.4392 | 0 | 43693.3599 | 34577.9208 | 9115.4392 | 0 | 43693.3599
4956 | Big Creek #3-Springville 220-kV: Construct approx. 23 miles of new double-circuit 230kV T/L |  | High | 2014-11-07 | 0 | 6850 | 1000 | 7850 | 0 | 6850 | 1000 | 7850
5146 | Various Substations: Fire Mitigation |  | High | Blanket Specifics |  |  | 2570 | 2570 | 0 | 0 | 2570 | 2570
6154 | N of Magunden : Install a 2nd set of Bushing Current Transformer's on 220kV CB #1 on position 1 |  | High | 2015-06-01 | 407.5403 | 100 |  | 507.5403 | 407.5403 | 100 | 0 | 507.5403
6154 | Vestal - Install a second set of BCT’s on 220kV CB’s #1 and 2 on position 1 |  | High | 2015-12-31 | 567.0082 | 50 |  | 617.0082 | 567.0082 | 50 | 0 | 617.0082
6154 | Total North of Magunden Redundant Bushing Current Transformer (BCT) Upgrades |  |  |  | 974.5485 | 150 | 0 | 1124.5485 | 974.5485 | 150 | 0 | 1124.5485
6415 | Mirage Sub: PHASE 2 - Replace two (2) 2000A 220kV CB's at positions 2S and 3S |  | High | 2014-12-31 | 116.809 | 100 | 0 | 216.809 | 116.809 | 100 | 0 | 216.809
6415 | Devers-Mirage #1 230kV T/L: Build 15 mil (Path 42) Double Circuit 220kV T/L |  | High | 2014-12-31 | 23269.8961 | 400 | 0 | 23669.8961 | 23269.8961 | 400 | 0 | 23669.8961
6415 | Devers Sub: PHASE 1 - Install relays, meters and logic controllers as necessary for IID's new SPS |  | High | 2014-12-31 | 427.9452 | 100 | 0 | 527.9452 | 427.9452 | 100 | 0 | 527.9452
6415 | Mirage Sub: PHASE 1 - Install relays, meters and logic controllers as necessary for IID's new SPS |  | High | 2014-12-31 | 329.5607 | 50 | 0 | 379.5607 | 329.5607 | 50 | 0 | 379.5607
6415 | Total Path 42 and Devers-Mirage 230kV Upgrades |  |  |  | 24144.211 | 650 | 0 | 24794.211 | 24144.211 | 650 | 0 | 24794.211
6791 | Lugo-Rancho Vista 500kV Line: Relocate Rancho Vista 500kV line from Pos 5 E to Pos 4 W Bus |  | High | 2016-12-31 | 0.55562 | 1500 | 1400 | 2900.5556 | 0.55562 | 1500 | 1400 | 2900.5556
6791 | Lugo 500kV Sub breaker installation for No. 1AA & No. 2AA banks |  | High | 2015-12-31 | 6473.8272 | 200 | 6500 | 13173.8272 | 6473.8272 | 200 | 6500 | 13173.8272
6791 | Total Lugo 500kV Substation Breaker Installation |  |  |  | 6474.3828 | 1700 | 7900 | 16074.3828 | 6474.3828 | 1700 | 7900 | 16074.3828
7241 | Eldorado: Install (2) 500 kV CBs, (3) 500 kV gang operated disconnects and other associated equipment to terminate the 3 AA bank to the number 3 position on the Eldorado 500 kV bus |  | High | 2015-11-02 | 5096.116 | 1540 | 2229 | 8865.116 | 5096.116 | 1540 | 2229 | 8865.116
7248 | Ivanpah Sub: Install a dedicated 220 kV double-breaker line position on a breaker-and-a-half configuration |  | High | 2015-11-02 | 839.4697 | 161 | 0 | 1000.4697 | 839.4697 | 161 | 0 | 1000.4697
7248 | Eldorado: Install (1) 500 kV Switchyard Operating Bus extension, (8) bus dead-end structures, (48) bus dead-end insulator assemblies. |  | High | 2015-11-02 | 44532 | 31823 | 430 | 76785 | 44532 | 31823 | 430 | 76785
7248 | Eldorado-Lugo: Rotate the A and C phases of the transmission line conductors |  | High | 2015-11-02 | 105.1392 | 795 | 0 | 900.1392 | 105.1392 | 795 | 0 | 900.1392
7248 | Ivanpah Sub (NU): Update the GE-N60 RAS relay settings at Ivanpah sub to receive new breaker status points from the customer's N60 relays. Install a total of three (3) new test switches on existing RAS relay racks Z57, Z59 and Z61 (one test switch per rack). Install a total of three (3) new cables from the N60 relay racks to the existing PLC (one cable per N60 rack). Wire a total of six (6) outputs from the N60 RAS relays to inputs on the PLC. Update PLC and HMI to receive new breaker status points and display them on the HMI. Update Elementary, Wiring, Logic and Point List prints at Ivanpah substation to reflect all changes. |  | High | 2015-11-02 | 74 | 26 | 0 | 100 | 74 | 26 | 0 | 100
7248 | Power Systems Control (PSC) (POS NU) Eldorado RTU |  | High | 2015-11-02 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50
| Total Eldorado AA Bank |  |  |  | 50646.7249 | 34395 | 2659 | 87700.7249 | 50646.7249 | 34395 | 2659 | 87700.7249
7376 | Eldorado-Install Fire Mitigation 3AA |  | High | 2015-12-31 | 55.8852 | 866 | 800 | 1721.8852 | 55.8852 | 866 | 800 | 1721.8852
7376 | Eldorado-Install fire mitigation for 4AA |  | High | 2016-12-31 | 0.79799 | 180 | 1416 | 1596.798 | 0.79799 | 180 | 1416 | 1596.798
7376 | Total Eldorado-Install Fire Mitigation 3 & 4 AA Bank |  |  |  | 56.6832 | 1046 | 2216 | 3318.6832 | 56.6832 | 1046 | 2216 | 3318.6832
7426 | Primm (Plan of Service Network Upgrade (POS NU)): New 220kV substation |  | High | 2015-10-19 | 9346.1257 | 8405 | 0 | 17751.1257 | 9346.1257 | 8405 | 0 | 17751.1257
7426 | Eldorado-Ivanpah #1 (NU): Loop into Primm |  | High | 2015-10-19 | 323 | 4252 | 0 | 4575 | 323 | 4252 | 0 | 4575
7426 | Ivanpah: replace relay on loop into Primm |  | High | 2015-10-19 | 36 | 24 | 0 | 60 | 36 | 24 | 0 | 60
07426 | Obtain easements and / or acquire land |  | High | 2015-10-19 | 0 | 211 | 0 | 211 | 0 | 211 | 0 | 211
7426 | Total New 220kV Primm Substation - Network Upgrade |  |  |  | 9705.1257 | 12892 | 0 | 22597.1257 | 9705.1257 | 12892 | 0 | 22597.1257
7243 | Eisenhower Sub: Install (4) GE N60 relay |  | High | 2015-12-31 | 1.5213 | 20 | 0 | 21.5213 | 1.5213 | 20 | 0 | 21.5213
7243 | Farrell Sub: Install (2) GE N60 relays |  | High | 2015-12-31 | 1.4553 | 20 | 0 | 21.4553 | 1.4553 | 20 | 0 | 21.4553
7243 | Garnet Sub: Install (2) GE N60 relays |  | High | 2015-12-31 | 1.1694 | 20 | 0 | 21.1694 | 1.1694 | 20 | 0 | 21.1694
7243 | Thornhill Sub: Install (2) GE N60 relays |  | High | 2015-12-31 | 0.58423 | 20 | 0 | 20.5842 | 0.58423 | 20 | 0 | 20.5842
7243 | Devers Sub: Install (4) GE N60 relay |  | High | 2015-12-31 | 1.7362 | 40 | 0 | 41.7362 | 1.7362 | 40 | 0 | 41.7362
7243 | Total Devers 220/115 (S) |  |  |  | 6.4664 | 120 | 0 | 126.4664 | 6.4664 | 120 | 0 | 126.4664
7645 | Loop Kramer-Lugo 230 kV #1 & #2 lines into Victor substation |  | High | 2016-06-01 | 1862.9402 | 2000 | 1000 | 4862.9402 | 1862.9402 | 2000 | 1000 | 4862.9402
7645 | Lugo Sub: Perform Protection upgrade |  | High | 2016-06-01 | 1.1201 | 150 | 50 | 201.1201 | 1.1201 | 150 | 50 | 201.1201
7645 | Kramer Sub: Perform Protection upgrade |  | High | 2016-06-01 | 6.8946 | 150 | 50 | 206.8946 | 6.8946 | 150 | 50 | 206.8946
7645 | Kramer-Lugo lines: Loop into Victor Sub |  | High | 2016-06-01 | 0.17293 | 150 | 50 | 200.1729 | 0.17293 | 150 | 50 | 200.1729
7645 | Total Victor Loop-In Project |  |  |  | 1871.1278 | 2450 | 1150 | 5471.1278 | 1871.1278 | 2450 | 1150 | 5471.1278
7451 | Bailey Sub: Upgrade protection as required |  | Low | 2015-12-31 | 5329.2041 | 5256.906 | 1000 | 11586.1101 | 3783.7349 | 3732.4033 | 710 | 8226.1382
7451 | Pastoria Substation: Replace relays due to work at Bailey Sub |  | High | 2016-12-31 | 0 | 75 | 325 | 400 | 0 | 75 | 325 | 400
7451 | Total Bailey Sub Protection Upgrade |  |  |  | 5329.2041 | 5331.906 | 1325 | 11986.1101 | 3783.7349 | 3807.4033 | 1035 | 8626.1382
7763 | Eldorado 500/220 kV (T): Install ten (10) N60 relays Install one (1) Ethernet switch Install one (1) satellite switch PSC- RTU Point additions at Eldorado |  | High | 2016-12-31 | 0 | 202.2 | 802.2 | 1004.4 | 0 | 202.2 | 802.2 | 1004.4
7763 | Lugo 500/220 kV (T): Install two (2) N60 relays; Install one (1) Ethernet switch; Install one (1) satellite switch PSC- RTU Point additions at Lugo PSC-Modify Lugo-Victorville SPS program and test |  | High | 2016-12-31 | 0 | 234.225 | 234.225 | 468.45 | 0 | 234.225 | 234.225 | 468.45
7763 | Mohave 500 kV: Install two (2) N60 relays; Install one (1) Ethernet switch; Install one (1) satellite switch PSC- RTU Point additions at Mohave |  | High | 2016-12-31 | 0 | 166.725 | 166.725 | 333.45 | 0 | 166.725 | 166.725 | 333.45
7763 | Total Lugo-Victorville 500 kV T/L Special Protection System (SPS) |  |  |  | 0 | 603.15 | 1203.15 | 1806.3 | 0 | 603.15 | 1203.15 | 1806.3
7758 | REMOVE equipment associated with the Valley Direct Load Trip (VDLT) RAS at Serrano Sub |  | High | 2016-12-31 | 0 | 8 | 17 | 25 | 0 | 8 | 17 | 25
7758 | REMOVE equipment associated with the VDLT Remedial Action Scheme (RAS) at Valley Sub |  | High | 2016-12-31 | 0 | 8 | 17 | 25 | 0 | 8 | 17 | 25
7758 | Total Serrano 500/220 (T) and Valley Bulk 500/115 (T) |  |  |  | 0 | 16 | 34 | 50 | 0 | 16 | 34 | 50
6468 | Victor Sub: Upgrade protection and install 4 SEL-351 relays |  | High | 2016-06-01 | 647.6699 | 150 | 50 | 847.6699 | 647.6699 | 150 | 50 | 847.6699
7112 | Devers: Equip the 230 KV A-Bank positions (3 & 4) with circuit breakers |  | High | 2016-12-31 | 286.2185 | 770 | 1950 | 3006.2185 | 286.2185 | 770 | 1950 | 3006.2185
7113 | El Nido: Install 230 kV (63 kA) double breakers on No. 1 A bank at pos 3 and No.3A bank at pos 6 |  | High | 2016-12-31 | 10.2805 | 2000 | 3000 | 5010.2805 | 10.2805 | 2000 | 3000 | 5010.2805
7116 | Villa Park: Equip the 230 KV A-Bank positions (no. 1 & 2) with circuit breakers |  | High | 2015-12-31 | 3975.5714 | 1500 | 0 | 5475.5714 | 3975.5714 | 1500 | 0 | 5475.5714
7117 | Kramer Sub: Equip 1A & 2A with CBs ---- Kramer: Equip 1A & 2A with CBs |  | High | 2015-12-31 | 3854.7259 | 800 | 0 | 4654.7259 | 3854.7259 | 800 | 0 | 4654.7259
7119 | Mesa Sub: Install an L90 relay. |  | High | 2016-12-31 | 64.6463 | 30 | 50 | 144.6463 | 64.6463 | 30 | 50 | 144.6463
7121 | Padua: Equip 2A & 3A with CBs |  | High | 2014-12-01 | 5075.4701 | 700 | 0 | 5775.4701 | 3045.2821 | 420 | 0 | 3465.2821
6792 | Rector 220/66kV Sub: Install 2X79.2 MVAR switching shunt capacitor |  | High | 2014-10-01 | 101.858 | 1000 | 0 | 1101.858 | 101.858 | 1000 | 0 | 1101.858
7466 | Big Creek 3: Build Mechanical Electrical Equipment Room (MEER) Building |  | High | 2014-12-31 | 0 | 100 | 0 | 100 | 0 | 87 | 0 | 87
7518 | Springville Sub: Redesign high side feed from bank on bus to double CB at 220kV pos 4 |  | High | 2016-06-01 | 1026.3433 | 1000 | 5250 | 7276.3433 | 821.0746 | 800 | 4200 | 5821.0746
| Total Transmission Project Reliability |  |  |  | 150061.7395 | 83529.4952 | 30357.15 | 263249.1273 | 146280.8136 | 81511.9925 | 29017.15 | 256809.956
Infrastructure Replacement
4211 | Replace Bulk Power Circuit Breakers |  | High | Blanket Specifics | 0 | 102 | 1102.5077 | 1204.5077 | 0 | 102 | 1102.5077 | 1204.5077
4329 | Non-Bulk Circuit Breaker Replacement |  | Low | Blanket Specifics | 0 | 456.3548 | 0 | 456.3548 | 0 | 456.3548 | 0 | 456.3548
3138 | Sylmar Converter Station & HVDC T/L: Capital Additions & Betterment |  | High | Blanket Specifics | 0 | 452.779 | 0 | 452.779 | 0 | 452.779 | 0 | 452.779
3138 | LADWP DC electrode replacement (LAND segment) |  | High | 2016-03-01 | 3695.6907 | 10000 | 11049.862 | 24745.5527 | 3695.6907 | 10000 | 11049.862 | 24745.5527
4484 | Coupling Capacitor Voltage Transformers |  | High | Blanket Specifics | 0 | 59.62 | 153.8839 | 213.5039 | 0 | 59.62 | 153.8839 | 213.5039
4651 | Palo Verde Switchrack |  | High | Blanket Specifics | 0 | 2712.84 | 1500 | 4212.84 | 0 | 2712.84 | 1500 | 4212.84
6197 | On-line Dissolved Gas Analysis of Bulk Power Transformer Banks |  | High | Blanket Specifics | 0 | 155 | 2883.303 | 3038.303 | 0 | 155 | 2883.303 | 3038.303
4343 | Non-Bulk Relay Replacement Program ("SRRP") |  | Low | Blanket Specifics | 0 | 6867 | 7737.9314 | 14604.9314 | 0 | 6867 | 7737.9314 | 14604.9314
5089 | Bulk Power 500kV Line Relay Replacement |  | High | Blanket Specifics | 0 | 1967 | 1518.3194 | 3485.3194 | 0 | 1967 | 1518.3194 | 3485.3194
4756 | Substation Equipment Additions & Betterment |  | High | Blanket Specifics | 0 | 1813 | 9971.0479 | 11784.0479 | 0 | 1813 | 9971.0479 | 11784.0479
04791 | Engineer and construct new interconnection facilities - Network Upgrades |  | High | Blanket Specifics | 0 | 5000 | 5000 | 10000 | 0 | 5000 | 5000 | 10000
5210 | Substation Transformer Bank Replacement Program (AA-Bank & A-Bank) |  | High | Blanket Specifics | 0 | 15600 | 18148.4219 | 33748.4219 | 0 | 15600 | 18148.4219 | 33748.4219
07681 | NERC/CIP-14 (Physical Security) |  | High | Blanket Specifics | 0 | 16000 | 0 | 16000 | 0 | 14511 | 0 | 14511
| Total Infrastructure Replacement |  |  |  | 3695.6907 | 61185.5938 | 59065.2773 | 123946.5617 | 3695.6907 | 59696.5938 | 59065.2773 | 122457.5617
Grid Applications
06446 | Phasor Measurement System Installations |  | High | Blanket Specifics | 0 | 1372 | 4198 | 5570 | 0 | 1022.72 | 4198 | 5220.72
6428 | Centralized Remedial Action Scheme (C-RAS) Program Phase |  | High | Blanket Specifics | 0 | 13232.6173 | 13832.7866 | 27065.4039 | 0 | 13232.6173 | 13832.7866 | 27065.4039
6428 | Centralized Remedial Action Scheme (C-RAS) Project Phase |  | High | 2015-06-01 | 3660.9335 | 1227.7686 | 0 | 4888.7021 | 3660.9335 | 1227.7686 | 0 | 4888.7021
7666 | CRAS Program - Phase 1: Colorado River Corridor RAS |  | High | 2016-12-01 | 0 | 56.8982 | 110.9047 | 167.8029 | 0 | 56.8982 | 110.9047 | 167.8029
| Total Grid Apps |  |  |  | 3660.9335 | 15889.2842 | 18141.6913 | 37691.909 | 3660.9335 | 15540.0042 | 18141.6913 | 37342.629
PWRD Blankets
03363 | Substation Planned Maintenance Replacements |  | High | Blanket Specifics | 0 | 21638 | 19000 | 40638 | 0 | 2983.8802 | 2620.1 | 5603.9802
03363 | Substation Unplanned Maintenance Replacements |  | High | Blanket Specifics | 0 | 8799.0084 | 9049.6999 | 17848.7083 | 0 | 845.5847 | 869.6762 | 1715.2609
03363 | Facilities- Operational |  | High | Blanket Specifics | 0 | 6232.7962 | 0 | 6232.7962 | 0 | 6232.7962 | 0 | 6232.7962
03363 | Substation Equipment Additions & Replacements |  |  |  | 0 | 36669.8047 | 28049.6999 | 64719.5046 | 0 | 10062.2611 | 3489.7762 | 13552.0373
03364 | Transmission Breakdown Maintenance Planned |  | High | Blanket Specifics | 0 | 28000 | 26673.4 | 54673.4 | 0 | 7204.4 | 6863.0658 | 14067.4658
03364 | Transmission Breakdown Maintenance Unplanned |  | High | Blanket Specifics | 0 | 4600 | 4700 | 9300 | 0 | 1147.7 | 1172.65 | 2320.35
03364 | Transmission Pole Replacement |  | High | Blanket Specifics | 0 | 67261.276 | 40970.4505 | 108231.7264 | 0 | 598.6254 | 364.637 | 963.2624
03364 | Pole Remediation Transmission |  | High | Blanket Specifics | 0 | 20533.9987 | 45074.8795 | 65608.8782 | 0 | 182.7526 | 401.1664 | 583.919
03364 | Transmission Equipment Additions & Replacements |  |  |  | 0 | 120395.2747 | 117418.7299 | 237814.0047 | 0 | 9133.4779 | 8801.5193 | 17934.9972
7298 | Transmission Line Rating Remediation |  | High | Blanket Specifics | 0 | 18989.75 | 60450 | 79439.75 | 0 | 18989.75 | 60450 | 79439.75
3362 | Critical Infrastructure Spare |  | High | 2015-12-01 | 0 | 9100 | 0 | 9100 | 0 | 9100 | 0 | 9100
03367 | Substation Claim |  | High | Blanket Specifics | 0 | 793.4721 | 816.0788 | 1609.5509 | 0 | 32.5324 | 33.4592 | 65.9916
03367 | Transmission Claim |  | High | Blanket Specifics | 0 | 2400 | 2400 | 4800 | 0 | 160.56 | 160.56 | 321.12
03367 | Transmission Storm |  | High | Blanket Specifics | 0 | 4700 | 4800 | 9500 | 0 | 1020.37 | 1042.08 | 2062.45
03367 | Transmission Storm & Claims |  |  |  | 0 | 7893.4721 | 8016.0788 | 15909.5509 | 0 | 1213.4624 | 1236.0992 | 2449.5616
| Total PWRD Blankets |  |  |  | 0 | 193048.3015 | 213934.5087 | 406982.8102 | 0 | 48498.9514 | 73977.3947 | 122476.3461
Total Non-Incentive Transmission Projects |  |  |  |  | 174227.1852 | 359920.9887 | 327498.6272 | 860947.5437 | 170446.2593 | 211515.8559 | 186201.5132 | 568163.6284
Total Forecast Expenditures (Closing by December 2016) |  |  |  |  | 174227.1852 | 110182.476 | 44947.9167 | 328658.3205 | 170446.2593 | 108164.9733 | 43607.9167 | 322219.1493
Total Forecast Blanket Expenditures (Closing by December 2016) |  |  |  |  | 0 | 249738.5126 | 282550.7105 | 532289.2232 | 0 | 103350.8826 | 142593.5965 | 245944.4791